## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: DOIP, IIT Kanpur
Name of Work: Providing power supply to pathology lab, internal wiring works at academic buildings and other electrical works
NIT No: Electrical/07/06/2023-1
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Component | [53 empty] | 1 | Component
1.01 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. | item no.1 | [52 empty] | 1.01 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. | item no.1 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.02 | 3 x 2.5 sq. mm | item no.2 | 80 | Metre | 120.12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9609.6 | 9609.6 | INR Nine Thousand Six Hundred & Nine and Paise Sixty Only | 1.02 | 3 x 2.5 sq. mm | item no.2 | 80 | Metre | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.03 | 3 x 4 sq. mm | item no.3 | 400 | Metre | 180.62 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 72248 | 72248 | INR Seventy Two Thousand Two Hundred & Forty Eight Only | 1.03 | 3 x 4 sq. mm | item no.3 | 400 | Metre | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.04 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. | item no.4 | [52 empty] | 1.04 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. | item no.4
1.05 | 25 mm | item no.5 | 50 | Metre | 224.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11223 | 11223 | INR Eleven Thousand Two Hundred & Twenty Three Only | 1.05 | 25 mm | item no.5 | 50 | Metre
1.06 | 32 mm | item no.6 | 80 | Metre | 285.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 22867.2 | 22867.2 | INR Twenty Two Thousand Eight Hundred & Sixty Seven and Paise Twenty Only | 1.06 | 32 mm | item no.6 | 80 | Metre
1.07 | Supply and fixing of following accessories suitable for 105 mm x 50 mm size plastic trunking white system. | item no.7 | [52 empty] | 1.07 | Supply and fixing of following accessories suitable for 105 mm x 50 mm size plastic trunking white system. | item no.7
1.08 | separation partitions | item no.8 | 85 | Meter | 249.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 21165.85 | 21165.85 | INR Twenty One Thousand One Hundred & Sixty Five and Paise Eighty Five Only | 1.08 | separation partitions | item no.8 | 85 | Meter | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.09 | Supplying, installation of Clip-on frame with finishing plate for 85mm cover for DLP plastic trunking 105mm x 50mm etc. as reqd. | item no.9 | [52 empty] | 1.09 | Supplying, installation of Clip-on frame with finishing plate for 85mm cover for DLP plastic trunking 105mm x 50mm etc. as reqd. | item no.9 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.1 | 3 module | item no.10 | 39 | Nos. | 285.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11147.76 | 11147.76 | INR Eleven Thousand One Hundred & Forty Seven and Paise Seventy Six Only | 1.1 | 3 module | item no.10 | 39 | Nos. | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.11 | 6 module | item no.11 | 2 | Nos. | 383.17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 766.34 | 766.34 | INR Seven Hundred & Sixty Six and Paise Thirty Four Only | 1.11 | 6 module | item no.11 | 2 | Nos.
1.12 | Supplying and fixing following modular switch/ socket on the existing clip-on frame fixed on 85mm cover of 105 x 50 mm DLP plastic trunking including connections etc. as required complete. | item no.12 | [52 empty] | 1.12 | Supplying and fixing following modular switch/ socket on the existing clip-on frame fixed on 85mm cover of 105 x 50 mm DLP plastic trunking including connections etc. as required complete. | item no.12 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.13 | 6 A switch | item no.13 | 4 | No. | 235.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 943.44 | 943.44 | INR Nine Hundred & Forty Three and Paise Forty Four Only | 1.13 | 6 A switch | item no.13 | 4 | No.
1.14 | 20 A switch | item no.14 | 39 | No. | 407.72 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15901.08 | 15901.08 | INR Fifteen Thousand Nine Hundred & One and Paise Eight Only | 1.14 | 20 A switch | item no.14 | 39 | No.
1.15 | 6 A pin 2/3 pin socket outlet | item no.15 | 4 | No. | 388.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1553.72 | 1553.72 | INR One Thousand Five Hundred & Fifty Three and Paise Seventy Two Only | 1.15 | 6 A pin 2/3 pin socket outlet | item no.15 | 4 | No.
1.16 | 6/16 A 3 pin socket outlet | item no.16 | 39 | No. | 523.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 20414.55 | 20414.55 | INR Twenty Thousand Four Hundred & Fourteen and Paise Fifty Five Only | 1.16 | 6/16 A 3 pin socket outlet | item no.16 | 39 | No.
1.17 | Laying UTP cable enhanced cat 5/cat 6 cable in existing steel conduit pipe/GI pipe/ raceway / RCC pipe as reqd. the cost shall also include numbering of networking wire from room to rack as reqd. (wire will be supplied by dept) | item no.17 | 3400 | Meter | 18.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 62594 | 62594 | INR Sixty Two Thousand Five Hundred & Ninety Four Only | 1.17 | Laying UTP cable enhanced cat 5/cat 6 cable in existing steel conduit pipe/GI pipe/ raceway / RCC pipe as reqd. the cost shall also include numbering of networking wire from room to rack as reqd. (wire will be supplied by dept) | item no.17 | 3400 | Meter
1.18 | Fixing of RJ-45 modular box with cover plate or I/o box for internet on surface/ recessed cutting the wall making good the same as required. ( box and cover plate will be supplied by dept.) | item no.18 | 91 | Nos. | 77.16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7021.56 | 7021.56 | INR Seven Thousand &Twenty One and Paise Fifty Six Only | 1.18 | Fixing of RJ-45 modular box with cover plate or I/o box for internet on surface/ recessed cutting the wall making good the same as required. ( box and cover plate will be supplied by dept.) | item no.18 | 91 | Nos.
1.19 | S & F following size of steel flexible pipe along with the accessories on surface etc as required | item no.19 | [52 empty] | 1.19 | S & F following size of steel flexible pipe along with the accessories on surface etc as required | item no.19
1.2 | 25 mm | item no.20 | 10 | Meter | 70.14 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 701.4 | 701.4 | INR Seven Hundred & One and Paise Forty Only | 1.2 | 25 mm | item no.20 | 10 | Meter
1.21 | 32 mm | item no.21 | 20 | Meter | 82.42 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1648.4 | 1648.4 | INR One Thousand Six Hundred & Forty Eight and Paise Forty Only | 1.21 | 32 mm | item no.21 | 20 | Meter
1.22 | Fixing of Network rack on steel fastener including cartage from store to site as reqd complete. | item no.22 | 2 | Nos. | 249.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 499.78 | 499.78 | INR Four Hundred & Ninety Nine and Paise Seventy Eight Only | 1.22 | Fixing of Network rack on steel fastener including cartage from store to site as reqd complete. | item no.22 | 2 | Nos.
1.23 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. | item no.23 | [52 empty] | 1.23 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. | item no.23
1.24 | 6 x 16 sq. mm | item no.24 | 25 | Metrs. | 909 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 22725 | 22725 | INR Twenty Two Thousand Seven Hundred & Twenty Five Only | 1.24 | 6 x 16 sq. mm | item no.24 | 25 | Metrs.
1.25 | Providing and fixing following rating and breaking capacitor and pole MCCB with thermomagnetic release and terminal spreader in existing cubicle panel board including drilling holes in cubicle panel, making connections, etcc. As required. | item no.25 | [52 empty] | 1.25 | Providing and fixing following rating and breaking capacitor and pole MCCB with thermomagnetic release and terminal spreader in existing cubicle panel board including drilling holes in cubicle panel, making connections, etcc. As required. | item no.25
1.26 | 100 Amp,36KA FPMCCB | item no.26 | 1 | No. | 6771.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6771.59 | 6771.59 | INR Six Thousand Seven Hundred & Seventy One and Paise Fifty Nine Only | 1.26 | 100 Amp,36KA FPMCCB | item no.26 | 1 | No.
1.27 | Supply and fixing Industrial box with metal plug top/ metal enclosure for MCB & MCCB , on surface/ recess duly powder painted as required. | item no.27 | [52 empty] | 1.27 | Supply and fixing Industrial box with metal plug top/ metal enclosure for MCB & MCCB , on surface/ recess duly powder painted as required. | item no.27
1.28 | Spreder link FP 100 Amp. | item no.28 | 3 | Set. | 715 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2145 | 2145 | INR Two Thousand One Hundred & Forty Five Only | 1.28 | Spreder link FP 100 Amp. | item no.28 | 3 | Set.
1.29 | Supply and fixing Industrial box with metal plug top/ metal enclosure for MCB & MCCB , on surface/ recess duly powder painted as required. | item no.29 | 1 | Set. | 1794 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1794 | 1794 | INR One Thousand Seven Hundred & Ninety Four Only | 1.29 | Supply and fixing Industrial box with metal plug top/ metal enclosure for MCB & MCCB , on surface/ recess duly powder painted as required. | item no.29 | 1 | Set.
1.3 | Supply and fixing metal box of following size ( nominol size) on surface on recess with suitable size of phenolic laminated sheet cover in front including painting etc. as required | item no.30 | [52 empty] | 1.3 | Supply and fixing metal box of following size ( nominol size) on surface on recess with suitable size of phenolic laminated sheet cover in front including painting etc. as required | item no.30
1.31 | 250 mm x 300 mm x 100 mm Deep | item no.31 | 2 | Each | 572.56 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1145.12 | 1145.12 | INR One Thousand One Hundred & Forty Five and Paise Twelve Only | 1.31 | 250 mm x 300 mm x 100 mm Deep | item no.31 | 2 | Each
1.32 | Supply and fixing of 32 x 20 mm DLP mini- trunking white-system with independent cover etc. as required complete. | item no.32 | 5 | Metrs. | 179 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 895 | 895 | INR Eight Hundred & Ninety Five Only | 1.32 | Supply and fixing of 32 x 20 mm DLP mini- trunking white-system with independent cover etc. as required complete. | item no.32 | 5 | Metrs.
1.33 | Supply and fixing of following accessories suitable for 32 mm x 20 mm size plastic trunking white system. | item no.33 | [52 empty] | 1.33 | Supply and fixing of following accessories suitable for 32 mm x 20 mm size plastic trunking white system. | item no.33
1.34 | flat junction | item no.34 | 2 | Nos. | 94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 188 | 188 | INR One Hundred & Eighty Eight Only | 1.34 | flat junction | item no.34 | 2 | Nos.
1.35 | changeable flat angle | item no.35 | 4 | Nos. | 80 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 320 | 320 | INR Three Hundred & Twenty Only | 1.35 | changeable flat angle | item no.35 | 4 | Nos.
1.36 | internal / external angle | item no.36 | 4 | Nos. | 96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 384 | 384 | INR Three Hundred & Eighty Four Only | 1.36 | internal / external angle | item no.36 | 4 | Nos.
1.37 | End cap | item no.37 | 2 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 200 | 200 | INR Two Hundred Only | 1.37 | End cap | item no.37 | 2 | Nos.
1.38 | Supply and fixing of 105 x 50 mm DLP trunking white-system but without cover and partion etc. as required complete. | item no.38 | 155 | Metrs. | 735 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 113925 | 113925 | INR One Lakh Thirteen Thousand Nine Hundred & Twenty Five Only | 1.38 | Supply and fixing of 105 x 50 mm DLP trunking white-system but without cover and partion etc. as required complete. | item no.38 | 155 | Metrs.
1.39 | Supply and fixing of following accessories suitable for 105 mm x 50 mm size plastic trunking white system. | item no.39 | [52 empty] | 1.39 | Supply and fixing of following accessories suitable for 105 mm x 50 mm size plastic trunking white system. | item no.39
1.4 | 85 mm flexible cover | item no.40 | 140 | Metrs. | 334 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 46760 | 46760 | INR Forty Six Thousand Seven Hundred & Sixty Only | 1.4 | 85 mm flexible cover | item no.40 | 140 | Metrs.
1.41 | End cap | item no.41 | 20 | Nos. | 151 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3020 | 3020 | INR Three Thousand &Twenty Only | 1.41 | End cap | item no.41 | 20 | Nos.
1.42 | Internal angles- adjustable from 80°-100° | item no.42 | 22 | Nos. | 383 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8426 | 8426 | INR Eight Thousand Four Hundred & Twenty Six Only | 1.42 | Internal angles- adjustable from 80°-100° | item no.42 | 22 | Nos.
1.43 | external angles- adjustable from 60°-120° | item no.43 | 17 | Nos. | 374 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6358 | 6358 | INR Six Thousand Three Hundred & Fifty Eight Only | 1.43 | external angles- adjustable from 60°-120° | item no.43 | 17 | Nos.
1.44 | flat angles | item no.44 | 22 | Nos. | 524 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11528 | 11528 | INR Eleven Thousand Five Hundred & Twenty Eight Only | 1.44 | flat angles | item no.44 | 22 | Nos.
1.45 | flat junction | item no.45 | 9 | Nos. | 397 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3573 | 3573 | INR Three Thousand Five Hundred & Seventy Three Only | 1.45 | flat junction | item no.45 | 9 | Nos.
1.46 | Cover Joint | item no.46 | 73 | Nos. | 173 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12629 | 12629 | INR Twelve Thousand Six Hundred & Twenty Nine Only | 1.46 | Cover Joint | item no.46 | 73 | Nos.
1.47 | Base Joint | item no.47 | 145 | Nos. | 72 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10440 | 10440 | INR Ten Thousand Four Hundred & Forty Only | 1.47 | Base Joint | item no.47 | 145 | Nos.
1.48 | Digging cable trench, for takingout cable of following size and refilling ,watering, ramming the same after taking out cable complete as required. | item no.48 | [52 empty] | 1.48 | Digging cable trench, for takingout cable of following size and refilling ,watering, ramming the same after taking out cable complete as required. | item no.48
1.49 | Upto 35 sq. mm | item no.49 | 20 | Metrs. | 152 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3040 | 3040 | INR Three Thousand &Forty Only | 1.49 | Upto 35 sq. mm | item no.49 | 20 | Metrs.
1.5 | Lifting removing cable upto 35 sqmm size from trench/clamps, making roll & depositing the same in store I/c cartage. | item no.50 | 35 | Metrs. | 20 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 700 | 700 | INR Seven Hundred Only | 1.5 | Lifting removing cable upto 35 sqmm size from trench/clamps, making roll & depositing the same in store I/c cartage. | item no.50 | 35 | Metrs.
1.51 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the exiting masonry open duct as required. | item no.51 | [52 empty] | 1.51 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the exiting masonry open duct as required. | item no.51
1.52 | Upto 35 sq. mm | item no.52 | 15 | Metrs. | 24.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 368.25 | 368.25 | INR Three Hundred & Sixty Eight and Paise Twenty Five Only | 1.52 | Upto 35 sq. mm | item no.52 | 15 | Metrs.
1.53 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. | item no.53 | [52 empty] | 1.53 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. | item no.53
1.54 | Upto 35 sq. mm (clamped with 1mm thick saddle) | item no.54 | 20 | Metrs. | 48.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 964.4 | 964.4 | INR Nine Hundred & Sixty Four and Paise Forty Only | 1.54 | Upto 35 sq. mm (clamped with 1mm thick saddle) | item no.54 | 20 | Metrs.
1.55 | Supply and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed/ XLPE aluminium conductor cable of 1.1 KV grade as required. | item no.55 | [52 empty] | 1.55 | Supply and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed/ XLPE aluminium conductor cable of 1.1 KV grade as required. | item no.55
1.56 | 3-1/2 X 35 sq. mm (32 mm) | item no.56 | 1 | Each | 323.54 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 323.54 | 323.54 | INR Three Hundred & Twenty Three and Paise Fifty Four Only | 1.56 | 3-1/2 X 35 sq. mm (32 mm) | item no.56 | 1 | Each
1.57 | S & F 3 mm thick phenolic laminated sheet on existing board with brass screw & cup washer etc as reqd. | item no.57 | 100 | Sq. inch | 2.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 268 | 268 | INR Two Hundred & Sixty Eight Only | 1.57 | S & F 3 mm thick phenolic laminated sheet on existing board with brass screw & cup washer etc as reqd. | item no.57 | 100 | Sq. inch
1.58 | P & F 6 SWG dia GI wire on surface or in recess for loop earthing as reqd. | item no.58 | 65 | Mtr. | 61.38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3989.7 | 3989.7 | INR Three Thousand Nine Hundred & Eighty Nine and Paise Seventy Only | 1.58 | P & F 6 SWG dia GI wire on surface or in recess for loop earthing as reqd. | item no.58 | 65 | Mtr.
1.59 | Supplying and making indoor end termination with brass compression gland, aluminum lugs for following size of PVC insulated & PVC sheathed/XLPE aluminum cable of 1.1kV grade as reqd. | item no.59 | [52 empty] | 1.59 | Supplying and making indoor end termination with brass compression gland, aluminum lugs for following size of PVC insulated & PVC sheathed/XLPE aluminum cable of 1.1kV grade as reqd. | item no.59
1.6 | 2x16 sq.mm. | item no.60 | 2 | Nos. | 224.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 448.92 | 448.92 | INR Four Hundred & Forty Eight and Paise Ninety Two Only | 1.6 | 2x16 sq.mm. | item no.60 | 2 | Nos.
1.61 | 3½ X 150 sq.mm (50mm) | item no.61 | 4 | Nos. | 611.14 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2444.56 | 2444.56 | INR Two Thousand Four Hundred & Forty Four and Paise Fifty Six Only | 1.61 | 3½ X 150 sq.mm (50mm) | item no.61 | 4 | Nos.
1.62 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required. | item no.62 | [52 empty] | 1.62 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required. | item no.62
1.63 | 3½ X 150 sq.mm (50mm) | item no.63 | 2 | Nos. | 3978.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7957.92 | 7957.92 | INR Seven Thousand Nine Hundred & Fifty Seven and Paise Ninety Two Only | 1.63 | 3½ X 150 sq.mm (50mm) | item no.63 | 2 | Nos.
1.64 | Providing, laying and fixing following dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep)and re-filling etc as required | item no.64 | [52 empty] | 1.64 | Providing, laying and fixing following dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep)and re-filling etc as required | item no.64
1.65 | 50 mm | item no.65 | 10 | Mtr. | 538.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5383.6 | 5383.6 | INR Five Thousand Three Hundred & Eighty Three and Paise Sixty Only | 1.65 | 50 mm | item no.65 | 10 | Mtr.
1.66 | 100 mm | item no.66 | 10 | Mtr. | 1583.52 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15835.2 | 15835.2 | INR Fifteen Thousand Eight Hundred & Thirty Five and Paise Twenty Only | 1.66 | 100 mm | item no.66 | 10 | Mtr.
1.67 | Supplying & Laying of one no. XLPE sheathed aluminum conductor steel armoured power cable of size 2 x 16 sq.mm. 1.1kV grade in following manners. | item no.67 | [52 empty] | 1.67 | Supplying & Laying of one no. XLPE sheathed aluminum conductor steel armoured power cable of size 2 x 16 sq.mm. 1.1kV grade in following manners. | item no.67
1.68 | direct in ground I/c excavation, sand cushioning, protective covering and refilling the trench etc. as reqd. | item no.68 | 65 | Mtr. | 447.17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 29066.05 | 29066.05 | INR Twenty Nine Thousand &Sixty Six and Paise Five Only | 1.68 | direct in ground I/c excavation, sand cushioning, protective covering and refilling the trench etc. as reqd. | item no.68 | 65 | Mtr.
1.69 | In pipe | item no.69 | 10 | Mtr. | 128.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1280.1 | 1280.1 | INR One Thousand Two Hundred & Eighty and Paise Ten Only | 1.69 | In pipe | item no.69 | 10 | Mtr.
1.7 | In open duct | item no.70 | 1 | Mtr. | 120.12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 120.12 | 120.12 | INR One Hundred & Twenty and Paise Twelve Only | 1.7 | In open duct | item no.70 | 1 | Mtr.
1.71 | On surface with MS clamp | item no.71 | 1 | Mtr. | 91.19 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 91.19 | 91.19 | INR Ninety One and Paise Nineteen Only | 1.71 | On surface with MS clamp | item no.71 | 1 | Mtr.
1.72 | S & Laying of one no. XLPE cable aluminum conductor steel armoured power cable of 1.1kV grade of size 3½ X 150 sq.mm. in following manners. | item no.72 | [52 empty] | 1.72 | S & Laying of one no. XLPE cable aluminum conductor steel armoured power cable of 1.1kV grade of size 3½ X 150 sq.mm. in following manners. | item no.72
1.73 | In Ground including excavation, sand cushioning brick protecting covering and refilling the trench etc. as reqd. | item no.73 | 150 | Mtr | 1090.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 163612.5 | 163612.5 | INR One Lakh Sixty Three Thousand Six Hundred & Twelve and Paise Fifty Only | 1.73 | In Ground including excavation, sand cushioning brick protecting covering and refilling the trench etc. as reqd. | item no.73 | 150 | Mtr
1.74 | In pipe | item no.74 | 10 | Mtr | 776.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7768.5 | 7768.5 | INR Seven Thousand Seven Hundred & Sixty Eight and Paise Fifty Only | 1.74 | In pipe | item no.74 | 10 | Mtr
1.75 | In open duct | item no.75 | 1 | Mtr | 763.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 763.7 | 763.7 | INR Seven Hundred & Sixty Three and Paise Seventy Only | 1.75 | In open duct | item no.75 | 1 | Mtr
Total in Figures | [51 empty] | 757959 | 498152.74 | Four Lakh Ninety Eight Thousand One Hundred & Fifty Two and Paise Seventy Four Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K48: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K53: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K54: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K55: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K56: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K57: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K59: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K60: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K62: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K63: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K65: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K67: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K69: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K70: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K71: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K73: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K74: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K76: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K78: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K79: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K81: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K82: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K83: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K84: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K86: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K87: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K88: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K58: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information