## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: DOIP, IIT Kanpur
Name of Work: Laying of fiber optical cables and other electrical works for 5G Testbed construction in IIT Kanpur
NIT No: Electrical/28/07/2023-1
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Component | [53 empty] | 1 | Component
1.01 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. | item no.1 | [52 empty] | 1.01 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. | item no.1 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.02 | 3 x 1.5 sq. mm | item no.2 | 15 | Metre | 83.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1249.5 | 1249.5 | INR One Thousand Two Hundred & Forty Nine and Paise Fifty Only | 1.02 | 3 x 1.5 sq. mm | item no.2 | 15 | Metre
1.03 | 6 x 6 sq. mm | item no.3 | 80 | Metre | 524.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 41946.4 | 41946.4 | INR Forty One Thousand Nine Hundred & Forty Six and Paise Forty Only | 1.03 | 6 x 6 sq. mm | item no.3 | 80 | Metre | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.04 | 1 x 16 sq.mm. | item no.4 | 25 | Meter | 283.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7080.25 | 7080.25 | INR Seven Thousand &Eighty and Paise Twenty Five Only | 1.04 | 1 x 16 sq.mm. | item no.4 | 25 | Meter
1.05 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. | item no.5 | [52 empty] | 1.05 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. | item no.5 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.06 | 32 mm | item no.6 | 15 | Metre | 285.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4287.6 | 4287.6 | INR Four Thousand Two Hundred & Eighty Seven and Paise Sixty Only | 1.06 | 32 mm | item no.6 | 15 | Metre
1.07 | S & F following size of steel flexible pipe along with the accessories on surface etc as required | item no.7 | [52 empty] | 1.07 | S & F following size of steel flexible pipe along with the accessories on surface etc as required | item no.7
1.08 | 32 mm | item no.8 | 5 | Meter | 83.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 416.5 | 416.5 | INR Four Hundred & Sixteen and Paise Fifty Only | 1.08 | 32 mm | item no.8 | 5 | Meter
1.09 | Supply and fixing of 32 x 20 mm DLP mini- trunking white-system with independent cover etc. as required complete. | item no.9 | 80 | Meter | 227.97 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 18237.6 | 18237.6 | INR Eighteen Thousand Two Hundred & Thirty Seven and Paise Sixty Only | 1.09 | Supply and fixing of 32 x 20 mm DLP mini- trunking white-system with independent cover etc. as required complete. | item no.9 | 80 | Meter
1.1 | Supply and fixing of following accessories suitable for 32 mm x 20 mm size plastic trunking white system. | item no.10 | [52 empty] | 1.1 | Supply and fixing of following accessories suitable for 32 mm x 20 mm size plastic trunking white system. | item no.10 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.11 | End cap | item no.11 | 17 | Nos. | 141.17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2399.89 | 2399.89 | INR Two Thousand Three Hundred & Ninety Nine and Paise Eighty Nine Only | 1.11 | End cap | item no.11 | 17 | Nos.
1.12 | internal / external angle | item no.12 | 11 | Nos. | 145.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1601.05 | 1601.05 | INR One Thousand Six Hundred & One and Paise Five Only | 1.12 | internal / external angle | item no.12 | 11 | Nos. | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.13 | changeable flat angle | item no.13 | 14 | Nos. | 123.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1730.82 | 1730.82 | INR One Thousand Seven Hundred & Thirty and Paise Eighty Two Only | 1.13 | changeable flat angle | item no.13 | 14 | Nos. | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.14 | Flat junction | item no.14 | 11 | Nos. | 143.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1581.8 | 1581.8 | INR One Thousand Five Hundred & Eighty One and Paise Eighty Only | 1.14 | Flat junction | item no.14 | 11 | Nos.
1.15 | Supplying and laying of one no. 2 x 10.0 sqmm PVC insulated, XLPE steel armoured aluminium conductor power cable of grade 1.1 kV as required complete in following manners. | item no.15 | [52 empty] | 1.15 | Supplying and laying of one no. 2 x 10.0 sqmm PVC insulated, XLPE steel armoured aluminium conductor power cable of grade 1.1 kV as required complete in following manners. | item no.15
1.16 | On Surface | item no.16 | 120 | Meter | 167.47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 20096.4 | 20096.4 | INR Twenty Thousand &Ninety Six and Paise Forty Only | 1.16 | On Surface | item no.16 | 120 | Meter
1.17 | Supplying and fixing following rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | item no.17 | [52 empty] | 1.17 | Supplying and fixing following rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | item no.17
1.18 | Double pole 5 A to 32 A | item no.18 | 3 | No. | 575.19 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1725.57 | 1725.57 | INR One Thousand Seven Hundred & Twenty Five and Paise Fifty Seven Only | 1.18 | Double pole 5 A to 32 A | item no.18 | 3 | No.
1.19 | Triple pole 5 A to 32 A | item no.19 | 2 | No. | 882.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1765.9 | 1765.9 | INR One Thousand Seven Hundred & Sixty Five and Paise Ninety Only | 1.19 | Triple pole 5 A to 32 A | item no.19 | 2 | No.
1.2 | Triple pole and neutral 5 A to 32 A | item no.20 | 2 | No. | 1076.72 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2153.44 | 2153.44 | INR Two Thousand One Hundred & Fifty Three and Paise Forty Four Only | 1.2 | Triple pole and neutral 5 A to 32 A | item no.20 | 2 | No.
1.21 | Chemical Earthing with GI earth electrode 50 mm dia x 3 Mtr length with full GI strip including earth enhancing compound and RCC precast PIT cover and earthing pit etc as reqd. | item no.21 | 3 | No. | 7051.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 21153.87 | 21153.87 | INR Twenty One Thousand One Hundred & Fifty Three and Paise Eighty Seven Only | 1.21 | Chemical Earthing with GI earth electrode 50 mm dia x 3 Mtr length with full GI strip including earth enhancing compound and RCC precast PIT cover and earthing pit etc as reqd. | item no.21 | 3 | No.
1.22 | Providing and fixing 25 mm X 5 mm G.l. strip on surface or in recess for connections etc. as required. | item no.22 | 260 | Metre | 213.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 55624.4 | 55624.4 | INR Fifty Five Thousand Six Hundred & Twenty Four and Paise Forty Only | 1.22 | Providing and fixing 25 mm X 5 mm G.l. strip on surface or in recess for connections etc. as required. | item no.22 | 260 | Metre
1.23 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. | item no.23 | [52 empty] | 1.23 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. | item no.23
1.24 | 5/6 A switch | item no.24 | 3 | No. | 90.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 270.93 | 270.93 | INR Two Hundred & Seventy and Paise Ninety Three Only | 1.24 | 5/6 A switch | item no.24 | 3 | No.
1.25 | Supplying and fixing following Modular base & cover plate on existing modular metal boxes etc. as required. | item no.25 | [52 empty] | 1.25 | Supplying and fixing following Modular base & cover plate on existing modular metal boxes etc. as required. | item no.25
1.26 | l or 2 Module | item no.26 | 3 | No. | 116.62 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 349.86 | 349.86 | INR Three Hundred & Forty Nine and Paise Eighty Six Only | 1.26 | l or 2 Module | item no.26 | 3 | No.
1.27 | Supplying and fixing following size/ modules, plastic box for modular switches in recess etc as required. | item no.27 | [52 empty] | 1.27 | Supplying and fixing following size/ modules, plastic box for modular switches in recess etc as required. | item no.27
1.28 | 1 or 2 Module | item no.28 | 3 | Nos. | 291.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 875.94 | 875.94 | INR Eight Hundred & Seventy Five and Paise Ninety Four Only | 1.28 | 1 or 2 Module | item no.28 | 3 | Nos.
1.29 | Supplying and installing following size of perforated painted with powder coating M.S cable tray with perforation not more suspended from the ceiling with M.s suspenders including biolts & nuts, painting suspenders etc as required. | item no.29 | [52 empty] | 1.29 | Supplying and installing following size of perforated painted with powder coating M.S cable tray with perforation not more suspended from the ceiling with M.s suspenders including biolts & nuts, painting suspenders etc as required. | item no.29
1.3 | 150 mm width X 50 mm depth X 1.6 mm thicknedss | item no.30 | 80 | Mtr. | 529.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 42367.2 | 42367.2 | INR Forty Two Thousand Three Hundred & Sixty Seven and Paise Twenty Only | 1.3 | 150 mm width X 50 mm depth X 1.6 mm thicknedss | item no.30 | 80 | Mtr.
1.31 | Suppling and fixing 25mm insulator with ms fastner and nut bolt beteen building wall and GI lightening etc.as required complete. | item no.31 | 15 | Nos. | 37.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 565.5 | 565.5 | INR Five Hundred & Sixty Five and Paise Fifty Only | 1.31 | Suppling and fixing 25mm insulator with ms fastner and nut bolt beteen building wall and GI lightening etc.as required complete. | item no.31 | 15 | Nos.
1.32 | S & F metal enclosure suitable for DP/TPN MCB / DP ELCB on surface or recessed etc as reqd. | item no.32 | 5 | Nos. | 906.62 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4533.1 | 4533.1 | INR Four Thousand Five Hundred & Thirty Three and Paise Ten Only | 1.32 | S & F metal enclosure suitable for DP/TPN MCB / DP ELCB on surface or recessed etc as reqd. | item no.32 | 5 | Nos.
1.33 | S & F metal box of following sizes ( nominal size ) on surface or in recess with suitable size of phenolic laminated sheet cover in the front I/c painting etc as reqd. | item no.33 | [52 empty] | 1.33 | S & F metal box of following sizes ( nominal size ) on surface or in recess with suitable size of phenolic laminated sheet cover in the front I/c painting etc as reqd. | item no.33
1.34 | 180 mm x 100 mm x 60 mm deep | item no.34 | 2 | Nos. | 214.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 429.64 | 429.64 | INR Four Hundred & Twenty Nine and Paise Sixty Four Only | 1.34 | 180 mm x 100 mm x 60 mm deep | item no.34 | 2 | Nos.
1.35 | Providing, laying and fixing following dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep)and re-filling etc as required. | item no.35 | [52 empty] | 1.35 | Providing, laying and fixing following dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep)and re-filling etc as required. | item no.35
1.36 | 80 mm | item no.36 | 20 | Mtr. | 805.79 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 16115.8 | 16115.8 | INR Sixteen Thousand One Hundred & Fifteen and Paise Eighty Only | 1.36 | 80 mm | item no.36 | 20 | Mtr.
1.37 | Laying UTP cable enhanced cat 5/cat 6 cable in existing steel conduit pipe/GI pipe/ raceway / RCC pipe as reqd. the cost shall also include numbering of networking wire from room to rack as reqd. (wire will be supplied by dept) | item no.37 | 550 | Mtr. | 18.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10125.5 | 10125.5 | INR Ten Thousand One Hundred & Twenty Five and Paise Fifty Only | 1.37 | Laying UTP cable enhanced cat 5/cat 6 cable in existing steel conduit pipe/GI pipe/ raceway / RCC pipe as reqd. the cost shall also include numbering of networking wire from room to rack as reqd. (wire will be supplied by dept) | item no.37 | 550 | Mtr.
1.38 | Fixing of RJ-45 modular box with cover plate or I/o box for internet on surface/ recessed cutting the wall making good the same as required. ( box and cover plate will be supplied by dept.) | item no.38 | 2 | Nos. | 77.16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 154.32 | 154.32 | INR One Hundred & Fifty Four and Paise Thirty Two Only | 1.38 | Fixing of RJ-45 modular box with cover plate or I/o box for internet on surface/ recessed cutting the wall making good the same as required. ( box and cover plate will be supplied by dept.) | item no.38 | 2 | Nos.
1.39 | Supply and laying of HDPE pipe ISI mark of 40 mm (8Kg / cm²) size inner dia, 2mm thick I/c cartage loading & unloading etc. as reqd. | item no.39 | [52 empty] | 1.39 | Supply and laying of HDPE pipe ISI mark of 40 mm (8Kg / cm²) size inner dia, 2mm thick I/c cartage loading & unloading etc. as reqd. | item no.39
1.4 | Direct in ground I/c excavation, sand cushioning, protective covering and refilling the trench etc. as reqd. | item no.40 | 150 | Mtr. | 524.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 78649.5 | 78649.5 | INR Seventy Eight Thousand Six Hundred & Forty Nine and Paise Fifty Only | 1.4 | Direct in ground I/c excavation, sand cushioning, protective covering and refilling the trench etc. as reqd. | item no.40 | 150 | Mtr.
1.41 | In pipe | item no.41 | 20 | Mtr. | 209.56 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4191.2 | 4191.2 | INR Four Thousand One Hundred & Ninety One and Paise Twenty Only | 1.41 | In pipe | item no.41 | 20 | Mtr.
1.42 | In open duct | item no.42 | 10 | Mtr. | 198.16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1981.6 | 1981.6 | INR One Thousand Nine Hundred & Eighty One and Paise Sixty Only | 1.42 | In open duct | item no.42 | 10 | Mtr.
1.43 | On surface with MS clamp | item no.43 | 360 | Mtr. | 261.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 94064.4 | 94064.4 | INR Ninety Four Thousand &Sixty Four and Paise Forty Only | 1.43 | On surface with MS clamp | item no.43 | 360 | Mtr.
Total in Figures | [51 empty] | 437725 | 437725.48 | Four Lakh Thirty Seven Thousand Seven Hundred & Twenty Five and Paise Forty Eight Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K53: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K54: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K55: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K56: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information