## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: DOIP, IIT Kanpur
Name of Work: Modifications and repair works in various houses and other areas in residential zones of IIT Kanpur
NIT No: Civil/21/11/2023-1
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Carriage of Materials | item no.1 | [52 empty] | 1 | Carriage of Materials | item no.1
2 | By Mechanical Transport including loading,unloading and stacking | item no.2 | [52 empty] | 2 | By Mechanical Transport including loading,unloading and stacking | item no.2
3 | Lime, moorum, building rubbish Lead - 2 km | item no.3 | 5 | cum | 143.08 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 715 | 715 | INR Seven Hundred & Fifteen Only | 3 | Lime, moorum, building rubbish Lead - 2 km | item no.3 | 5 | cum
4 | EARTH WORK | item no.4 | [52 empty] | 4 | EARTH WORK | item no.4
5 | Earth work in surface excavation not exceeding 30 cm in depth but exceeding 1.5 m in width as well as 10 sqm on plan including getting out and disposal of excavated earth upto 50 m and lift upto 1.5 m, as directed by Engineer-in- Charge: | item no.5 | [52 empty] | 5 | Earth work in surface excavation not exceeding 30 cm in depth but exceeding 1.5 m in width as well as 10 sqm on plan including getting out and disposal of excavated earth upto 50 m and lift upto 1.5 m, as directed by Engineer-in- Charge: | item no.5
6 | All kinds of soil | item no.6 | 5 | sqm | 93.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 469 | 469 | INR Four Hundred & Sixty Nine Only | 6 | All kinds of soil | item no.6 | 5 | sqm
7 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. | item no.7 | [52 empty] | 7 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. | item no.7
8 | All kinds of soil. | item no.8 | 19.49 | cum | 251.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4902 | 4902 | INR Four Thousand Nine Hundred & Two Only | 8 | All kinds of soil. | item no.8 | 19.49 | cum
9 | Excavating holes more than 0.10 cum & upto 0.5 cum including getting out the excavated soil, then returning the soil as required in layers not exceeding 20cm in depth, including consolidating each deposited layer by ramming, watering etc, disposing of surplus excavated soil, as directed within a lead of 50 m and lift upto 1.5 m. | item no.9 | [52 empty] | 9 | Excavating holes more than 0.10 cum & upto 0.5 cum including getting out the excavated soil, then returning the soil as required in layers not exceeding 20cm in depth, including consolidating each deposited layer by ramming, watering etc, disposing of surplus excavated soil, as directed within a lead of 50 m and lift upto 1.5 m. | item no.9
10 | All kinds of soil | item no.10 | 15 | each | 78.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1182 | 1182 | INR One Thousand One Hundred & Eighty Two Only | 10 | All kinds of soil | item no.10 | 15 | each
11 | Supplying chemical emulsion in sealed containers including delivery as specified. | item no.11 | [52 empty] | 11 | Supplying chemical emulsion in sealed containers including delivery as specified. | item no.11
12 | Chlorpyriphos/ Lindane emulsifiable concentrate of 20% | item no.12 | 20 | litre | 176.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3523 | 3523 | INR Three Thousand Five Hundred & Twenty Three Only | 12 | Chlorpyriphos/ Lindane emulsifiable concentrate of 20% | item no.12 | 20 | litre
13 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m : | item no.13 | [52 empty] | 13 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m : | item no.13
14 | All kinds of soil | item no.14 | [52 empty] | 14 | All kinds of soil | item no.14
15 | Pipes, cables etc. exceeding 80 mm dia. But not exceeding 300 mm dia | item no.15 | 3 | metre | 365.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1098 | 1098 | INR One Thousand &Ninety Eight Only | 15 | Pipes, cables etc. exceeding 80 mm dia. But not exceeding 300 mm dia | item no.15 | 3 | metre
16 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | item no.16 | 2.01 | cum | 1894.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3809 | 3809 | INR Three Thousand Eight Hundred & Nine Only | 16 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | item no.16 | 2.01 | cum
17 | CEMENT CONCRETE (CAST IN SITU) | item no.17 | [52 empty] | 17 | CEMENT CONCRETE (CAST IN SITU) | item no.17
18 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | item no.18 | [52 empty] | 18 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | item no.18
19 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | item no.19 | 2.6 | cum | 6457.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 16790 | 16790 | INR Sixteen Thousand Seven Hundred & Ninety Only | 19 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | item no.19 | 2.6 | cum
20 | Providing and laying cement concrete in retaining walls, return walls, walls (any thickness) including attached pilasters, columns, piers, abutments, pillars, posts, struts, buttresses, string or lacing courses, parapets, coping, bed blocks, anchor blocks, plain window sills, fillets, sunken floor etc., up to floor five level, excluding the cost of centering, shuttering and finishing: | item no.20 | [52 empty] | 20 | Providing and laying cement concrete in retaining walls, return walls, walls (any thickness) including attached pilasters, columns, piers, abutments, pillars, posts, struts, buttresses, string or lacing courses, parapets, coping, bed blocks, anchor blocks, plain window sills, fillets, sunken floor etc., up to floor five level, excluding the cost of centering, shuttering and finishing: | item no.20
21 | 1:2:4 (1 Cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | item no.21 | 0.3 | cum | 8220.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2466 | 2466 | INR Two Thousand Four Hundred & Sixty Six Only | 21 | 1:2:4 (1 Cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | item no.21 | 0.3 | cum
22 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | item no.22 | 10 | sqm | 597.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5977 | 5977 | INR Five Thousand Nine Hundred & Seventy Seven Only | 22 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | item no.22 | 10 | sqm
23 | MASONRY WORK | item no.23 | [52 empty] | 23 | MASONRY WORK | item no.23
24 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: | item no.24 | [52 empty] | 24 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: | item no.24
25 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.25 | 3 | cum | 5838.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 17514 | 17514 | INR Seventeen Thousand Five Hundred & Fourteen Only | 25 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.25 | 3 | cum
26 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. | item no.26 | [52 empty] | 26 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. | item no.26
27 | Cement mortar 1:4 (1 cement :4 coarse sand) | item no.27 | 1 | sqm | 892.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 893 | 893 | INR Eight Hundred & Ninety Three Only | 27 | Cement mortar 1:4 (1 cement :4 coarse sand) | item no.27 | 1 | sqm
28 | Brick edging 7cm wide 11.4 cm deep to plinth protection with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 including grouting with cement mortar 1:4 (1 cement : 4 fine sand). | item no.28 | 10 | metre | 48.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 489 | 489 | INR Four Hundred & Eighty Nine Only | 28 | Brick edging 7cm wide 11.4 cm deep to plinth protection with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 including grouting with cement mortar 1:4 (1 cement : 4 fine sand). | item no.28 | 10 | metre
29 | CLADDING WORK | item no.29 | [52 empty] | 29 | CLADDING WORK | item no.29
30 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | item no.30 | 27.3 | sqm | 932.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 25456 | 25456 | INR Twenty Five Thousand Four Hundred & Fifty Six Only | 30 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | item no.30 | 27.3 | sqm
31 | WOOD AND P. V. C. WORK | item no.31 | [52 empty] | 31 | WOOD AND P. V. C. WORK | item no.31
32 | Providing and fixing ISI marked oxidised M.S. sliding door bolts with nuts and screws etc. complete : | item no.32 | [52 empty] | 32 | Providing and fixing ISI marked oxidised M.S. sliding door bolts with nuts and screws etc. complete : | item no.32
33 | 300x16 mm | item no.33 | 1 | each | 158.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 158 | 158 | INR One Hundred & Fifty Eight Only | 33 | 300x16 mm | item no.33 | 1 | each
34 | Providing and fixing ISI marked oxidised M.S. sliding door bolts with nuts and screws etc. complete : | item no.34 | [52 empty] | 34 | Providing and fixing ISI marked oxidised M.S. sliding door bolts with nuts and screws etc. complete : | item no.34
35 | 250x16 mm | item no.35 | 1 | each | 145.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 145 | 145 | INR One Hundred & Forty Five Only | 35 | 250x16 mm | item no.35 | 1 | each
36 | STEEL WORK | item no.36 | [52 empty] | 36 | STEEL WORK | item no.36
37 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | item no.37 | 350 | kg | 68.57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 24000 | 24000 | INR Twenty Four Thousand Only | 37 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | item no.37 | 350 | kg
38 | Structural steel work ( Available i/c carriage from department) riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | item no.38 | 300 | Kg | 35.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10665 | 10665 | INR Ten Thousand Six Hundred & Sixty Five Only | 38 | Structural steel work ( Available i/c carriage from department) riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | item no.38 | 300 | Kg
39 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. | item no.39 | [52 empty] | 39 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. | item no.39
40 | Hot finished welded type tubes | item no.40 | 100 | kg | 135.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13582 | 13582 | INR Thirteen Thousand Five Hundred & Eighty Two Only | 40 | Hot finished welded type tubes | item no.40 | 100 | kg
41 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. | item no.41 | [52 empty] | 41 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. | item no.41
42 | In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | item no.42 | 5 | kg | 124.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 624 | 624 | INR Six Hundred & Twenty Four Only | 42 | In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | item no.42 | 5 | kg
43 | FLOORING | item no.43 | [52 empty] | 43 | FLOORING | item no.43
44 | Cement concrete pavement with 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), including finishing complete. | item no.44 | 1.5 | cum | 6978.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10467 | 10467 | INR Ten Thousand Four Hundred & Sixty Seven Only | 44 | Cement concrete pavement with 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), including finishing complete. | item no.44 | 1.5 | cum
45 | Providing and fixing 1st quality ceramic glazed floor tiles conforming to IS : 15622 (thickness to be specified by the manufacturer ) of approved make in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge in skirting, risers of steps and dados over 12 mm thick bed of cement Mortar 1:3 (1 cement: 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm including pointing in white cement mixed with pigment of matching shade complete. | item no.45 | 18 | sqm | 822.88 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14812 | 14812 | INR Fourteen Thousand Eight Hundred & Twelve Only | 45 | Providing and fixing 1st quality ceramic glazed floor tiles conforming to IS : 15622 (thickness to be specified by the manufacturer ) of approved make in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge in skirting, risers of steps and dados over 12 mm thick bed of cement Mortar 1:3 (1 cement: 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm including pointing in white cement mixed with pigment of matching shade complete. | item no.45 | 18 | sqm
46 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. | item no.46 | [52 empty] | 46 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. | item no.46
47 | Double charge vitrified tile polished finish of size | item no.47 | [52 empty] | 47 | Double charge vitrified tile polished finish of size | item no.47
48 | Size of Tile 600 x 600 mm | item no.48 | 157 | sqm | 1128.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 177112 | 177112 | INR One Lakh Seventy Seven Thousand One Hundred & Twelve Only | 48 | Size of Tile 600 x 600 mm | item no.48 | 157 | sqm
49 | Glazed Vitrified tiles Matt/Antiskid finish of size | item no.49 | [52 empty] | 49 | Glazed Vitrified tiles Matt/Antiskid finish of size | item no.49
50 | Size of Tile 600 x 600 mm | item no.50 | 45 | sqm | 1149.54 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 51729 | 51729 | INR Fifty One Thousand Seven Hundred & Twenty Nine Only | 50 | Size of Tile 600 x 600 mm | item no.50 | 45 | sqm
51 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to IS: 15622, of approved brand & manufacturer, in all colours and shade, in skirting, riser of steps, laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS: 15477, in average 6 mm thickness, including grouting of joints (Payment for grouting of joints to be made separately). | item no.51 | [52 empty] | 51 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to IS: 15622, of approved brand & manufacturer, in all colours and shade, in skirting, riser of steps, laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS: 15477, in average 6 mm thickness, including grouting of joints (Payment for grouting of joints to be made separately). | item no.51
52 | Size of Tile 600x600 mm | item no.52 | 16 | sqm | 1469.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 23515 | 23515 | INR Twenty Three Thousand Five Hundred & Fifteen Only | 52 | Size of Tile 600x600 mm | item no.52 | 16 | sqm
53 | Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab, including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand) : | item no.53 | [52 empty] | 53 | Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab, including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand) : | item no.53
54 | 25 mm thick | item no.54 | 4 | sqm | 1496.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5985 | 5985 | INR Five Thousand Nine Hundred & Eighty Five Only | 54 | 25 mm thick | item no.54 | 4 | sqm
55 | Kota stone slabs 20 mm thick in risers of steps, skirting, dado and pillars laid on 12 mm (average) thick cement mortar 1:3 (1 cement: 3 coarse sand) and jointed with grey cement slurry mixed with pigment to match the shade of the slabs, including rubbing and polishing complete. | item no.55 | 1 | sqm | 1787.42 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1787 | 1787 | INR One Thousand Seven Hundred & Eighty Seven Only | 55 | Kota stone slabs 20 mm thick in risers of steps, skirting, dado and pillars laid on 12 mm (average) thick cement mortar 1:3 (1 cement: 3 coarse sand) and jointed with grey cement slurry mixed with pigment to match the shade of the slabs, including rubbing and polishing complete. | item no.55 | 1 | sqm
56 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete. | item no.56 | [52 empty] | 56 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete. | item no.56
57 | 40 mm thick with 20 mm nominal size stone aggregate | item no.57 | 38.5 | sqm | 477.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 18398 | 18398 | INR Eighteen Thousand Three Hundred & Ninety Eight Only | 57 | 40 mm thick with 20 mm nominal size stone aggregate | item no.57 | 38.5 | sqm
58 | Cement plaster skirting up to 30 cm height, with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement. | item no.58 | [52 empty] | 58 | Cement plaster skirting up to 30 cm height, with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement. | item no.58
59 | 18 mm thick | item no.59 | 2 | sqm | 500.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1001 | 1001 | INR One Thousand &One Only | 59 | 18 mm thick | item no.59 | 2 | sqm
60 | Providing and fixing glass strips in joints of terrazo/ cement concrete floors. | item no.60 | [52 empty] | 60 | Providing and fixing glass strips in joints of terrazo/ cement concrete floors. | item no.60
61 | 40 mm wide and 4 mm thick | item no.61 | 50 | metre | 69.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3486 | 3486 | INR Three Thousand Four Hundred & Eighty Six Only | 61 | 40 mm wide and 4 mm thick | item no.61 | 50 | metre
62 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand), Jointing with grey cement slurry @ 3.3 kg/sqm including pointing the joints with white cement and matching pigment etc., complete. | item no.62 | 18 | sqm | 820.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14766 | 14766 | INR Fourteen Thousand Seven Hundred & Sixty Six Only | 62 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand), Jointing with grey cement slurry @ 3.3 kg/sqm including pointing the joints with white cement and matching pigment etc., complete. | item no.62 | 18 | sqm
63 | FINISHING | item no.63 | [52 empty] | 63 | FINISHING | item no.63
64 | 12 mm cement plaster of mix : | item no.64 | [52 empty] | 64 | 12 mm cement plaster of mix : | item no.64
65 | 1:6 (1 cement: 6 coarse sand) | item no.65 | 20 | sqm | 258.09 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5162 | 5162 | INR Five Thousand One Hundred & Sixty Two Only | 65 | 1:6 (1 cement: 6 coarse sand) | item no.65 | 20 | sqm
66 | 15 mm cement plaster on rough side of single or half brick wall of mix: | item no.66 | [52 empty] | 66 | 15 mm cement plaster on rough side of single or half brick wall of mix: | item no.66
67 | 1:6 (1 cement: 6 coarse sand) | item no.67 | 20 | sqm | 297.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5947 | 5947 | INR Five Thousand Nine Hundred & Forty Seven Only | 67 | 1:6 (1 cement: 6 coarse sand) | item no.67 | 20 | sqm
68 | 12 mm cement plaster finished with a floating coat of neat cement of mix : | item no.68 | [52 empty] | 68 | 12 mm cement plaster finished with a floating coat of neat cement of mix : | item no.68
69 | 1:3 (1 cement: 3 fine sand) | item no.69 | 7 | sqm | 328.06 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2296 | 2296 | INR Two Thousand Two Hundred & Ninety Six Only | 69 | 1:3 (1 cement: 3 fine sand) | item no.69 | 7 | sqm
70 | 6 mm cement plaster of mix : | item no.70 | [52 empty] | 70 | 6 mm cement plaster of mix : | item no.70
71 | 1:3 (1 cement : 3 fine sand) | item no.71 | 10 | sqm | 221.88 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2219 | 2219 | INR Two Thousand Two Hundred & Nineteen Only | 71 | 1:3 (1 cement : 3 fine sand) | item no.71 | 10 | sqm
72 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | item no.72 | [52 empty] | 72 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | item no.72
73 | Two or more coats on new work | item no.73 | 1533 | sqm | 81.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 124664 | 124664 | INR One Lakh Twenty Four Thousand Six Hundred & Sixty Four Only | 73 | Two or more coats on new work | item no.73 | 1533 | sqm
74 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade: | item no.74 | [52 empty] | 74 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade: | item no.74
75 | New work (Two or more coats applied @ 1.43 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | item no.75 | 15 | sqm | 142.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2135 | 2135 | INR Two Thousand One Hundred & Thirty Five Only | 75 | New work (Two or more coats applied @ 1.43 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | item no.75 | 15 | sqm
76 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : | item no.76 | [52 empty] | 76 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : | item no.76
77 | Two or more coats on new work | item no.77 | 5 | sqm | 115.26 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 576 | 576 | INR Five Hundred & Seventy Six Only | 77 | Two or more coats on new work | item no.77 | 5 | sqm
78 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.78 | 990 | sqm | 108.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 107504 | 107504 | INR One Lakh Seven Thousand Five Hundred & Four Only | 78 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.78 | 990 | sqm
79 | White washing with lime to give an even shade : | item no.79 | [52 empty] | 79 | White washing with lime to give an even shade : | item no.79
80 | Old work (two or more coats) | item no.80 | 1093 | sqm | 16.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 18209 | 18209 | INR Eighteen Thousand Two Hundred & Nine Only | 80 | Old work (two or more coats) | item no.80 | 1093 | sqm
81 | Removing white or colour wash by scrapping and sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete | item no.81 | 694 | sqm | 14.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9952 | 9952 | INR Nine Thousand Nine Hundred & Fifty Two Only | 81 | Removing white or colour wash by scrapping and sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete | item no.81 | 694 | sqm
82 | Distempering with 1st quality acrylic distember (Ready mix) having VOC content less than 50 grams/ litre of approved brand and manufacture to give an even shade : | item no.82 | [52 empty] | 82 | Distempering with 1st quality acrylic distember (Ready mix) having VOC content less than 50 grams/ litre of approved brand and manufacture to give an even shade : | item no.82
83 | Old work (one or more coats) | item no.83 | 550 | sqm | 49.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 27390 | 27390 | INR Twenty Seven Thousand Three Hundred & Ninety Only | 83 | Old work (one or more coats) | item no.83 | 550 | sqm
84 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | item no.84 | 990 | sqm | 18.28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 18097 | 18097 | INR Eighteen Thousand &Ninety Seven Only | 84 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | item no.84 | 990 | sqm
85 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.85 | [52 empty] | 85 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.85
86 | One or more coats on old work | item no.86 | 1062 | sqm | 75.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 80595 | 80595 | INR Eighty Thousand Five Hundred & Ninety Five Only | 86 | One or more coats on old work | item no.86 | 1062 | sqm
87 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade | item no.87 | [52 empty] | 87 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade | item no.87
88 | Old work (one or more coats applied @ 0.83 ltr/10 sqm). | item no.88 | 125 | sqm | 64.97 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8121 | 8121 | INR Eight Thousand One Hundred & Twenty One Only | 88 | Old work (one or more coats applied @ 0.83 ltr/10 sqm). | item no.88 | 125 | sqm
89 | Finishing walls with Acrylic Smooth exterior paint of required shade : | item no.89 | [52 empty] | 89 | Finishing walls with Acrylic Smooth exterior paint of required shade : | item no.89
90 | Old work (Two or more coat applied @ 1.67 ltr/ 10 sqm) on existing cement paint surface | item no.90 | 80 | sqm | 97.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7828 | 7828 | INR Seven Thousand Eight Hundred & Twenty Eight Only | 90 | Old work (Two or more coat applied @ 1.67 ltr/ 10 sqm) on existing cement paint surface | item no.90 | 80 | sqm
91 | REPAIRS TO BUILDING | item no.91 | [52 empty] | 91 | REPAIRS TO BUILDING | item no.91
92 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | item no.92 | [52 empty] | 92 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | item no.92
93 | With cement mortar 1:4 (1cement: 4 coarse sand) | item no.93 | 60 | sqm | 419.11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 25147 | 25147 | INR Twenty Five Thousand One Hundred & Forty Seven Only | 93 | With cement mortar 1:4 (1cement: 4 coarse sand) | item no.93 | 60 | sqm
94 | Hacking of CC flooring including cleaning for surface etc. complete as per direction of the Engineer-in-Charge. | item no.94 | 202 | sqm | 2.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 505 | 505 | INR Five Hundred & Five Only | 94 | Hacking of CC flooring including cleaning for surface etc. complete as per direction of the Engineer-in-Charge. | item no.94 | 202 | sqm
95 | Taking out existing wooden door shutter, repair by cutting, painting etc. and refixing of repaired door shutters to existing door frames, including replacement of hinges with screws, etc. as required, all complete as per the direction of the Engineer-in-charge. | item no.95 | 15 | each | 285.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4287 | 4287 | INR Four Thousand Two Hundred & Eighty Seven Only | 95 | Taking out existing wooden door shutter, repair by cutting, painting etc. and refixing of repaired door shutters to existing door frames, including replacement of hinges with screws, etc. as required, all complete as per the direction of the Engineer-in-charge. | item no.95 | 15 | each
96 | Fixing chowkhats in existing opening including embedding chowkhats in floors or walls cutting masonry for holdfasts, embedding hold fasts in cement concrete blocks of size 15 x 10 x 10 cm with cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size), painting two coats of approved wood preservative to sides of chowkhats and making good the damages to walls and floors as required complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | item no.96 | [52 empty] | 96 | Fixing chowkhats in existing opening including embedding chowkhats in floors or walls cutting masonry for holdfasts, embedding hold fasts in cement concrete blocks of size 15 x 10 x 10 cm with cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size), painting two coats of approved wood preservative to sides of chowkhats and making good the damages to walls and floors as required complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | item no.96
97 | Door chowkhats | item no.97 | 3 | each | 1319.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3960 | 3960 | INR Three Thousand Nine Hundred & Sixty Only | 97 | Door chowkhats | item no.97 | 3 | each
98 | Dismantling and Demolishing | item no.98 | [52 empty] | 98 | Dismantling and Demolishing | item no.98
99 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | item no.99 | [52 empty] | 99 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | item no.99
100 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | item no.100 | 3.7 | cum | 1759.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6511 | 6511 | INR Six Thousand Five Hundred & Eleven Only | 100 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | item no.100 | 3.7 | cum
101 | Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | item no.101 | 6.2 | cum | 1086.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6739 | 6739 | INR Six Thousand Seven Hundred & Thirty Nine Only | 101 | Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | item no.101 | 6.2 | cum
102 | Dismantling steel work in built up sections in angles, tees, flats and channels including all gusset plates, bolts, nuts, cutting rivets, welding etc. including dismembering and stacking within 50 metres lead. | item no.102 | 1941.84 | kg | 4.08 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7923 | 7923 | INR Seven Thousand Nine Hundred & Twenty Three Only | 102 | Dismantling steel work in built up sections in angles, tees, flats and channels including all gusset plates, bolts, nuts, cutting rivets, welding etc. including dismembering and stacking within 50 metres lead. | item no.102 | 1941.84 | kg
103 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. | item no.103 | [52 empty] | 103 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. | item no.103
104 | For thickness of tiles 10 mm to 25 mm | item no.104 | 19 | sqm | 53.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1008 | 1008 | INR One Thousand &Eight Only | 104 | For thickness of tiles 10 mm to 25 mm | item no.104 | 19 | sqm
105 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | item no.105 | 50 | sqm | 39.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1975 | 1975 | INR One Thousand Nine Hundred & Seventy Five Only | 105 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | item no.105 | 50 | sqm
106 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | item no.106 | 17.43 | cum | 192.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3352 | 3352 | INR Three Thousand Three Hundred & Fifty Two Only | 106 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | item no.106 | 17.43 | cum
107 | SANITARY INSTALLATIONS | item no.107 | [52 empty] | 107 | SANITARY INSTALLATIONS | item no.107
108 | Providing and fixing white vitreous china pedestal type water closet(European type W.C. pan) with seat and lid, 10 litre low level whiteP.V.C. flushing cistern, including flush pipe, with manually controlleddevice (handle lever), conforming to IS : 7231, with all fittings andfixtures complete, including cutting and making good the walls andfloors wherever required : | item no.108 | [52 empty] | 108 | Providing and fixing white vitreous china pedestal type water closet(European type W.C. pan) with seat and lid, 10 litre low level whiteP.V.C. flushing cistern, including flush pipe, with manually controlleddevice (handle lever), conforming to IS : 7231, with all fittings andfixtures complete, including cutting and making good the walls andfloors wherever required : | item no.108
109 | W.C. pan with ISI marked white solid plastic seat and lid | item no.109 | 3 | each | 4858 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14574 | 14574 | INR Fourteen Thousand Five Hundred & Seventy Four Only | 109 | W.C. pan with ISI marked white solid plastic seat and lid | item no.109 | 3 | each
110 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : | item no.110 | [52 empty] | 110 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : | item no.110
111 | W.C. pan with ISI marked black solid plastic seat and lid | item no.111 | 3 | each | 4758.26 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14275 | 14275 | INR Fourteen Thousand Two Hundred & Seventy Five Only | 111 | W.C. pan with ISI marked black solid plastic seat and lid | item no.111 | 3 | each
112 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: | item no.112 | [52 empty] | 112 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: | item no.112
113 | White Vitreous China Flat back wash basin size 550x 400 mm with single 15 mm C.P. brass pillar tap | item no.113 | 1 | each | 2394.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2395 | 2395 | INR Two Thousand Three Hundred & Ninety Five Only | 113 | White Vitreous China Flat back wash basin size 550x 400 mm with single 15 mm C.P. brass pillar tap | item no.113 | 1 | each
114 | Providing and fixing 8 mm dia C.P. / S.S. Jet with flexible tube upto 1 metre long with S.S. triangular plate to Eureopean type W.C. of quality and make as approved by Engineer - in - charge. | item no.114 | 3 | each | 262.47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 787 | 787 | INR Seven Hundred & Eighty Seven Only | 114 | Providing and fixing 8 mm dia C.P. / S.S. Jet with flexible tube upto 1 metre long with S.S. triangular plate to Eureopean type W.C. of quality and make as approved by Engineer - in - charge. | item no.114 | 3 | each
115 | Providing and fixing CP Brass 32mm size Bottle Trap of approved quality & make and as per the direction of Engineer-in-charge. | item no.115 | 1 | each | 777.07 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 777 | 777 | INR Seven Hundred & Seventy Seven Only | 115 | Providing and fixing CP Brass 32mm size Bottle Trap of approved quality & make and as per the direction of Engineer-in-charge. | item no.115 | 1 | each
116 | Providing and fixing CP Brass Single lever telephonic wall mixer of quality & make as approved by Engineer in charge. (a) 15 mm nominal dia | item no.116 | 1 | each | 5365.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5365 | 5365 | INR Five Thousand Three Hundred & Sixty Five Only | 116 | Providing and fixing CP Brass Single lever telephonic wall mixer of quality & make as approved by Engineer in charge. (a) 15 mm nominal dia | item no.116 | 1 | each
117 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | item no.117 | 1 | each | 1237.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1237 | 1237 | INR One Thousand Two Hundred & Thirty Seven Only | 117 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | item no.117 | 1 | each
118 | Providing and fixing soil, waste and vent pipes : | item no.118 | [52 empty] | 118 | Providing and fixing soil, waste and vent pipes : | item no.118
119 | 100 mm dia | item no.119 | [52 empty] | 119 | 100 mm dia | item no.119
120 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. | item no.120 | [52 empty] | 120 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. | item no.120
121 | 32 mm dia | item no.121 | 1 | each | 91.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 91 | 91 | INR Ninety One Only | 121 | 32 mm dia | item no.121 | 1 | each
122 | Centrifugally cast (spun) iron socket & spigot (S&S) pipe as per IS: 3989 | item no.122 | 7 | metre | 944.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6613 | 6613 | INR Six Thousand Six Hundred & Thirteen Only | 122 | Centrifugally cast (spun) iron socket & spigot (S&S) pipe as per IS: 3989 | item no.122 | 7 | metre
123 | 75 mm diameter : | item no.123 | [52 empty] | 123 | 75 mm diameter : | item no.123
124 | Centrifugally cast (spun) iron socketed pipe as per IS: 3989 | item no.124 | 6.85 | metre | 913.72 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6259 | 6259 | INR Six Thousand Two Hundred & Fifty Nine Only | 124 | Centrifugally cast (spun) iron socketed pipe as per IS: 3989 | item no.124 | 6.85 | metre
125 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. | item no.125 | [52 empty] | 125 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. | item no.125
126 | 100 mm dia | item no.126 | [52 empty] | 126 | 100 mm dia | item no.126
127 | Sand cast iron S&S as per IS - 3989 | item no.127 | 1 | each | 523.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 524 | 524 | INR Five Hundred & Twenty Four Only | 127 | Sand cast iron S&S as per IS - 3989 | item no.127 | 1 | each
128 | Providing and fixing plain bend of required degree. | item no.128 | [52 empty] | 128 | Providing and fixing plain bend of required degree. | item no.128
129 | 100 mm dia | item no.129 | [52 empty] | 129 | 100 mm dia | item no.129
130 | Sand cast iron S&S as per IS : 3989 | item no.130 | 4 | each | 385.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1542 | 1542 | INR One Thousand Five Hundred & Forty Two Only | 130 | Sand cast iron S&S as per IS : 3989 | item no.130 | 4 | each
131 | Providing and fixing collar : | item no.131 | [52 empty] | 131 | Providing and fixing collar : | item no.131
132 | 100 mm | item no.132 | [52 empty] | 132 | 100 mm | item no.132
133 | Sand cast iron S&S as per IS - 3989 | item no.133 | 3 | each | 385.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1157 | 1157 | INR One Thousand One Hundred & Fifty Seven Only | 133 | Sand cast iron S&S as per IS - 3989 | item no.133 | 3 | each
134 | 75 mm | item no.134 | [52 empty] | 134 | 75 mm | item no.134
135 | Sand cast iron S&S as per IS - 3989 | item no.135 | 4 | each | 238.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 952 | 952 | INR Nine Hundred & Fifty Two Only | 135 | Sand cast iron S&S as per IS - 3989 | item no.135 | 4 | each
136 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter : | item no.136 | [52 empty] | 136 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter : | item no.136
137 | 100 mm | item no.137 | 15 | each | 481.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7229 | 7229 | INR Seven Thousand Two Hundred & Twenty Nine Only | 137 | 100 mm | item no.137 | 15 | each
138 | 75 mm | item no.138 | 10 | each | 408.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4089 | 4089 | INR Four Thousand &Eighty Nine Only | 138 | 75 mm | item no.138 | 10 | each
139 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : | item no.139 | [52 empty] | 139 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : | item no.139
140 | 100 mm inlet and 100 mm outlet | item no.140 | [52 empty] | 140 | 100 mm inlet and 100 mm outlet | item no.140
141 | Sand cast iron S&S as per IS: 3989 | item no.141 | 2 | each | 1406.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2813 | 2813 | INR Two Thousand Eight Hundred & Thirteen Only | 141 | Sand cast iron S&S as per IS: 3989 | item no.141 | 2 | each
142 | 100 mm inlet and 75 mm outlet | item no.142 | [52 empty] | 142 | 100 mm inlet and 75 mm outlet | item no.142
143 | Sand cast iron S&S as per IS - 3989 | item no.143 | 3 | each | 1465.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4395 | 4395 | INR Four Thousand Three Hundred & Ninety Five Only | 143 | Sand cast iron S&S as per IS - 3989 | item no.143 | 3 | each
144 | WATER PROOFING | item no.144 | [52 empty] | 144 | WATER PROOFING | item no.144
145 | Providing and applying fibre reinforced elastomeric liquid water proofing membrane with resilient acrylic polymers having Sun Reflectivity Index (SRI) of 105 on top of concrete roof in three coats @10.76 litre/ 10 sqm. One coat of self-priming of elastomeric waterproofing liquid (dilution with water in the ratio of 3:1) and two coats of undiluted elastomeric waterproofing liquid (dry film thickness of complete application/system not less than 500 microns). The operation shall be carried out after scrapping and properly cleaning the surface to remove loose particles with wire brushes, complete in all respect as per the direction of Engineer-in-Charge. | item no.145 | 1115 | sqm | 415.74 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 463550 | 463550 | INR Four Lakh Sixty Three Thousand Five Hundred & Fifty Only | 145 | Providing and applying fibre reinforced elastomeric liquid water proofing membrane with resilient acrylic polymers having Sun Reflectivity Index (SRI) of 105 on top of concrete roof in three coats @10.76 litre/ 10 sqm. One coat of self-priming of elastomeric waterproofing liquid (dilution with water in the ratio of 3:1) and two coats of undiluted elastomeric waterproofing liquid (dry film thickness of complete application/system not less than 500 microns). The operation shall be carried out after scrapping and properly cleaning the surface to remove loose particles with wire brushes, complete in all respect as per the direction of Engineer-in-Charge. | item no.145 | 1115 | sqm
146 | WATER SUPPLY | item no.146 | [52 empty] | 146 | WATER SUPPLY | item no.146
147 | Providing and fixing G.I. Pipes complete with G.I. fittings and clamps, i/c making good the walls etc. concealed pipe, including painting with anti corrosive bitumastic paint, cutting chases and making good the wall : | item no.147 | [52 empty] | 147 | Providing and fixing G.I. Pipes complete with G.I. fittings and clamps, i/c making good the walls etc. concealed pipe, including painting with anti corrosive bitumastic paint, cutting chases and making good the wall : | item no.147
148 | 15 mm dia nominal bore | item no.148 | 30 | metre | 425.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12763 | 12763 | INR Twelve Thousand Seven Hundred & Sixty Three Only | 148 | 15 mm dia nominal bore | item no.148 | 30 | metre
149 | Providing and fixing uplasticised PVC connection pipe with brass unions : | item no.149 | [52 empty] | 149 | Providing and fixing uplasticised PVC connection pipe with brass unions : | item no.149
150 | 45 cm length | item no.150 | [52 empty] | 150 | 45 cm length | item no.150
151 | 15 mm nominal bore | item no.151 | 6 | each | 74.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 448 | 448 | INR Four Hundred & Forty Eight Only | 151 | 15 mm nominal bore | item no.151 | 6 | each
152 | Constructing masonry Chamber 30x30x50 cm inside, in brick work in cement mortar 1:4 (1 cement :4 coarse sand) for stop cock, with C. I. surface box 100x100 x75 mm (inside) with hinged cover fixed in cement concrete slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), i/c necessary excavation, foundation concrete 1:5:10 ( 1 cement : 5 fine sand : 10 graded stone aggregate 40mm nominal size ) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12mm thick, finished with a floating coat of neat cement complete as per standard design : | item no.152 | [52 empty] | 152 | Constructing masonry Chamber 30x30x50 cm inside, in brick work in cement mortar 1:4 (1 cement :4 coarse sand) for stop cock, with C. I. surface box 100x100 x75 mm (inside) with hinged cover fixed in cement concrete slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), i/c necessary excavation, foundation concrete 1:5:10 ( 1 cement : 5 fine sand : 10 graded stone aggregate 40mm nominal size ) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12mm thick, finished with a floating coat of neat cement complete as per standard design : | item no.152
153 | With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 | item no.153 | 1 | each | 1501.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1501 | 1501 | INR One Thousand Five Hundred & One Only | 153 | With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 | item no.153 | 1 | each
154 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : | item no.154 | [52 empty] | 154 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : | item no.154
155 | 15 mm nominal bore | item no.155 | 1 | each | 229.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 230 | 230 | INR Two Hundred & Thirty Only | 155 | 15 mm nominal bore | item no.155 | 1 | each
156 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : | item no.156 | [52 empty] | 156 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : | item no.156
157 | 15 mm nominal bore | item no.157 | 2 | each | 380.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 761 | 761 | INR Seven Hundred & Sixty One Only | 157 | 15 mm nominal bore | item no.157 | 2 | each
158 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. | item no.158 | [52 empty] | 158 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. | item no.158
159 | 15 mm nominal bore | item no.159 | 2 | each | 521.48 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1043 | 1043 | INR One Thousand &Forty Three Only | 159 | 15 mm nominal bore | item no.159 | 2 | each
160 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 | item no.160 | [52 empty] | 160 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 | item no.160
161 | 15mm nominal bore | item no.161 | 7 | each | 438.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3071 | 3071 | INR Three Thousand &Seventy One Only | 161 | 15mm nominal bore | item no.161 | 7 | each
162 | Providing and fixing C.P. Brass extension nipple (size 15mmx50mm) of approved make and quality as per direction of Engineer-in-charge. | item no.162 | 12 | each | 54.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 649 | 649 | INR Six Hundred & Forty Nine Only | 162 | Providing and fixing C.P. Brass extension nipple (size 15mmx50mm) of approved make and quality as per direction of Engineer-in-charge. | item no.162 | 12 | each
163 | Cutting holes up to 30x30 cm in walls including making good the same: | item no.163 | [52 empty] | 163 | Cutting holes up to 30x30 cm in walls including making good the same: | item no.163
164 | With common burnt clay F.P.S. (non modular) bricks | item no.164 | 3 | each | 317.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 953 | 953 | INR Nine Hundred & Fifty Three Only | 164 | With common burnt clay F.P.S. (non modular) bricks | item no.164 | 3 | each
165 | DRAINAGE | item no.165 | [52 empty] | 165 | DRAINAGE | item no.165
166 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design: | item no.166 | [52 empty] | 166 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design: | item no.166
167 | 100x100 mm size P type | item no.167 | [52 empty] | 167 | 100x100 mm size P type | item no.167
168 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | item no.168 | 1 | each | 2151.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2151 | 2151 | INR Two Thousand One Hundred & Fifty One Only | 168 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | item no.168 | 1 | each
169 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete : | item no.169 | [52 empty] | 169 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete : | item no.169
170 | For pipes 100 to 250 mm diameter | item no.170 | 1 | each | 599.47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 599 | 599 | INR Five Hundred & Ninety Nine Only | 170 | For pipes 100 to 250 mm diameter | item no.170 | 1 | each
171 | NEW TECHNOLOGIES AND MATERIALS | item no.171 | [52 empty] | 171 | NEW TECHNOLOGIES AND MATERIALS | item no.171
172 | Chipping of unsound/weak concrete material from slabs, beams, columns etc. with manual Chisel and/ or by standard power driven percussion type or of approved make including tapering of all edges, making square shoulders of cavities including cleaning the exposed concrete surface and reinforcement with wire brushes etc. and disposal of debris for all lead and lifts all complete as per direction of Engineer-In-Charge | item no.172 | [52 empty] | 172 | Chipping of unsound/weak concrete material from slabs, beams, columns etc. with manual Chisel and/ or by standard power driven percussion type or of approved make including tapering of all edges, making square shoulders of cavities including cleaning the exposed concrete surface and reinforcement with wire brushes etc. and disposal of debris for all lead and lifts all complete as per direction of Engineer-In-Charge | item no.172
173 | 25 mm average thickness | item no.173 | 5 | sqm | 91.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 459 | 459 | INR Four Hundred & Fifty Nine Only | 173 | 25 mm average thickness | item no.173 | 5 | sqm
174 | Cleaning of reinforcement from rust from the reinforcing bars to give it a total rust free steel surface by using alkaline chemical rust remover of approved make with paint brush and removing loose particles after 24 hours of its application with wire brush and thoroughly washing with water and allowing it to dry, all complete as per direction of Engineer-In-Charge. | item no.175 | [52 empty] | 174 | Cleaning of reinforcement from rust from the reinforcing bars to give it a total rust free steel surface by using alkaline chemical rust remover of approved make with paint brush and removing loose particles after 24 hours of its application with wire brush and thoroughly washing with water and allowing it to dry, all complete as per direction of Engineer-In-Charge. | item no.175
175 | Bars upto 12 mm diameter | item no.176 | 5 | metre | 5.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 29 | 29 | INR Twenty Nine Only | 175 | Bars upto 12 mm diameter | item no.176 | 5 | metre
176 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and direction of Engineer-In-charge complete in all respect. | item no.177 | [52 empty] | 176 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and direction of Engineer-In-charge complete in all respect. | item no.177
177 | SBR Polymer (@10% of cement weight) modified cementitious bond coat @ 2.2 kg cement per sqm of surface area mixed with specified proportion of approved polymer | item no.178 | 5 | sqm | 103.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 516 | 516 | INR Five Hundred & Sixteen Only | 177 | SBR Polymer (@10% of cement weight) modified cementitious bond coat @ 2.2 kg cement per sqm of surface area mixed with specified proportion of approved polymer | item no.178 | 5 | sqm
178 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and direction of Engineer-In-charge complete in all respect. | item no.179 | [52 empty] | 178 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and direction of Engineer-In-charge complete in all respect. | item no.179
179 | Epoxy bonding adhesive having coverage 2.20 sqm/kg of approved make | item no.180 | 11 | sqm | 342.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3766 | 3766 | INR Three Thousand Seven Hundred & Sixty Six Only | 179 | Epoxy bonding adhesive having coverage 2.20 sqm/kg of approved make | item no.180 | 11 | sqm
180 | MINOR CIVIL MAINTENANCE WORK: | item no.181 | [52 empty] | 180 | MINOR CIVIL MAINTENANCE WORK: | item no.181
181 | "Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources: 10 graded brick aggregate 40 mm nominal size derived from natural sources) | item no.182 | 1.5 | Cum | 5045.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7568 | 7568 | INR Seven Thousand Five Hundred & Sixty Eight Only | 181 | "Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources: 10 graded brick aggregate 40 mm nominal size derived from natural sources) | item no.182 | 1.5 | Cum
182 | "Providing and fixing C.P. grating with or without hole for waste pipe for floor/ nahani trap 100 mm dia. weight not less than 100 grams. | item no.183 | 9 | Each | 58.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 528 | 528 | INR Five Hundred & Twenty Eight Only | 182 | "Providing and fixing C.P. grating with or without hole for waste pipe for floor/ nahani trap 100 mm dia. weight not less than 100 grams. | item no.183 | 9 | Each
183 | "Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources: 10 graded brick aggregate 40 mm nominal size derived from natural sources) | item no.184 | 14.4 | Cum | 5225.52 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 75247 | 75247 | INR Seventy Five Thousand Two Hundred & Forty Seven Only | 183 | "Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources: 10 graded brick aggregate 40 mm nominal size derived from natural sources) | item no.184 | 14.4 | Cum
184 | "P/F C.P brass towel rod complete with two C.P.brass brackets fixed to wooden cleats with C.P. brass screws of approved quality size of 600 x 20 mm. | item no.185 | 1 | Each | 457.52 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 458 | 458 | INR Four Hundred & Fifty Eight Only | 184 | "P/F C.P brass towel rod complete with two C.P.brass brackets fixed to wooden cleats with C.P. brass screws of approved quality size of 600 x 20 mm. | item no.185 | 1 | Each
185 | "Providing and fixing C.P. grating with or without hole for waste pipe for floor/ nahani trap 100 mm dia. weight not less than 100 grams. | item no.186 | 6 | Each | 51.62 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 310 | 310 | INR Three Hundred & Ten Only | 185 | "Providing and fixing C.P. grating with or without hole for waste pipe for floor/ nahani trap 100 mm dia. weight not less than 100 grams. | item no.186 | 6 | Each
186 | "Providing and fixing C.P flange for C.P bib cock/C.P angle stop cock. | item no.187 | 7 | Each | 29.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 205 | 205 | INR Two Hundred & Five Only | 186 | "Providing and fixing C.P flange for C.P bib cock/C.P angle stop cock. | item no.187 | 7 | Each
187 | "Providing and fixing C.P Brass shower rose 15 mm or 20 mm inlet with shower arm (a) 75 mm dia fancy type. | item no.188 | 1 | Each | 586.56 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 587 | 587 | INR Five Hundred & Eighty Seven Only | 187 | "Providing and fixing C.P Brass shower rose 15 mm or 20 mm inlet with shower arm (a) 75 mm dia fancy type. | item no.188 | 1 | Each
188 | Providing and fixing C.P basin mixer of 15 mm nominal bore (L&K) make etc. complete | item no.189 | 1 | Each | 2522.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2522 | 2522 | INR Two Thousand Five Hundred & Twenty Two Only | 188 | Providing and fixing C.P basin mixer of 15 mm nominal bore (L&K) make etc. complete | item no.189 | 1 | Each
189 | Providind and fixing C.P. hand spray (heath faucet) jaquar make or equivalant with push button control and flexible hose connection with C.P hook complete in all respects. | item no.190 | 1 | Each | 1730.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1730 | 1730 | INR One Thousand Seven Hundred & Thirty Only | 189 | Providind and fixing C.P. hand spray (heath faucet) jaquar make or equivalant with push button control and flexible hose connection with C.P hook complete in all respects. | item no.190 | 1 | Each
190 | Providing and fixing 15 mm nominal bore C.P brass two way bib cock of L&K or approved equivalent make etc. complete | item no.191 | 3 | Each | 1284.56 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3854 | 3854 | INR Three Thousand Eight Hundred & Fifty Four Only | 190 | Providing and fixing 15 mm nominal bore C.P brass two way bib cock of L&K or approved equivalent make etc. complete | item no.191 | 3 | Each
191 | Providing and fixing 15 mm nominal bore two way angle valve of make L&K or approved equivalent make. | item no.192 | 1 | Each | 1284.56 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1285 | 1285 | INR One Thousand Two Hundred & Eighty Five Only | 191 | Providing and fixing 15 mm nominal bore two way angle valve of make L&K or approved equivalent make. | item no.192 | 1 | Each
192 | Chipping of unsound/weak concrete material from slabs, beams, columns etc. with manual Chisel and/ or by standard power driven percussion type or of approved make including tapering of all edges, making square shoulders of cavities including cleaning the exposed concrete surface and reinforcement with wire brushes etc. and disposal of debris for all lead and lifts all complete as per direction of Engineer-In-Charge | item no.193 | [52 empty] | 192 | Chipping of unsound/weak concrete material from slabs, beams, columns etc. with manual Chisel and/ or by standard power driven percussion type or of approved make including tapering of all edges, making square shoulders of cavities including cleaning the exposed concrete surface and reinforcement with wire brushes etc. and disposal of debris for all lead and lifts all complete as per direction of Engineer-In-Charge | item no.193
193 | 25 mm average thickness | item no.194 | 2.5 | sqm | 80.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 201 | 201 | INR Two Hundred & One Only | 193 | 25 mm average thickness | item no.194 | 2.5 | sqm
194 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and direction of Engineer-In-charge complete in all respect. | item no.195 | [52 empty] | 194 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and direction of Engineer-In-charge complete in all respect. | item no.195
195 | SBR Polymer (@10% of cement weight) modified cementitious bond coat @ 2.2 kg cement per sqm of surface area mixed with specified proportion of approved polymer | item no.196 | 2.5 | sqm | 90.52 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 226 | 226 | INR Two Hundred & Twenty Six Only | 195 | SBR Polymer (@10% of cement weight) modified cementitious bond coat @ 2.2 kg cement per sqm of surface area mixed with specified proportion of approved polymer | item no.196 | 2.5 | sqm
Total in Figures | [51 empty] | 1601901 | 1601901 | Sixteen Lakh One Thousand Nine Hundred & One Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information