## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Dean of Infrastructure and Planning, IIT Kanpur
Name of Work: Various civil and maintenance works including replacement of drainage line, creation of CC Pavement, duct replacement, tank cleaning, creating parking space etc in Hall of Residences and other areas at IIT Kanpur.
Contract No:
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1.1 | EARTH WORK | [53 empty] | 1.1 | EARTH WORK
1.2 | Earth work in surface excavation not exceeding 30 cm in depth but exceeding 1.5 m in width as well as 10 sqm on plan including getting out and disposal of excavated earth upto 50 m and lift upto 1.5 m, as directed by Engineer-in- Charge: | [53 empty] | 1.2 | Earth work in surface excavation not exceeding 30 cm in depth but exceeding 1.5 m in width as well as 10 sqm on plan including getting out and disposal of excavated earth upto 50 m and lift upto 1.5 m, as directed by Engineer-in- Charge:
1.3 | All kinds of soil |  | 511 | sqm | 93.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 47942.02 | 47942.02 | INR Forty Seven Thousand Nine Hundred & Forty Two and Paise Two Only | 1.3 | All kinds of soil | 511 | sqm
1.4 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. | [53 empty] | 1.4 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m.
1.5 | All kinds of soil. |  | 2.5 | cum | 251.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 628.78 | 628.78 | INR Six Hundred & Twenty Eight and Paise Seventy Eight Only | 1.5 | All kinds of soil. | 2.5 | cum
1.6 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m : | [53 empty] | 1.6 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m :
1.7 | All kinds of soil | [53 empty] | 1.7 | All kinds of soil
1.8 | Pipes, cables etc. exceeding 80 mm dia. but not exceeding 300 mm dia |  | 87 | metre | 365.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 31836.78 | 31836.78 | INR Thirty One Thousand Eight Hundred & Thirty Six and Paise Seventy Eight Only | 1.8 | Pipes, cables etc. exceeding 80 mm dia. but not exceeding 300 mm dia | 87 | metre
1.9 | Surface dressing of the ground including removing vegetation and in- equalities not exceeding 15 cm deep and disposal of rubbish, lead up to 50 m and lift up to 1.5 m. | [53 empty] | 1.9 | Surface dressing of the ground including removing vegetation and in- equalities not exceeding 15 cm deep and disposal of rubbish, lead up to 50 m and lift up to 1.5 m.
2 | All kinds of soil |  | 197 | sqm | 24.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4861.96 | 4861.96 | INR Four Thousand Eight Hundred & Sixty One and Paise Ninety Six Only | 2 | All kinds of soil | 197 | sqm
2.1 | Extra for levelling & neatly dressing of disposed soil completely as directed by Engineer-in-charge. |  | 21 | cum | 67.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1412.25 | 1412.25 | INR One Thousand Four Hundred & Twelve and Paise Twenty Five Only | 2.1 | Extra for levelling & neatly dressing of disposed soil completely as directed by Engineer-in-charge. | 21 | cum
2.2 | CEMENT CONCRETE (CAST IN SITU) | [53 empty] | 2.2 | CEMENT CONCRETE (CAST IN SITU)
2.3 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | [53 empty] | 2.3 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :
2.4 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) |  | 3.72 | cum | 6457.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 24023.13 | 24023.13 | INR Twenty Four Thousand &Twenty Three and Paise Thirteen Only | 2.4 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 3.72 | cum
2.5 | 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) |  | 25 | cum | 5546.73 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 138668.25 | 138668.25 | INR One Lakh Thirty Eight Thousand Six Hundred & Sixty Eight and Paise Twenty Five Only | 2.5 | 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 25 | cum
2.6 | 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources : 10 graded stone aggregate 40 mm nominal size derived from natural sources) |  | 14.2 | cum | 5305.26 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 75334.69 | 75334.69 | INR Seventy Five Thousand Three Hundred & Thirty Four and Paise Sixty Nine Only | 2.6 | 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources : 10 graded stone aggregate 40 mm nominal size derived from natural sources) | 14.2 | cum
2.7 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. |  | 3.2 | sqm | 597.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1912.58 | 1912.58 | INR One Thousand Nine Hundred & Twelve and Paise Fifty Eight Only | 2.7 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | 3.2 | sqm
2.8 | REINFORCED CEMENT CONCRETE | [53 empty] | 2.8 | REINFORCED CEMENT CONCRETE
2.9 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement : | [53 empty] | 2.9 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement :
3 | 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natu- ral sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) |  | 0.37 | cum | 8930.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3304.23 | 3304.23 | INR Three Thousand Three Hundred & Four and Paise Twenty Three Only | 3 | 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natu- ral sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 0.37 | cum
3.1 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). |  | 0.2 | cum | 9398.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1879.75 | 1879.75 | INR One Thousand Eight Hundred & Seventy Nine and Paise Seventy Five Only | 3.1 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 0.2 | cum
3.2 | Centering and shuttering including strutting, propping etc. and removal of form for | [53 empty] | 3.2 | Centering and shuttering including strutting, propping etc. and removal of form for
3.3 | Shelves (Cast in situ) |  | 2.6 | sqm | 672.12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1747.51 | 1747.51 | INR One Thousand Seven Hundred & Forty Seven and Paise Fifty One Only | 3.3 | Shelves (Cast in situ) | 2.6 | sqm
3.4 | Columns, Pillars, Piers, Abutments, Posts and Struts |  | 3.07 | sqm | 705.17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2164.87 | 2164.87 | INR Two Thousand One Hundred & Sixty Four and Paise Eighty Seven Only | 3.4 | Columns, Pillars, Piers, Abutments, Posts and Struts | 3.07 | sqm
3.5 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. | [53 empty] | 3.5 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level.
3.6 | Thermo-Mechanically Treated bars of grade Fe-500D or more. |  | 36 | kg | 78.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2829.96 | 2829.96 | INR Two Thousand Eight Hundred & Twenty Nine and Paise Ninety Six Only | 3.6 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | 36 | kg
3.7 | MASONRY WORK | [53 empty] | 3.7 | MASONRY WORK
3.8 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: | [53 empty] | 3.8 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in:
3.9 | Cement mortar 1:6 (1 cement : 6 coarse sand) |  | 1.08 | cum | 5838.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6305.05 | 6305.05 | INR Six Thousand Three Hundred & Five and Paise Five Only | 3.9 | Cement mortar 1:6 (1 cement : 6 coarse sand) | 1.08 | cum
4 | Brick work with common burnt clay machine moulded perforated bricks of class designation 12.5 conforming to IS: 2222 in superstructure above plinth level up to floor five level in cement mortar 1:6 (1 cement : 6 coarse sand) : | [53 empty] | 4 | Brick work with common burnt clay machine moulded perforated bricks of class designation 12.5 conforming to IS: 2222 in superstructure above plinth level up to floor five level in cement mortar 1:6 (1 cement : 6 coarse sand) :
4.1 | With F.P.S.(non modular) bricks |  | 0.46 | cum | 7041.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3239 | 3239 | INR Three Thousand Two Hundred & Thirty Nine Only | 4.1 | With F.P.S.(non modular) bricks | 0.46 | cum
4.2 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundations and plinth in : | [53 empty] | 4.2 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundations and plinth in :
4.3 | cement mortar 1:4 (1 cement : 4 coarse sand) |  | 3 | sqm | 734.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2203.89 | 2203.89 | INR Two Thousand Two Hundred & Three and Paise Eighty Nine Only | 4.3 | cement mortar 1:4 (1 cement : 4 coarse sand) | 3 | sqm
4.4 | Brick work with common burnt clay modular bricks of class designation 7.5 in exposed brick work including making horizontal and vertical grooves 10mm wide 12 mm deep complete in cement mortar 1:6 (1 cement : 6 coarse sand). | [53 empty] | 4.4 | Brick work with common burnt clay modular bricks of class designation 7.5 in exposed brick work including making horizontal and vertical grooves 10mm wide 12 mm deep complete in cement mortar 1:6 (1 cement : 6 coarse sand).
4.5 | Above plinth level upto floor V level |  | 0.69 | cum | 6329.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4367.33 | 4367.33 | INR Four Thousand Three Hundred & Sixty Seven and Paise Thirty Three Only | 4.5 | Above plinth level upto floor V level | 0.69 | cum
4.6 | Brick edging 7cm wide 11.4 cm deep to plinth protection with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 including grouting with cement mortar 1:4 (1 cement : 4 fine sand). |  | 17.5 | metre | 48.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 856.28 | 856.28 | INR Eight Hundred & Fifty Six and Paise Twenty Eight Only | 4.6 | Brick edging 7cm wide 11.4 cm deep to plinth protection with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 including grouting with cement mortar 1:4 (1 cement : 4 fine sand). | 17.5 | metre
4.7 | CLADDING WORK | [53 empty] | 4.7 | CLADDING WORK
4.8 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. |  | 5.76 | sqm | 932.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5370.85 | 5370.85 | INR Five Thousand Three Hundred & Seventy and Paise Eighty Five Only | 4.8 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 5.76 | sqm
4.9 | STEEL WORK | [53 empty] | 4.9 | STEEL WORK
5 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. | [53 empty] | 5 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete.
5.1 | Hot finished welded type tubes |  | 60 | kg | 135.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8149.2 | 8149.2 | INR Eight Thousand One Hundred & Forty Nine and Paise Twenty Only | 5.1 | Hot finished welded type tubes | 60 | kg
5.2 | FLOORING | [53 empty] | 5.2 | FLOORING
5.3 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete. | [53 empty] | 5.3 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete.
5.4 | 40 mm thick with 20 mm nominal size stone aggregate |  | 3.25 | sqm | 477.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1553.05 | 1553.05 | INR One Thousand Five Hundred & Fifty Three and Paise Five Only | 5.4 | 40 mm thick with 20 mm nominal size stone aggregate | 3.25 | sqm
5.5 | Cement concrete pavement with 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), including finishing complete. |  | 15.45 | cum | 6978.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 107813.34 | 107813.34 | INR One Lakh Seven Thousand Eight Hundred & Thirteen and Paise Thirty Four Only | 5.5 | Cement concrete pavement with 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), including finishing complete. | 15.45 | cum
5.6 | Kota stone slabs 20 mm thick in risers of steps, skirting, dado and pillars laid on 12 mm (average) thick cement mortar 1:3 (1 cement: 3 coarse sand) and jointed with grey cement slurry mixed with pigment to match the shade of the slabs, including rubbing and polishing complete. |  | 1.7 | sqm | 1787.42 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3038.61 | 3038.61 | INR Three Thousand &Thirty Eight and Paise Sixty One Only | 5.6 | Kota stone slabs 20 mm thick in risers of steps, skirting, dado and pillars laid on 12 mm (average) thick cement mortar 1:3 (1 cement: 3 coarse sand) and jointed with grey cement slurry mixed with pigment to match the shade of the slabs, including rubbing and polishing complete. | 1.7 | sqm
5.7 | Providing and laying rectified Glazed Ceramic floor tiles of size 300x300 mm or more (thickness to be specified by the manufacturer), of 1st quality conforming to IS : 15622, of approved make, in colours White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement: 4 Coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. |  | 4 | sqm | 1002.02 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4008.08 | 4008.08 | INR Four Thousand &Eight and Paise Eight Only | 5.7 | Providing and laying rectified Glazed Ceramic floor tiles of size 300x300 mm or more (thickness to be specified by the manufacturer), of 1st quality conforming to IS : 15622, of approved make, in colours White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement: 4 Coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. | 4 | sqm
5.8 | FINISHING | [53 empty] | 5.8 | FINISHING
5.9 | 15 mm cement plaster on rough side of single or half brick wall of mix: | [53 empty] | 5.9 | 15 mm cement plaster on rough side of single or half brick wall of mix:
6 | 1:6 (1 cement: 6 coarse sand) |  | 40.84 | sqm | 297.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12142.96 | 12142.96 | INR Twelve Thousand One Hundred & Forty Two and Paise Ninety Six Only | 6 | 1:6 (1 cement: 6 coarse sand) | 40.84 | sqm
6.1 | 12 mm cement plaster finished with a floating coat of neat cement of mix : | [53 empty] | 6.1 | 12 mm cement plaster finished with a floating coat of neat cement of mix :
6.2 | 1:4 (1 cement: 4 fine sand) |  | 15 | sqm | 316.79 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4751.85 | 4751.85 | INR Four Thousand Seven Hundred & Fifty One and Paise Eighty Five Only | 6.2 | 1:4 (1 cement: 4 fine sand) | 15 | sqm
6.3 | 6 mm cement plaster of mix : | [53 empty] | 6.3 | 6 mm cement plaster of mix :
6.4 | 1:3 (1 cement : 3 fine sand) |  | 4 | sqm | 221.88 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 887.52 | 887.52 | INR Eight Hundred & Eighty Seven and Paise Fifty Two Only | 6.4 | 1:3 (1 cement : 3 fine sand) | 4 | sqm
6.5 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade: | [53 empty] | 6.5 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade:
6.6 | New work (Two or more coats applied @ 1.43 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) |  | 10 | sqm | 142.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1423.5 | 1423.5 | INR One Thousand Four Hundred & Twenty Three and Paise Fifty Only | 6.6 | New work (Two or more coats applied @ 1.43 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | 10 | sqm
6.7 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | [53 empty] | 6.7 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade :
6.8 | One or more coats on old work |  | 7 | sqm | 75.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 531.23 | 531.23 | INR Five Hundred & Thirty One and Paise Twenty Three Only | 6.8 | One or more coats on old work | 7 | sqm
6.9 | REPAIRS TO BUILDING | [53 empty] | 6.9 | REPAIRS TO BUILDING
7 | Fixing chowkhats in existing opening including embedding chowkhats in floors or walls cutting masonry for holdfasts, embedding hold fasts in cement concrete blocks of size 15 x 10 x 10 cm with cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size), painting two coats of approved wood preservative to sides of chowkhats and making good the damages to walls and floors as required complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | [53 empty] | 7 | Fixing chowkhats in existing opening including embedding chowkhats in floors or walls cutting masonry for holdfasts, embedding hold fasts in cement concrete blocks of size 15 x 10 x 10 cm with cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size), painting two coats of approved wood preservative to sides of chowkhats and making good the damages to walls and floors as required complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge.
7.1 | Door chowkhats |  | 2 | each | 1319.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2639.72 | 2639.72 | INR Two Thousand Six Hundred & Thirty Nine and Paise Seventy Two Only | 7.1 | Door chowkhats | 2 | each
7.2 | Dismantling W.C. Pan of all sizes including disposal of dismantled materials i/c malba all complete as per directions of Engineer-in-Charge. |  | 2 | each | 97.06 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 194.12 | 194.12 | INR One Hundred & Ninety Four and Paise Twelve Only | 7.2 | Dismantling W.C. Pan of all sizes including disposal of dismantled materials i/c malba all complete as per directions of Engineer-in-Charge. | 2 | each
7.3 | Dismantling 15 to 40 mm dia G.I. pipe including stacking of dismantled pipes (within 50 metres lead) as per direction of Engineer- in-Charge.(a) Internal Work- Exposed on wall |  | 212.8 | metre | 2.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 532 | 532 | INR Five Hundred & Thirty Two Only | 7.3 | Dismantling 15 to 40 mm dia G.I. pipe including stacking of dismantled pipes (within 50 metres lead) as per direction of Engineer- in-Charge.(a) Internal Work- Exposed on wall | 212.8 | metre
7.4 | Cleaning of under ground sump, Over Head R.C.C. Tank ( independent staging) including disposal of slit and rubbish, all as per direction of Engineer-in-Charge. The cleaning shall consist following operations:- (i) Tank shall be emptied of water by pumping & bottom shall be cleaned of silt and other deposits. (ii) Entire surface area of the sump shall then scrubbed thoroughly with wire brush etc. and pressure washed with water. (iii) Chlorination of RCC internal surface by liquid chlorine. (iv) The treated surface shall be dried using air jetting and all loose particles shall be removal from the surface. (v) Finally the surface shall be treated with ultraviolet radiation etc. as per direction of Engineer-in-Charge. |  | 2091 | sqm | 62.52 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 130729.32 | 130729.32 | INR One Lakh Thirty Thousand Seven Hundred & Twenty Nine and Paise Thirty Two Only | 7.4 | Cleaning of under ground sump, Over Head R.C.C. Tank ( independent staging) including disposal of slit and rubbish, all as per direction of Engineer-in-Charge. The cleaning shall consist following operations:- (i) Tank shall be emptied of water by pumping & bottom shall be cleaned of silt and other deposits. (ii) Entire surface area of the sump shall then scrubbed thoroughly with wire brush etc. and pressure washed with water. (iii) Chlorination of RCC internal surface by liquid chlorine. (iv) The treated surface shall be dried using air jetting and all loose particles shall be removal from the surface. (v) Finally the surface shall be treated with ultraviolet radiation etc. as per direction of Engineer-in-Charge. | 2091 | sqm
7.5 | Dismantling and Demolishing | [53 empty] | 7.5 | Dismantling and Demolishing
7.6 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | [53 empty] | 7.6 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge.
7.7 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) |  | 3.73 | cum | 1759.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6564.2 | 6564.2 | INR Six Thousand Five Hundred & Sixty Four and Paise Twenty Only | 7.7 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 3.73 | cum
7.8 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. |  | 0.15 | cum | 2567.38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 385.11 | 385.11 | INR Three Hundred & Eighty Five and Paise Eleven Only | 7.8 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 0.15 | cum
7.9 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | [53 empty] | 7.9 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge.
8 | In cement mortar |  | 1.53 | cum | 1489.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2278.51 | 2278.51 | INR Two Thousand Two Hundred & Seventy Eight and Paise Fifty One Only | 8 | In cement mortar | 1.53 | cum
8.1 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : | [53 empty] | 8.1 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead :
8.2 | Of area beyond 3 sq. metres |  | 2 | each | 363.48 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 726.96 | 726.96 | INR Seven Hundred & Twenty Six and Paise Ninety Six Only | 8.2 | Of area beyond 3 sq. metres | 2 | each
8.3 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. | [53 empty] | 8.3 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead.
8.4 | For thickness of tiles 10 mm to 25 mm |  | 8 | sqm | 53.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 424.4 | 424.4 | INR Four Hundred & Twenty Four and Paise Forty Only | 8.4 | For thickness of tiles 10 mm to 25 mm | 8 | sqm
8.5 | Dismantling C.I. or asbestos rain water pipe with fittings and clamps including stacking the material within 50 metres lead : | [53 empty] | 8.5 | Dismantling C.I. or asbestos rain water pipe with fittings and clamps including stacking the material within 50 metres lead :
8.6 | 100 mm dia pipe |  | 98.6 | metre | 56.38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5559.07 | 5559.07 | INR Five Thousand Five Hundred & Fifty Nine and Paise Seven Only | 8.6 | 100 mm dia pipe | 98.6 | metre
8.7 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. |  | 15.52 | cum | 192.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2984.96 | 2984.96 | INR Two Thousand Nine Hundred & Eighty Four and Paise Ninety Six Only | 8.7 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 15.52 | cum
8.8 | ROAD WORK | [53 empty] | 8.8 | ROAD WORK
8.9 | Providing and laying 60mm thick faciory made cement concreteinterlocking paver block of M -30 grade made by block makingmachine with strong vibratory compaction, of approved size, design& shape, laid in required colour and pattern over and including 50mmthick compacted bed of coarse sand, filling the joints with line sandetc. all complete as per the direction of Engineer-in-charge. |  | 461 | sqm | 833.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 384400.24 | 384400.24 | INR Three Lakh Eighty Four Thousand Four Hundred and Paise Twenty Four Only | 8.9 | Providing and laying 60mm thick faciory made cement concreteinterlocking paver block of M -30 grade made by block makingmachine with strong vibratory compaction, of approved size, design& shape, laid in required colour and pattern over and including 50mmthick compacted bed of coarse sand, filling the joints with line sandetc. all complete as per the direction of Engineer-in-charge. | 461 | sqm
9 | Providing and laying at or near ground level factory made kerb stoneof M-25 grade cement concrete in position to the required line, leveland curvature, jointed with cement mortar 1:3 (1 cement: 3 coarsesand), including making joints with or without grooves (thickness ofjoints except at sharp curve shall not to more than 5mm), includingmaking drainage opening wherever required complete etc. as perdirection of Engineer-in-charge (length of finished kerb edging shallbe measured for payment). (Precast C.C. kerb stone shall be approvedby Engineer-in-charge). |  | 6 | cum | 7552.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 45314.58 | 45314.58 | INR Forty Five Thousand Three Hundred & Fourteen and Paise Fifty Eight Only | 9 | Providing and laying at or near ground level factory made kerb stoneof M-25 grade cement concrete in position to the required line, leveland curvature, jointed with cement mortar 1:3 (1 cement: 3 coarsesand), including making joints with or without grooves (thickness ofjoints except at sharp curve shall not to more than 5mm), includingmaking drainage opening wherever required complete etc. as perdirection of Engineer-in-charge (length of finished kerb edging shallbe measured for payment). (Precast C.C. kerb stone shall be approvedby Engineer-in-charge). | 6 | cum
9.1 | SANITARY INSTALLATIONS | [53 empty] | 9.1 | SANITARY INSTALLATIONS
9.2 | Providing and fixing white vitreous china pedestal type (Europeantype/ wash down type) water closet pan. |  | 2 | each | 2107.54 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4215.08 | 4215.08 | INR Four Thousand Two Hundred & Fifteen and Paise Eight Only | 9.2 | Providing and fixing white vitreous china pedestal type (Europeantype/ wash down type) water closet pan. | 2 | each
9.3 | Providing and fixing solid plastic seat with lid for pedestal type W.C.pan complete : | [53 empty] | 9.3 | Providing and fixing solid plastic seat with lid for pedestal type W.C.pan complete :
9.4 | White solid plastic seat with lid |  | 2 | each | 514.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1028.58 | 1028.58 | INR One Thousand &Twenty Eight and Paise Fifty Eight Only | 9.4 | White solid plastic seat with lid | 2 | each
9.5 | Providing and fixing G.I. inlet connection for flush pipe connectingwith W.C. pan. |  | 2 | each | 115.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 230.86 | 230.86 | INR Two Hundred & Thirty and Paise Eighty Six Only | 9.5 | Providing and fixing G.I. inlet connection for flush pipe connectingwith W.C. pan. | 2 | each
9.6 | Providing and fixing soil, waste and vent pipes : | [53 empty] | 9.6 | Providing and fixing soil, waste and vent pipes :
9.7 | 100 mm dia | [53 empty] | 9.7 | 100 mm dia
9.8 | Centrifugally cast (spun) iron socket &spigot (S&S) pipe as per IS: 3989 |  | 145.5 | metre | 944.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 137449.49 | 137449.49 | INR One Lakh Thirty Seven Thousand Four Hundred & Forty Nine and Paise Forty Nine Only | 9.8 | Centrifugally cast (spun) iron socket &spigot (S&S) pipe as per IS: 3989 | 145.5 | metre
9.9 | 75 mm diameter : | [53 empty] | 9.9 | 75 mm diameter :
10 | Centrifugally cast (spun) iron socketed pipeas per IS: 3989 |  | 2.4 | metre | 913.72 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2192.93 | 2192.93 | INR Two Thousand One Hundred & Ninety Two and Paise Ninety Three Only | 10 | Centrifugally cast (spun) iron socketed pipeas per IS: 3989 | 2.4 | metre
10.1 | Providing and fixing M.S. holder-bat clamps of approved design toSand Cast iron/cast iron (spun) pipe embedded in and includingcement concrete blocks 10x10x10 cm of 1:2:4 mix (1 cement : 2coarse sand : 4 graded stone aggregate 20 mm nominal size),including cost of cutting holes and making good the walls etc. : | [53 empty] | 10.1 | Providing and fixing M.S. holder-bat clamps of approved design toSand Cast iron/cast iron (spun) pipe embedded in and includingcement concrete blocks 10x10x10 cm of 1:2:4 mix (1 cement : 2coarse sand : 4 graded stone aggregate 20 mm nominal size),including cost of cutting holes and making good the walls etc. :
10.2 | For 100 mm dia pipe |  | 55 | each | 270.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14874.75 | 14874.75 | INR Fourteen Thousand Eight Hundred & Seventy Four and Paise Seventy Five Only | 10.2 | For 100 mm dia pipe | 55 | each
10.3 | Providing and fixing bend of required degree with access door, insertionrubber washer 3 mm thick, bolts and nuts complete. | [53 empty] | 10.3 | Providing and fixing bend of required degree with access door, insertionrubber washer 3 mm thick, bolts and nuts complete.
10.4 | 100 mm dia | [53 empty] | 10.4 | 100 mm dia
10.5 | Sand cast iron S&S as per IS - 3989 |  | 9 | each | 523.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4715.82 | 4715.82 | INR Four Thousand Seven Hundred & Fifteen and Paise Eighty Two Only | 10.5 | Sand cast iron S&S as per IS - 3989 | 9 | each
10.6 | Providing and fixing plain bend of required degree. | [53 empty] | 10.6 | Providing and fixing plain bend of required degree.
10.7 | 100 mm dia | [53 empty] | 10.7 | 100 mm dia
10.8 | Sand cast iron S&S as per IS : 3989 |  | 11 | each | 385.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4241.38 | 4241.38 | INR Four Thousand Two Hundred & Forty One and Paise Thirty Eight Only | 10.8 | Sand cast iron S&S as per IS : 3989 | 11 | each
10.9 | Providing and fixing single equal plain junction of required degreewith access door, insertion rubber washer 3 mm thick, bolts andnuts complete. | [53 empty] | 10.9 | Providing and fixing single equal plain junction of required degreewith access door, insertion rubber washer 3 mm thick, bolts andnuts complete.
11 | 100x100x100 mm | [53 empty] | 11 | 100x100x100 mm
11.1 | Sand cast iron S&S as per IS - 3989 |  | 18 | each | 641.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11543.4 | 11543.4 | INR Eleven Thousand Five Hundred & Forty Three and Paise Forty Only | 11.1 | Sand cast iron S&S as per IS - 3989 | 18 | each
11.2 | Providing and fixing single equal plain junction of required degree : | [53 empty] | 11.2 | Providing and fixing single equal plain junction of required degree :
11.3 | 100x100x100 mm | [53 empty] | 11.3 | 100x100x100 mm
11.4 | Sand cast iron S&S as per IS - 3989 |  | 6 | each | 620.17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3721.02 | 3721.02 | INR Three Thousand Seven Hundred & Twenty One and Paise Two Only | 11.4 | Sand cast iron S&S as per IS - 3989 | 6 | each
11.5 | Providing and fixing terminal guard : | [53 empty] | 11.5 | Providing and fixing terminal guard :
11.6 | 100 mm | [53 empty] | 11.6 | 100 mm
11.7 | Sand cast iron S&S as per IS - 3989 |  | 10 | each | 385.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3855.8 | 3855.8 | INR Three Thousand Eight Hundred & Fifty Five and Paise Eighty Only | 11.7 | Sand cast iron S&S as per IS - 3989 | 10 | each
11.8 | Providing and fixing collar : | [53 empty] | 11.8 | Providing and fixing collar :
11.9 | 100 mm | [53 empty] | 11.9 | 100 mm
12 | Sand cast iron S&S as per IS - 3989 |  | 30 | each | 385.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11567.4 | 11567.4 | INR Eleven Thousand Five Hundred & Sixty Seven and Paise Forty Only | 12 | Sand cast iron S&S as per IS - 3989 | 30 | each
12.1 | 75 mm | [53 empty] | 12.1 | 75 mm
12.2 | Sand cast iron S&S as per IS - 3989 |  | 3.1 | each | 238.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 737.83 | 737.83 | INR Seven Hundred & Thirty Seven and Paise Eighty Three Only | 12.2 | Sand cast iron S&S as per IS - 3989 | 3.1 | each
12.3 | Providing lead caulked joints to sand cast iron/centrifugally cast(spun) iron pipes and fittings of diameter : | [53 empty] | 12.3 | Providing lead caulked joints to sand cast iron/centrifugally cast(spun) iron pipes and fittings of diameter :
12.4 | 100 mm |  | 159 | each | 481.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 76628.46 | 76628.46 | INR Seventy Six Thousand Six Hundred & Twenty Eight and Paise Forty Six Only | 12.4 | 100 mm | 159 | each
12.5 | 75 mm |  | 4 | each | 408.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1635.76 | 1635.76 | INR One Thousand Six Hundred & Thirty Five and Paise Seventy Six Only | 12.5 | 75 mm | 4 | each
12.6 | Providing and fixing trap of self cleansing design with screwed downor hinged grating with or without vent arm complete, including cost ofcutting and making good the walls and floors : | [53 empty] | 12.6 | Providing and fixing trap of self cleansing design with screwed downor hinged grating with or without vent arm complete, including cost ofcutting and making good the walls and floors :
12.7 | 100 mm inlet and 75 mm outlet | [53 empty] | 12.7 | 100 mm inlet and 75 mm outlet
12.8 | Sand cast iron S&S as per IS - 3989 |  | 2 | each | 1465.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2930.3 | 2930.3 | INR Two Thousand Nine Hundred & Thirty and Paise Thirty Only | 12.8 | Sand cast iron S&S as per IS - 3989 | 2 | each
12.9 | Cutting chases in brick masonry walls for following diameter sandcast iron/centrifugally cast (spun) iron pipes and making good thesame with cement concrete 1:3:6 ( 1 cement : 3 coarse sand :6graded stone aggregate 12.5 mm nominal size), including necessaryplaster and pointing in cement mortar 1:4 (1 cement : 4 coarsesand) : | [53 empty] | 12.9 | Cutting chases in brick masonry walls for following diameter sandcast iron/centrifugally cast (spun) iron pipes and making good thesame with cement concrete 1:3:6 ( 1 cement : 3 coarse sand :6graded stone aggregate 12.5 mm nominal size), including necessaryplaster and pointing in cement mortar 1:4 (1 cement : 4 coarsesand) :
13 | 50 mm dia |  | 2 | metre | 252.08 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 504.16 | 504.16 | INR Five Hundred & Four and Paise Sixteen Only | 13 | 50 mm dia | 2 | metre
13.1 | WATER SUPPLY | [53 empty] | 13.1 | WATER SUPPLY
13.2 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall | [53 empty] | 13.2 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall
13.3 | 20 mm dia nominal bore |  | 33.7 | metre | 327.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11032.03 | 11032.03 | INR Eleven Thousand &Thirty Two and Paise Three Only | 13.3 | 20 mm dia nominal bore | 33.7 | metre
13.4 | 25 mm dia nominal bore |  | 82 | metre | 430.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 35316.58 | 35316.58 | INR Thirty Five Thousand Three Hundred & Sixteen and Paise Fifty Eight Only | 13.4 | 25 mm dia nominal bore | 82 | metre
13.5 | 32 mm dia nominal bore |  | 58.1 | metre | 494.17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 28711.28 | 28711.28 | INR Twenty Eight Thousand Seven Hundred & Eleven and Paise Twenty Eight Only | 13.5 | 32 mm dia nominal bore | 58.1 | metre
13.6 | 40 mm dia nominal bore |  | 40 | metre | 635.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 25432.8 | 25432.8 | INR Twenty Five Thousand Four Hundred & Thirty Two and Paise Eighty Only | 13.6 | 40 mm dia nominal bore | 40 | metre
13.7 | Providing and fixing G.I. Pipes complete with G.I. fittings and clamps, i/c making good the walls etc. concealed pipe, including painting with anti corrosive bitumastic paint, cutting chases and making good the wall : | [53 empty] | 13.7 | Providing and fixing G.I. Pipes complete with G.I. fittings and clamps, i/c making good the walls etc. concealed pipe, including painting with anti corrosive bitumastic paint, cutting chases and making good the wall :
13.8 | 15 mm dia nominal bore |  | 4.6 | metre | 425.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1956.98 | 1956.98 | INR One Thousand Nine Hundred & Fifty Six and Paise Ninety Eight Only | 13.8 | 15 mm dia nominal bore | 4.6 | metre
13.9 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. External work | [53 empty] | 13.9 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. External work
14 | 20 mm dia nominal bore |  | 95 | metre | 276.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 26267.5 | 26267.5 | INR Twenty Six Thousand Two Hundred & Sixty Seven and Paise Fifty Only | 14 | 20 mm dia nominal bore | 95 | metre
14.1 | 25 mm dia nominal bore |  | 13.4 | metre | 366.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4910.56 | 4910.56 | INR Four Thousand Nine Hundred & Ten and Paise Fifty Six Only | 14.1 | 25 mm dia nominal bore | 13.4 | metre
14.2 | 32 mm dia nominal bore |  | 28.8 | metre | 401.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11558.02 | 11558.02 | INR Eleven Thousand Five Hundred & Fifty Eight and Paise Two Only | 14.2 | 32 mm dia nominal bore | 28.8 | metre
14.3 | 40 mm dia nominal bore |  | 8 | metre | 489.57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3916.56 | 3916.56 | INR Three Thousand Nine Hundred & Sixteen and Paise Fifty Six Only | 14.3 | 40 mm dia nominal bore | 8 | metre
14.4 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete : | [53 empty] | 14.4 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete :
14.5 | 25 to 40 mm nominal bore |  | 7 | each | 663.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4646.81 | 4646.81 | INR Four Thousand Six Hundred & Forty Six and Paise Eighty One Only | 14.5 | 25 to 40 mm nominal bore | 7 | each
14.6 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : | [53 empty] | 14.6 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) :
14.7 | 25 mm nominal bore |  | 5 | each | 466.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2333.85 | 2333.85 | INR Two Thousand Three Hundred & Thirty Three and Paise Eighty Five Only | 14.7 | 25 mm nominal bore | 5 | each
14.8 | 20 mm nominal bore |  | 20 | each | 404.87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8097.4 | 8097.4 | INR Eight Thousand &Ninety Seven and Paise Forty Only | 14.8 | 20 mm nominal bore | 20 | each
14.9 | 32 mm nominal bore. |  | 8 | each | 517.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4137.84 | 4137.84 | INR Four Thousand One Hundred & Thirty Seven and Paise Eighty Four Only | 14.9 | 32 mm nominal bore. | 8 | each
15 | 40 mm nominal bore |  | 4 | each | 620.17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2480.68 | 2480.68 | INR Two Thousand Four Hundred & Eighty and Paise Sixty Eight Only | 15 | 40 mm nominal bore | 4 | each
15.1 | Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete : | [53 empty] | 15.1 | Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete :
15.2 | 25 mm nominal bore |  | 2 | each | 349.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 699.96 | 699.96 | INR Six Hundred & Ninety Nine and Paise Ninety Six Only | 15.2 | 25 mm nominal bore | 2 | each
15.3 | Constructing masonry Chamber 30x30x50 cm inside, in brick work in cement mortar 1:4 (1 cement :4 coarse sand) for stop cock, with C. I. surface box 100x100 x75 mm (inside) with hinged cover fixed in cement concrete slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), i/c necessary excavation, foundation concrete 1:5:10 ( 1 cement : 5 fine sand : 10 graded stone aggregate 40mm nominal size ) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12mm thick, finished with a floating coat of neat cement complete as per standard design : | [53 empty] | 15.3 | Constructing masonry Chamber 30x30x50 cm inside, in brick work in cement mortar 1:4 (1 cement :4 coarse sand) for stop cock, with C. I. surface box 100x100 x75 mm (inside) with hinged cover fixed in cement concrete slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), i/c necessary excavation, foundation concrete 1:5:10 ( 1 cement : 5 fine sand : 10 graded stone aggregate 40mm nominal size ) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12mm thick, finished with a floating coat of neat cement complete as per standard design :
15.4 | With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 |  | 5 | each | 1501.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7506.15 | 7506.15 | INR Seven Thousand Five Hundred & Six and Paise Fifteen Only | 15.4 | With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 | 5 | each
15.5 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : | [53 empty] | 15.5 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) :
15.6 | 20 mm nominal bore |  | 26 | each | 253.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6589.44 | 6589.44 | INR Six Thousand Five Hundred & Eighty Nine and Paise Forty Four Only | 15.6 | 20 mm nominal bore | 26 | each
15.7 | 25 mm nominal bore |  | 9 | each | 323.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2914.65 | 2914.65 | INR Two Thousand Nine Hundred & Fourteen and Paise Sixty Five Only | 15.7 | 25 mm nominal bore | 9 | each
15.8 | 32 mm nominal bore |  | 10 | each | 359.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3590.1 | 3590.1 | INR Three Thousand Five Hundred & Ninety and Paise Ten Only | 15.8 | 32 mm nominal bore | 10 | each
15.9 | 40 mm nominal bore |  | 6 | each | 458.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2752.5 | 2752.5 | INR Two Thousand Seven Hundred & Fifty Two and Paise Fifty Only | 15.9 | 40 mm nominal bore | 6 | each
16 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : | [53 empty] | 16 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 :
16.1 | 15 mm nominal bore |  | 2 | each | 380.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 761.42 | 761.42 | INR Seven Hundred & Sixty One and Paise Forty Two Only | 16.1 | 15 mm nominal bore | 2 | each
16.2 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 | [53 empty] | 16.2 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931
16.3 | 15mm nominal bore |  | 2 | each | 438.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 877.42 | 877.42 | INR Eight Hundred & Seventy Seven and Paise Forty Two Only | 16.3 | 15mm nominal bore | 2 | each
16.4 | Providing and fixing C.P. Brass extension nipple (size 15mmx50mm) of approved make and quality as per direction of Engineer-in-charge. |  | 4 | each | 54.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 216.4 | 216.4 | INR Two Hundred & Sixteen and Paise Forty Only | 16.4 | Providing and fixing C.P. Brass extension nipple (size 15mmx50mm) of approved make and quality as per direction of Engineer-in-charge. | 4 | each
16.5 | Providing and fixing PTMT bib cock of approved quality and colour. | [53 empty] | 16.5 | Providing and fixing PTMT bib cock of approved quality and colour.
16.6 | 15mm nominal bore, 86 mm long, weighing not less than 88 gms |  | 2 | each | 96.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 192.64 | 192.64 | INR One Hundred & Ninety Two and Paise Sixty Four Only | 16.6 | 15mm nominal bore, 86 mm long, weighing not less than 88 gms | 2 | each
16.7 | Cutting holes up to 30x30 cm in walls including making good the same: | [53 empty] | 16.7 | Cutting holes up to 30x30 cm in walls including making good the same:
16.8 | With common burnt clay F.P.S. (non modular) bricks |  | 25.8 | each | 317.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8198.21 | 8198.21 | INR Eight Thousand One Hundred & Ninety Eight and Paise Twenty One Only | 16.8 | With common burnt clay F.P.S. (non modular) bricks | 25.8 | each
16.9 | Making hole up to 20x20 cm and embedding pipes up to 150 mm diameter in masonry and filling with cement concrete 1:3:6 (1 cement : 3 coarse sand: 6 graded stone aggregate 20 mm nominal size) including disposal of malba. |  | 4 | metre | 173.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 695.84 | 695.84 | INR Six Hundred & Ninety Five and Paise Eighty Four Only | 16.9 | Making hole up to 20x20 cm and embedding pipes up to 150 mm diameter in masonry and filling with cement concrete 1:3:6 (1 cement : 3 coarse sand: 6 graded stone aggregate 20 mm nominal size) including disposal of malba. | 4 | metre
17 | DRAINAGE | [53 empty] | 17 | DRAINAGE
17.1 | Providing, laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete : | [53 empty] | 17.1 | Providing, laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete :
17.2 | 100 mm diameter |  | 50 | metre | 329.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 16473 | 16473 | INR Sixteen Thousand Four Hundred & Seventy Three Only | 17.2 | 100 mm diameter | 50 | metre
17.3 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all-round S.W. pipes including bed concrete as per standard design : | [53 empty] | 17.3 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all-round S.W. pipes including bed concrete as per standard design :
17.4 | 100 mm diameter S.W. pipe |  | 50 | metre | 785.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 39259 | 39259 | INR Thirty Nine Thousand Two Hundred & Fifty Nine Only | 17.4 | 100 mm diameter S.W. pipe | 50 | metre
17.5 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design: | [53 empty] | 17.5 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design:
17.6 | 100x100 mm size P type | [53 empty] | 17.6 | 100x100 mm size P type
17.7 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 |  | 1 | each | 2151.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2151.29 | 2151.29 | INR Two Thousand One Hundred & Fifty One and Paise Twenty Nine Only | 17.7 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 1 | each
17.8 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete : | [53 empty] | 17.8 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete :
17.9 | 150 mm dia. R.C.C. pipe |  | 37 | metre | 432.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15996.95 | 15996.95 | INR Fifteen Thousand Nine Hundred & Ninety Six and Paise Ninety Five Only | 17.9 | 150 mm dia. R.C.C. pipe | 37 | metre
18 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:1.5:3 mix (1 cement : 1.5 coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design : | [53 empty] | 18 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:1.5:3 mix (1 cement : 1.5 coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design :
18.1 | Inside size 90x80 cm and 45 cm deep including C.I. cover with frame (light duty) 455x610 mm internal dimensions, total weight of cover and frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg) : | [53 empty] | 18.1 | Inside size 90x80 cm and 45 cm deep including C.I. cover with frame (light duty) 455x610 mm internal dimensions, total weight of cover and frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg) :
18.2 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 |  | 1 | each | 10247.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10247.35 | 10247.35 | INR Ten Thousand Two Hundred & Forty Seven and Paise Thirty Five Only | 18.2 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 1 | each
18.3 | Replacement of M.S. foot rests in manholes including dismantling concrete blocks and fixing with 20x20x10 cm cement concrete blocks 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size): | [53 empty] | 18.3 | Replacement of M.S. foot rests in manholes including dismantling concrete blocks and fixing with 20x20x10 cm cement concrete blocks 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size):
18.4 | With 20x20 mm square bar |  | 80 | each | 495.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 39604 | 39604 | INR Thirty Nine Thousand Six Hundred & Four Only | 18.4 | With 20x20 mm square bar | 80 | each
18.5 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete : | [53 empty] | 18.5 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete :
18.6 | For pipes 100 to 250 mm diameter |  | 3 | each | 599.47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1798.41 | 1798.41 | INR One Thousand Seven Hundred & Ninety Eight and Paise Forty One Only | 18.6 | For pipes 100 to 250 mm diameter | 3 | each
18.7 | Raising manhole cover and frame slab to required level including dismantling existing slab and making good the damage as required (Raising depth of manhole to be paid separately) : | [53 empty] | 18.7 | Raising manhole cover and frame slab to required level including dismantling existing slab and making good the damage as required (Raising depth of manhole to be paid separately) :
18.8 | Rectangular manhole 90x80 cm with rectangular cover 600 x 450 mm of grade LD - 2.5 |  | 3 | each | 2388.12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7164.36 | 7164.36 | INR Seven Thousand One Hundred & Sixty Four and Paise Thirty Six Only | 18.8 | Rectangular manhole 90x80 cm with rectangular cover 600 x 450 mm of grade LD - 2.5 | 3 | each
18.9 | Constructing brick masonry road gully chamber 50x45x60 cm with bricks in cement mortar 1:4 (1 cement : 4 coarse sand) including 500x450 mm pre-cast R.C.C. horizontal grating with frame complete as per standard design : | [53 empty] | 18.9 | Constructing brick masonry road gully chamber 50x45x60 cm with bricks in cement mortar 1:4 (1 cement : 4 coarse sand) including 500x450 mm pre-cast R.C.C. horizontal grating with frame complete as per standard design :
19 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 |  | 6 | each | 4900.88 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 29405.28 | 29405.28 | INR Twenty Nine Thousand Four Hundred & Five and Paise Twenty Eight Only | 19 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 6 | each
19.1 | Extra for depth beyond 45 cm of brick masonry chamber : | [53 empty] | 19.1 | Extra for depth beyond 45 cm of brick masonry chamber :
19.2 | For 455x610 mm size | [53 empty] | 19.2 | For 455x610 mm size
19.3 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 |  | 0.55 | metre | 4945.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2720.22 | 2720.22 | INR Two Thousand Seven Hundred & Twenty and Paise Twenty Two Only | 19.3 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 0.55 | metre
19.4 | WATER PROOFING | [53 empty] | 19.4 | WATER PROOFING
19.5 | Providing and laying water proofing treatment in sunken portion of WCs, bathroom etc., by applying cement slurry mixed with water proofing cement compound consisting of applying : (a) First layer of slurry of cement @ 0.488 kg/sqm mixed with water proofing cement compound @ 0.253 kg/ sqm. This layer will be allowed to air cure for 4 hours. (b) Second layer of slurry of cement @ 0.242 kg/sqm mixed with water proofing cement compound @ 0.126 kg/sqm. This layer will be allowed to air cure for 4 hours followed with water curing for 48 hours. The rate includes preparation of surface, treatment and sealing of all joints, corners, junctions of pipes and masonry with polymer mixed slurry. |  | 8 | sqm | 452.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3623.68 | 3623.68 | INR Three Thousand Six Hundred & Twenty Three and Paise Sixty Eight Only | 19.5 | Providing and laying water proofing treatment in sunken portion of WCs, bathroom etc., by applying cement slurry mixed with water proofing cement compound consisting of applying : (a) First layer of slurry of cement @ 0.488 kg/sqm mixed with water proofing cement compound @ 0.253 kg/ sqm. This layer will be allowed to air cure for 4 hours. (b) Second layer of slurry of cement @ 0.242 kg/sqm mixed with water proofing cement compound @ 0.126 kg/sqm. This layer will be allowed to air cure for 4 hours followed with water curing for 48 hours. The rate includes preparation of surface, treatment and sealing of all joints, corners, junctions of pipes and masonry with polymer mixed slurry. | 8 | sqm
19.6 | MINOR CIVIL MAINTENANCE WORK. | [53 empty] | 19.6 | MINOR CIVIL MAINTENANCE WORK.
19.7 | Providing and laying cement concrete of specified grade i/c the cost of centring and shuttering, All work upto plinth level. (1 cement :5 coarse sand : 10 graded brick aggregate 40 mm nominal size). |  | 5.9 | Cum | 4985.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 29416.99 | 29416.99 | INR Twenty Nine Thousand Four Hundred & Sixteen and Paise Ninety Nine Only | 19.7 | Providing and laying cement concrete of specified grade i/c the cost of centring and shuttering, All work upto plinth level. (1 cement :5 coarse sand : 10 graded brick aggregate 40 mm nominal size). | 5.9 | Cum
19.8 | P/F C.P. grating with or without hole for waste pipe for floor/ nahani trap 100 mm dia. weight not less than 100 grams. |  | 4 | Each | 51.62 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 206.48 | 206.48 | INR Two Hundred & Six and Paise Forty Eight Only | 19.8 | P/F C.P. grating with or without hole for waste pipe for floor/ nahani trap 100 mm dia. weight not less than 100 grams. | 4 | Each
19.9 | P/F C.P Brass flange. ( Heavy type ) |  | 6 | Each | 29.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 175.98 | 175.98 | INR One Hundred & Seventy Five and Paise Ninety Eight Only | 19.9 | P/F C.P Brass flange. ( Heavy type ) | 6 | Each
20 | Dismantling of C.I pipe with fittings and clamps i/c disposal of unserviceable material up to 50 mtr. lead and upto 150 mm dia. pipe. |  | 49 | Mtr | 8.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 429.73 | 429.73 | INR Four Hundred & Twenty Nine and Paise Seventy Three Only | 20 | Dismantling of C.I pipe with fittings and clamps i/c disposal of unserviceable material up to 50 mtr. lead and upto 150 mm dia. pipe. | 49 | Mtr
20.1 | Providing and fixing c.p. hand spray ( health faucet ) with push button control and fleexible hose connection with c.p. hook complete in all respects. |  | 2 | Each | 1730.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3460.7 | 3460.7 | INR Three Thousand Four Hundred & Sixty and Paise Seventy Only | 20.1 | Providing and fixing c.p. hand spray ( health faucet ) with push button control and fleexible hose connection with c.p. hook complete in all respects. | 2 | Each
20.2 | Providing and fixing c.p. brassMetro pole flush valve concealed body of (Jaguar make) code no1093 SQ 40 mm nominal bor |  | 2 | Each | 3871.28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7742.56 | 7742.56 | INR Seven Thousand Seven Hundred & Forty Two and Paise Fifty Six Only | 20.2 | Providing and fixing c.p. brassMetro pole flush valve concealed body of (Jaguar make) code no1093 SQ 40 mm nominal bor | 2 | Each
Total in Figures | [51 empty] | 1785664 | 1785664.31 | INR Seventeen Lakh Eighty Five Thousand Six Hundred & Sixty Four and Paise Thirty One Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K48: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K53: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K56: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K57: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K58: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K59: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K38: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K62: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K64: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K66: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K68: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K70: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K73: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K74: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K75: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K79: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K80: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K82: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K84: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K86: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K88: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K89: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K91: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K92: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K94: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K96: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K97: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K100: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K102: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K104: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K107: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K110: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K113: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K116: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K119: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K122: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K124: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K126: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K127: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K130: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K132: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K135: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K136: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K137: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K138: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K140: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K142: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K143: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K144: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K145: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K147: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K149: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K150: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K151: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K152: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K154: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K156: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K158: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K159: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K160: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K161: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K163: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K165: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K166: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K168: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K170: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K171: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K174: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K176: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K179: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K181: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K184: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K186: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K188: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K190: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K192: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K195: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K197: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K199: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K200: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K201: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K202: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K203: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K204: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K76: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information