## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: DOIP, IIT Kanpur
Name of Work: Automation of water supply of UG tanks and miscellaneous civil renovation works in various academic buildings and Karmchari Sangathan office at IIT Kanpur
NIT No: Civil/18/01/2024-1
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | EARTH WORK | item no.1 | [52 empty] | 1 | EARTH WORK | item no.1
2 | Surface dressing of the ground including removing vegetation and in-equalities not exceeding 15 cm deep and disposal of rubbish, lead up to 50 m and lift up to 1.5 m. | item no.2 | [52 empty] | 2 | Surface dressing of the ground including removing vegetation and in-equalities not exceeding 15 cm deep and disposal of rubbish, lead up to 50 m and lift up to 1.5 m. | item no.2
3 | All kinds of soil | item no.3 | 51 | sqm | 24.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1259 | 1259 | INR One Thousand Two Hundred & Fifty Nine Only | 3 | All kinds of soil | item no.3 | 51 | sqm
4 | CEMENT CONCRETE (CAST IN SITU) | item no.4 | [52 empty] | 4 | CEMENT CONCRETE (CAST IN SITU) | item no.4
5 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | item no.5 | [52 empty] | 5 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | item no.5
6 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | item no.6 | 0.5 | cum | 6457.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3229 | 3229 | INR Three Thousand Two Hundred & Twenty Nine Only | 6 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | item no.6 | 0.5 | cum
7 | MASONRY WORK | item no.7 | [52 empty] | 7 | MASONRY WORK | item no.7
8 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: | item no.8 | [52 empty] | 8 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: | item no.8
9 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.9 | 0.5 | cum | 5838.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2919 | 2919 | INR Two Thousand Nine Hundred & Nineteen Only | 9 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.9 | 0.5 | cum
10 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : | item no.10 | [52 empty] | 10 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : | item no.10
11 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.11 | 1.2 | cum | 7267.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8721 | 8721 | INR Eight Thousand Seven Hundred & Twenty One Only | 11 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.11 | 1.2 | cum
12 | WOOD AND P. V. C. WORK | item no.12 | [52 empty] | 12 | WOOD AND P. V. C. WORK | item no.12
13 | Providing and fixing ISI marked oxidised M.S. handles conforming to IS:4992 with necessary screws etc. complete : | item no.13 | [52 empty] | 13 | Providing and fixing ISI marked oxidised M.S. handles conforming to IS:4992 with necessary screws etc. complete : | item no.13
14 | 100 mm | item no.14 | 10 | each | 24.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 248 | 248 | INR Two Hundred & Forty Eight Only | 14 | 100 mm | item no.14 | 10 | each
15 | STEEL WORK | item no.15 | [52 empty] | 15 | STEEL WORK | item no.15
16 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. | item no.16 | [52 empty] | 16 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. | item no.16
17 | Hot finished welded type tubes | item no.17 | 1040 | kg | 135.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 141253 | 141253 | INR One Lakh Forty One Thousand Two Hundred & Fifty Three Only | 17 | Hot finished welded type tubes | item no.17 | 1040 | kg
18 | Providing and fixing factory made ISI marked steel glazed doors, windows and ventilators, side /top /centre hung, with beading and all members such as F7D,F4B, K11 B and K12 B etc. complete of standard rolled steel sections, joints mitred and flash butt welded and sash bars tenoned and riveted, including providing and fixing of hinges, pivots, including priming coat of approved steel primer, but excluding the cost of other fittings, complete all as per approved design, (sectional weight of only steel members shall be measured for payment). | item no.18 | [52 empty] | 18 | Providing and fixing factory made ISI marked steel glazed doors, windows and ventilators, side /top /centre hung, with beading and all members such as F7D,F4B, K11 B and K12 B etc. complete of standard rolled steel sections, joints mitred and flash butt welded and sash bars tenoned and riveted, including providing and fixing of hinges, pivots, including priming coat of approved steel primer, but excluding the cost of other fittings, complete all as per approved design, (sectional weight of only steel members shall be measured for payment). | item no.18
19 | Fixing with carbon steel galvanised dash fastener of required dia and size (to be paid for separately) | item no.19 | 10 | kg | 95.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 957 | 957 | INR Nine Hundred & Fifty Seven Only | 19 | Fixing with carbon steel galvanised dash fastener of required dia and size (to be paid for separately) | item no.19 | 10 | kg
20 | Providing & fixing glass panes with putty and glazing clips in steel doors, windows, clerestory windows, all complete with : | item no.20 | [52 empty] | 20 | Providing & fixing glass panes with putty and glazing clips in steel doors, windows, clerestory windows, all complete with : | item no.20
21 | 4.0 mm thick glass panes | item no.21 | 10 | sqm | 824.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8245 | 8245 | INR Eight Thousand Two Hundred & Forty Five Only | 21 | 4.0 mm thick glass panes | item no.21 | 10 | sqm
22 | FLOORING | item no.22 | [52 empty] | 22 | FLOORING | item no.22
23 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete. | item no.23 | [52 empty] | 23 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete. | item no.23
24 | 40 mm thick with 20 mm nominal size stone aggregate | item no.24 | 53.5 | sqm | 477.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 25566 | 25566 | INR Twenty Five Thousand Five Hundred & Sixty Six Only | 24 | 40 mm thick with 20 mm nominal size stone aggregate | item no.24 | 53.5 | sqm
25 | Cement plaster skirting up to 30 cm height, with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement. | item no.25 | [52 empty] | 25 | Cement plaster skirting up to 30 cm height, with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement. | item no.25
26 | 18 mm thick | item no.26 | 2.2 | sqm | 500.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1101 | 1101 | INR One Thousand One Hundred & One Only | 26 | 18 mm thick | item no.26 | 2.2 | sqm
27 | Providing and fixing glass strips in joints of terrazo/ cement concrete floors. | item no.27 | [52 empty] | 27 | Providing and fixing glass strips in joints of terrazo/ cement concrete floors. | item no.27
28 | 40 mm wide and 4 mm thick | item no.28 | 70 | metre | 69.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4880 | 4880 | INR Four Thousand Eight Hundred & Eighty Only | 28 | 40 mm wide and 4 mm thick | item no.28 | 70 | metre
29 | ROOFING | item no.29 | [52 empty] | 29 | ROOFING | item no.29
30 | Providing gola 75x75 mm in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 stone aggregate 10 mm and down gauge), including finishing with cement mortar 1:3 (1 cement : 3 fine sand) as per standard design : | item no.30 | [52 empty] | 30 | Providing gola 75x75 mm in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 stone aggregate 10 mm and down gauge), including finishing with cement mortar 1:3 (1 cement : 3 fine sand) as per standard design : | item no.30
31 | In 75x75 mm deep chase | item no.31 | 22 | metre | 228.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5019 | 5019 | INR Five Thousand &Nineteen Only | 31 | In 75x75 mm deep chase | item no.31 | 22 | metre
32 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineer- in-charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | item no.32 | 57 | sqm | 588.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 33563 | 33563 | INR Thirty Three Thousand Five Hundred & Sixty Three Only | 32 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineer- in-charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | item no.32 | 57 | sqm
33 | FINISHING | item no.33 | [52 empty] | 33 | FINISHING | item no.33
34 | 12 mm cement plaster of mix : | item no.34 | [52 empty] | 34 | 12 mm cement plaster of mix : | item no.34
35 | 1:6 (1 cement: 6 coarse sand) | item no.35 | 7 | sqm | 258.09 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1807 | 1807 | INR One Thousand Eight Hundred & Seven Only | 35 | 1:6 (1 cement: 6 coarse sand) | item no.35 | 7 | sqm
36 | 15 mm cement plaster on rough side of single or half brick wall of mix: | item no.36 | [52 empty] | 36 | 15 mm cement plaster on rough side of single or half brick wall of mix: | item no.36
37 | 1:6 (1 cement: 6 coarse sand) | item no.37 | 54 | sqm | 297.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 16056 | 16056 | INR Sixteen Thousand &Fifty Six Only | 37 | 1:6 (1 cement: 6 coarse sand) | item no.37 | 54 | sqm
38 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | item no.38 | [52 empty] | 38 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | item no.38
39 | Two or more coats on new work | item no.39 | 217 | sqm | 81.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 17646 | 17646 | INR Seventeen Thousand Six Hundred & Forty Six Only | 39 | Two or more coats on new work | item no.39 | 217 | sqm
40 | Finishing walls with Acrylic Smooth exterior paint of required shade : | item no.40 | [52 empty] | 40 | Finishing walls with Acrylic Smooth exterior paint of required shade : | item no.40
41 | New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | item no.41 | 1325 | sqm | 146.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 193848 | 193848 | INR One Lakh Ninety Three Thousand Eight Hundred & Forty Eight Only | 41 | New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | item no.41 | 1325 | sqm
42 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : | item no.42 | [52 empty] | 42 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : | item no.42
43 | Two or more coats on new work | item no.43 | 54 | sqm | 115.26 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6224 | 6224 | INR Six Thousand Two Hundred & Twenty Four Only | 43 | Two or more coats on new work | item no.43 | 54 | sqm
44 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.44 | 217 | sqm | 108.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 23564 | 23564 | INR Twenty Three Thousand Five Hundred & Sixty Four Only | 44 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.44 | 217 | sqm
45 | Distempering with 1st quality acrylic distember (Ready mix) having VOC content less than 50 grams/ litre of approved brand and manufacture to give an even shade : | item no.45 | [52 empty] | 45 | Distempering with 1st quality acrylic distember (Ready mix) having VOC content less than 50 grams/ litre of approved brand and manufacture to give an even shade : | item no.45
46 | Old work (one or more coats) | item no.46 | 2400 | sqm | 49.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 119520 | 119520 | INR One Lakh Nineteen Thousand Five Hundred & Twenty Only | 46 | Old work (one or more coats) | item no.46 | 2400 | sqm
47 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | item no.47 | 767.5 | sqm | 18.28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14030 | 14030 | INR Fourteen Thousand &Thirty Only | 47 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | item no.47 | 767.5 | sqm
48 | Finishing walls with Acrylic Smooth exterior paint of required shade : | item no.48 | [52 empty] | 48 | Finishing walls with Acrylic Smooth exterior paint of required shade : | item no.48
49 | Old work (Two or more coat applied @ 1.67 ltr/ 10 sqm) on existing cement paint surface | item no.49 | 5 | sqm | 97.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 489 | 489 | INR Four Hundred & Eighty Nine Only | 49 | Old work (Two or more coat applied @ 1.67 ltr/ 10 sqm) on existing cement paint surface | item no.49 | 5 | sqm
50 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.50 | [52 empty] | 50 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.50
51 | One or more coats on old work | item no.51 | 330 | sqm | 75.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 25044 | 25044 | INR Twenty Five Thousand &Forty Four Only | 51 | One or more coats on old work | item no.51 | 330 | sqm
52 | Finishing walls with Acrylic Smooth exterior paint of required shade : | item no.52 | [52 empty] | 52 | Finishing walls with Acrylic Smooth exterior paint of required shade : | item no.52
53 | Old work (One or more coat applied @ 0.90 ltr/10 sqm). | item no.53 | 20 | sqm | 65.54 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1311 | 1311 | INR One Thousand Three Hundred & Eleven Only | 53 | Old work (One or more coat applied @ 0.90 ltr/10 sqm). | item no.53 | 20 | sqm
54 | REPAIRS TO BUILDING | item no.54 | [52 empty] | 54 | REPAIRS TO BUILDING | item no.54
55 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | item no.55 | [52 empty] | 55 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | item no.55
56 | With cement mortar 1:4 (1cement: 4 coarse sand) | item no.56 | 15 | sqm | 419.11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6287 | 6287 | INR Six Thousand Two Hundred & Eighty Seven Only | 56 | With cement mortar 1:4 (1cement: 4 coarse sand) | item no.56 | 15 | sqm
57 | Renewal of old putty of glass panes (length) | item no.57 | 20 | metre | 40.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 814 | 814 | INR Eight Hundred & Fourteen Only | 57 | Renewal of old putty of glass panes (length) | item no.57 | 20 | metre
58 | Dismantling and Demolishing | item no.58 | [52 empty] | 58 | Dismantling and Demolishing | item no.58
59 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | item no.59 | [52 empty] | 59 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | item no.59
60 | In cement mortar | item no.60 | 0.5 | cum | 1489.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 745 | 745 | INR Seven Hundred & Forty Five Only | 60 | In cement mortar | item no.60 | 0.5 | cum
61 | Dismantling steel work manually/ by mechanical means in built up sections without dismembering and stacking within 50 metres lead as per direction of Engineer-in-charge. | item no.61 | 245 | kg | 2.81 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 688 | 688 | INR Six Hundred & Eighty Eight Only | 61 | Dismantling steel work manually/ by mechanical means in built up sections without dismembering and stacking within 50 metres lead as per direction of Engineer-in-charge. | item no.61 | 245 | kg
62 | Dismantling cement asbestos or other hard board ceiling or partition walls including stacking of serviceable materials and disposal of unserviceable materials within 50 metres lead. | item no.62 | 57 | sqm | 40.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2324 | 2324 | INR Two Thousand Three Hundred & Twenty Four Only | 62 | Dismantling cement asbestos or other hard board ceiling or partition walls including stacking of serviceable materials and disposal of unserviceable materials within 50 metres lead. | item no.62 | 57 | sqm
63 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | item no.63 | 49 | sqm | 39.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1936 | 1936 | INR One Thousand Nine Hundred & Thirty Six Only | 63 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | item no.63 | 49 | sqm
64 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | item no.64 | 10 | cum | 192.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1923 | 1923 | INR One Thousand Nine Hundred & Twenty Three Only | 64 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | item no.64 | 10 | cum
65 | WATER SUPPLY | item no.65 | [52 empty] | 65 | WATER SUPPLY | item no.65
66 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall | item no.66 | [52 empty] | 66 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall | item no.66
67 | 50 mm dia nominal bore | item no.67 | 6 | metre | 783.17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4699 | 4699 | INR Four Thousand Six Hundred & Ninety Nine Only | 67 | 50 mm dia nominal bore | item no.67 | 6 | metre
68 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. External work | item no.68 | [52 empty] | 68 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. External work | item no.68
69 | 65 mm dia nominal bore | item no.69 | 3 | metre | 673.91 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2022 | 2022 | INR Two Thousand &Twenty Two Only | 69 | 65 mm dia nominal bore | item no.69 | 3 | metre
70 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete : | item no.70 | [52 empty] | 70 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete : | item no.70
71 | 50 to 80 mm nominal bore | item no.71 | 4 | each | 1327.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5309 | 5309 | INR Five Thousand Three Hundred & Nine Only | 71 | 50 to 80 mm nominal bore | item no.71 | 4 | each
72 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : | item no.72 | [52 empty] | 72 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : | item no.72
73 | 65 mm nominal bore | item no.73 | 4 | each | 1307.06 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5228 | 5228 | INR Five Thousand Two Hundred & Twenty Eight Only | 73 | 65 mm nominal bore | item no.73 | 4 | each
74 | MINOR CIVIL MAINTENANCE WORK: | item no.74 | [52 empty] | 74 | MINOR CIVIL MAINTENANCE WORK: | item no.74
75 | "Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources: 10 graded brick aggregate 40 mm nominal size derived from natural sources) | item no.75 | 5.3 | Cum | 5268.92 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 27925 | 27925 | INR Twenty Seven Thousand Nine Hundred & Twenty Five Only | 75 | "Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources: 10 graded brick aggregate 40 mm nominal size derived from natural sources) | item no.75 | 5.3 | Cum
76 | WATER PROOFING | item no.76 | [52 empty] | 76 | WATER PROOFING | item no.76
77 | Providing and applying fibre reinforced elastomeric liquid water proofing membrane with resilient acrylic polymers having Sun Reflectivity Index (SRI) of 105 on top of concrete roof in three coats @10.76 litre/ 10 sqm. One coat of self-priming of elastomeric waterproofing liquid (dilution with water in the ratio of 3:1) and two coats of undiluted elastomeric waterproofing liquid (dry film thickness of complete application/system not less than 500 microns). The operation shall be carried out after scrapping and properly cleaning the surface to remove loose particles with wire brushes, complete in all respect as per the direction of Engineer-in-Charge. | item no.77 | 103 | sqm | 415.74 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 42821 | 42821 | INR Forty Two Thousand Eight Hundred & Twenty One Only | 77 | Providing and applying fibre reinforced elastomeric liquid water proofing membrane with resilient acrylic polymers having Sun Reflectivity Index (SRI) of 105 on top of concrete roof in three coats @10.76 litre/ 10 sqm. One coat of self-priming of elastomeric waterproofing liquid (dilution with water in the ratio of 3:1) and two coats of undiluted elastomeric waterproofing liquid (dry film thickness of complete application/system not less than 500 microns). The operation shall be carried out after scrapping and properly cleaning the surface to remove loose particles with wire brushes, complete in all respect as per the direction of Engineer-in-Charge. | item no.77 | 103 | sqm
78 | NEW TECHNOLOGIES AND MATERIALS | item no.78 | [52 empty] | 78 | NEW TECHNOLOGIES AND MATERIALS | item no.78
79 | Chipping of unsound/weak concrete material from slabs, beams, columns etc. with manual Chisel and/ or by standard power driven percussion type or of approved make including tapering of all edges, making square shoulders of cavities including cleaning the exposed concrete surface and reinforcement with wire brushes etc. and disposal of debris for all lead and lifts all complete as per direction of Engineer-In-Charge | item no.79 | [52 empty] | 79 | Chipping of unsound/weak concrete material from slabs, beams, columns etc. with manual Chisel and/ or by standard power driven percussion type or of approved make including tapering of all edges, making square shoulders of cavities including cleaning the exposed concrete surface and reinforcement with wire brushes etc. and disposal of debris for all lead and lifts all complete as per direction of Engineer-In-Charge | item no.79
80 | 25 mm average thickness | item no.80 | 21 | sqm | 91.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1926 | 1926 | INR One Thousand Nine Hundred & Twenty Six Only | 80 | 25 mm average thickness | item no.80 | 21 | sqm
81 | Cleaning of reinforcement from rust from the reinforcing bars to give it a total rust free steel surface by using alkaline chemical rust remover of approved make with paint brush and removing loose particles after 24 hours of its application with wire brush and thoroughly washing with water and allowing it to dry, all complete as per direction of Engineer-In-Charge. | item no.81 | [52 empty] | 81 | Cleaning of reinforcement from rust from the reinforcing bars to give it a total rust free steel surface by using alkaline chemical rust remover of approved make with paint brush and removing loose particles after 24 hours of its application with wire brush and thoroughly washing with water and allowing it to dry, all complete as per direction of Engineer-In-Charge. | item no.81
82 | Bars upto 12 mm diameter | item no.82 | 50 | metre | 5.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 292 | 292 | INR Two Hundred & Ninety Two Only | 82 | Bars upto 12 mm diameter | item no.82 | 50 | metre
83 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and direction of Engineer-In-charge complete in all respect. | item no.83 | [52 empty] | 83 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and direction of Engineer-In-charge complete in all respect. | item no.83
84 | Epoxy bonding adhesive having coverage 2.20 sqm/kg of approved make | item no.84 | 123 | sqm | 342.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 42109 | 42109 | INR Forty Two Thousand One Hundred & Nine Only | 84 | Epoxy bonding adhesive having coverage 2.20 sqm/kg of approved make | item no.84 | 123 | sqm
85 | Providing, mixing and applying SBR polymer (of approved make) modified Cement mortar in proportion of 1:4 (1 cement: 4 graded coarse sand with polymer minimum 2% by wt. of cement used) as per specifications and directions of Engineer-in-charge. | item no.85 | [52 empty] | 85 | Providing, mixing and applying SBR polymer (of approved make) modified Cement mortar in proportion of 1:4 (1 cement: 4 graded coarse sand with polymer minimum 2% by wt. of cement used) as per specifications and directions of Engineer-in-charge. | item no.85
86 | 25 mm average thickness in 2 layers. | item no.86 | 33 | sqm | 447.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14771 | 14771 | INR Fourteen Thousand Seven Hundred & Seventy One Only | 86 | 25 mm average thickness in 2 layers. | item no.86 | 33 | sqm
87 | Providing, mixing and applying SBR polymer (of approved make @ minimum 2% by wt. of cement used) modified plain/reinforced cement concrete for structural members having minimum characteristic compressive strength [with ordinary portland cement, coarse sand and graded stone aggregate of 10mm maximum size in proportion as per design criteria] with specified average thickness. | item no.87 | [52 empty] | 87 | Providing, mixing and applying SBR polymer (of approved make @ minimum 2% by wt. of cement used) modified plain/reinforced cement concrete for structural members having minimum characteristic compressive strength [with ordinary portland cement, coarse sand and graded stone aggregate of 10mm maximum size in proportion as per design criteria] with specified average thickness. | item no.87
88 | 50mm thick in Grade M 25 with cement content not less than 330 kg per cum | item no.88 | 75 | sqm | 497.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 37303 | 37303 | INR Thirty Seven Thousand Three Hundred & Three Only | 88 | 50mm thick in Grade M 25 with cement content not less than 330 kg per cum | item no.88 | 75 | sqm
89 | Cleaning of exposed concrete surface of sticking material including loose and foreign material by sand blasting with coarse sand followed by and including cleaning with oil free air blast as per direction of Engineer in charge. | item no.89 | 90 | sqm | 324.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 29210 | 29210 | INR Twenty Nine Thousand Two Hundred & Ten Only | 89 | Cleaning of exposed concrete surface of sticking material including loose and foreign material by sand blasting with coarse sand followed by and including cleaning with oil free air blast as per direction of Engineer in charge. | item no.89 | 90 | sqm
90 | Providing and Fixing CPVC Vanstone Flange 100 mm of Schedule 80 i/c removing damaged pipe/fittings, P/F new fittings with one step CPVC solvent etc complete in all respect. | item no.90 | 4 | Each | 2486.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9947 | 9947 | INR Nine Thousand Nine Hundred & Forty Seven Only | 90 | Providing and Fixing CPVC Vanstone Flange 100 mm of Schedule 80 i/c removing damaged pipe/fittings, P/F new fittings with one step CPVC solvent etc complete in all respect. | item no.90 | 4 | Each
91 | Providing and Fixing CPVC Reducer Bush 100x65 mm of Schedule 40 i/c removing damaged pipe/fittings, P/F new fittings with one step CPVC solvent etc complete in all respect. | item no.91 | 2 | Each | 822.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1645 | 1645 | INR One Thousand Six Hundred & Forty Five Only | 91 | Providing and Fixing CPVC Reducer Bush 100x65 mm of Schedule 40 i/c removing damaged pipe/fittings, P/F new fittings with one step CPVC solvent etc complete in all respect. | item no.91 | 2 | Each
92 | Providing and Fixing CPVC FABT socket 65 mm of Schedule 80 i/c removing damaged pipe/fittings, P/F new fittings with one step CPVC solvent etc complete in all respect. | item no.92 | 2 | Each | 2842.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5685 | 5685 | INR Five Thousand Six Hundred & Eighty Five Only | 92 | Providing and Fixing CPVC FABT socket 65 mm of Schedule 80 i/c removing damaged pipe/fittings, P/F new fittings with one step CPVC solvent etc complete in all respect. | item no.92 | 2 | Each
93 | Providing and Fixing CPVC elbow 65 mm of Schedule 40 i/c removing damaged pipe/fittings, P/F new fittings with one step CPVC solvent etc complete in all respect. | item no.93 | 2 | Each | 731.26 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1463 | 1463 | INR One Thousand Four Hundred & Sixty Three Only | 93 | Providing and Fixing CPVC elbow 65 mm of Schedule 40 i/c removing damaged pipe/fittings, P/F new fittings with one step CPVC solvent etc complete in all respect. | item no.93 | 2 | Each
94 | Providing and Fixing CPVC TEE 100X65 mm of Schedule 40 i/c removing damaged pipe/fittings, P/F new fittings with one step CPVC solvent etc complete in all respect. | item no.94 | 2 | Each | 1402.02 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2804 | 2804 | INR Two Thousand Eight Hundred & Four Only | 94 | Providing and Fixing CPVC TEE 100X65 mm of Schedule 40 i/c removing damaged pipe/fittings, P/F new fittings with one step CPVC solvent etc complete in all respect. | item no.94 | 2 | Each
95 | Providing and fixing cast iron Butterfly Valve valve with bolts, nuts, etc. complete, 100 mm diameter of approved make. | item no.95 | 2 | Each | 4281.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8563 | 8563 | INR Eight Thousand Five Hundred & Sixty Three Only | 95 | Providing and fixing cast iron Butterfly Valve valve with bolts, nuts, etc. complete, 100 mm diameter of approved make. | item no.95 | 2 | Each
96 | Providing kota stone strips of 50 mm width on the existing kota stone window sill with necessary adhesive i/c cutting the stone in required shape & size, sealing the joints with silicone sealent etc. complete . | item no.96 | 43 | Meter | 191.14 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8219 | 8219 | INR Eight Thousand Two Hundred & Nineteen Only | 96 | Providing kota stone strips of 50 mm width on the existing kota stone window sill with necessary adhesive i/c cutting the stone in required shape & size, sealing the joints with silicone sealent etc. complete . | item no.96 | 43 | Meter
97 | P/F level controllers/ float switch with low voltage releys, float type with PVC shroud, with 10 meter minimum cable/wiring from tank top to probes of required length. To open solenoid/Motorized valve on low water level and close when high water level in the OH/UG water tank, Nolta or approved equivalent make. | item no.97 | 2 | Each | 5044.28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10089 | 10089 | INR Ten Thousand &Eighty Nine Only | 97 | P/F level controllers/ float switch with low voltage releys, float type with PVC shroud, with 10 meter minimum cable/wiring from tank top to probes of required length. To open solenoid/Motorized valve on low water level and close when high water level in the OH/UG water tank, Nolta or approved equivalent make. | item no.97 | 2 | Each
98 | P/F Motorized valve 65 mm motorised butterfly valve with Actuator (IP54), 24 v AC/DC of approved brand and manufacturer in tank filling G.I. line near the tanks excluding the cost of G.I. fittigs, ball valves etc. complete in all respect of Honey wall, Belimo or approved equivalent make. | item no.98 | 2 | Each | 26252.52 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 52505 | 52505 | INR Fifty Two Thousand Five Hundred & Five Only | 98 | P/F Motorized valve 65 mm motorised butterfly valve with Actuator (IP54), 24 v AC/DC of approved brand and manufacturer in tank filling G.I. line near the tanks excluding the cost of G.I. fittigs, ball valves etc. complete in all respect of Honey wall, Belimo or approved equivalent make. | item no.98 | 2 | Each
99 | P/F 5 mm thick transparent acylic sheet with suitable screws for acylic sheet in ceiling , walls etc. complete. (Frame work to be paid separatly) | item no.99 | 59 | Sqm | 2159.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 127415 | 127415 | INR One Lakh Twenty Seven Thousand Four Hundred & Fifteen Only | 99 | P/F 5 mm thick transparent acylic sheet with suitable screws for acylic sheet in ceiling , walls etc. complete. (Frame work to be paid separatly) | item no.99 | 59 | Sqm
Total in Figures | [51 empty] | 1113166 | #REF! | Eleven Lakh Thirteen Thousand One Hundred & Sixty Six Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only

## Macros
Please Enable Macros to View BoQ information