## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: DOIP, IIT Kanpur
Name of Work: Providing and fixing new streetlights and replacement of defective light fittings with associated electrical works in IIT Kanpur
NIT No: Electrical/24/01/2024-1
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Component | [53 empty] | 1 | Component
1.01 | Numbering of Pole/ ceiling fan/ exhaust fan/ fluorescent fittings as required | item no.1 | 6 | Nos | 51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 306 | 306 | INR Three Hundred & Six Only | 1.01 | Numbering of Pole/ ceiling fan/ exhaust fan/ fluorescent fittings as required | item no.1 | 6 | Nos | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.02 | Providing and fixing 6 SWG dia. GI wire on surface or in recess for loop earthing alongwith the existing surface / recessed conduit / submain wiring / cable as required. | item no.2 | 150 | Mtr | 62 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9300 | 9300 | INR Nine Thousand Three Hundred Only | 1.02 | Providing and fixing 6 SWG dia. GI wire on surface or in recess for loop earthing alongwith the existing surface / recessed conduit / submain wiring / cable as required. | item no.2 | 150 | Mtr | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.03 | Supplying and making indoor end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed/XLPE aluminium conductor cable of 1.1kV grade as reqd. | item no.3 | [52 empty] | 1.03 | Supplying and making indoor end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed/XLPE aluminium conductor cable of 1.1kV grade as reqd. | item no.3 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.04 | 2x10 sqmm(19mm) | item no.4 | 15 | set | 215 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3225 | 3225 | INR Three Thousand Two Hundred & Twenty Five Only | 1.04 | 2x10 sqmm(19mm) | item no.4 | 15 | set
1.05 | Providing, laying and fixing following dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep) and re-filling etc as required | item no.5 | [52 empty] | 1.05 | Providing, laying and fixing following dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep) and re-filling etc as required | item no.5
1.06 | 50 mm dia | item no.6 | 10 | Mtr | 584 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5840 | 5840 | INR Five Thousand Eight Hundred & Forty Only | 1.06 | 50 mm dia | item no.6 | 10 | Mtr
1.07 | Supplying and drawing of following sizes of FR PVC insulated copper conductor, round cable of following size in the existing surface/ recessed/ steel/ PVC conduit as required. | item no.7 | [52 empty] | 1.07 | Supplying and drawing of following sizes of FR PVC insulated copper conductor, round cable of following size in the existing surface/ recessed/ steel/ PVC conduit as required. | item no.7 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.08 | 3 Core 1.5 Sq.mm | item no.8 | 20 | Mtr | 125 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2500 | 2500 | INR Two Thousand Five Hundred Only | 1.08 | 3 Core 1.5 Sq.mm | item no.8 | 20 | Mtr
1.09 | 6 x 16 Sq.mm.. | item no.9 | 55 | Mtr. | 1087 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 59785 | 59785 | INR Fifty Nine Thousand Seven Hundred & Eighty Five Only | 1.09 | 6 x 16 Sq.mm.. | item no.9 | 55 | Mtr. | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.1 | Supplying & Laying of one no. XLPE cable aluminium conductor steel armoured cable of size 2x10sqmm, grade 1.1kV in following manners. | item no.10 | [52 empty] | 1.1 | Supplying & Laying of one no. XLPE cable aluminium conductor steel armoured cable of size 2x10sqmm, grade 1.1kV in following manners. | item no.10 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.11 | In Ground I/c excavation, sand cushioning protective covering, refilling of earth as reqd. | item no.11 | 150 | Mtr | 501 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 75150 | 75150 | INR Seventy Five Thousand One Hundred & Fifty Only | 1.11 | In Ground I/c excavation, sand cushioning protective covering, refilling of earth as reqd. | item no.11 | 150 | Mtr | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.12 | In existing Pipe | item no.12 | 12 | Mtr | 159 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1908 | 1908 | INR One Thousand Nine Hundred & Eight Only | 1.12 | In existing Pipe | item no.12 | 12 | Mtr
1.13 | In existing open duct | item no.13 | 3 | Mtr | 151 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 453 | 453 | INR Four Hundred & Fifty Three Only | 1.13 | In existing open duct | item no.13 | 3 | Mtr
1.14 | S/F testing commissioning of street light Luminures. Ruby (Clear) type following LED postop lantern New generation, post-top, energy saving, environmental friendly, long life aesthetically designed with symmetrical light distribution, spun aluminium landscape luminaire with high power LEDs as light source. on the existing street light pole complete as required. | item no.14 | [52 empty] | 1.14 | S/F testing commissioning of street light Luminures. Ruby (Clear) type following LED postop lantern New generation, post-top, energy saving, environmental friendly, long life aesthetically designed with symmetrical light distribution, spun aluminium landscape luminaire with high power LEDs as light source. on the existing street light pole complete as required. | item no.14
1.15 | 40W | item no.15 | 8 | Nos | 8837 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 70696 | 70696 | INR Seventy Thousand Six Hundred & Ninety Six Only | 1.15 | 40W | item no.15 | 8 | Nos
1.16 | Supply,Installation,Testing and commissioning LED Post Top Lantern 40watt after removing old complete as requiired. | item no.16 | 6 | Nos. | 9247 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 55482 | 55482 | INR Fifty Five Thousand Four Hundred & Eighty Two Only | 1.16 | Supply,Installation,Testing and commissioning LED Post Top Lantern 40watt after removing old complete as requiired. | item no.16 | 6 | Nos.
1.17 | S/F testing commissioning of street light Luminures Endura Pearl Neo - IP65 following LED light / flood light fitting New generation energy saving and environmental friendly long life LED street light made up of pressure die cast aluminium housing with high power LED as lighting source and lens embedded PC cover having TOP Opening separate driver compartment with IP66 protection and impact resistance of IK07.on the existing street light pole complete as required. | item no.17 | [52 empty] | 1.17 | S/F testing commissioning of street light Luminures Endura Pearl Neo - IP65 following LED light / flood light fitting New generation energy saving and environmental friendly long life LED street light made up of pressure die cast aluminium housing with high power LED as lighting source and lens embedded PC cover having TOP Opening separate driver compartment with IP66 protection and impact resistance of IK07.on the existing street light pole complete as required. | item no.17
1.18 | 45W Street light | item no.18 | 3 | Nos | 4777 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14331 | 14331 | INR Fourteen Thousand Three Hundred & Thirty One Only | 1.18 | 45W Street light | item no.18 | 3 | Nos
1.19 | Digging cable trench/lifting brick/s and cable for locating fault and refilling the trench, ramming & making good the same as reqd. | item no.19 | 20 | Mtr | 261 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5220 | 5220 | INR Five Thousand Two Hundred & Twenty Only | 1.19 | Digging cable trench/lifting brick/s and cable for locating fault and refilling the trench, ramming & making good the same as reqd. | item no.19 | 20 | Mtr
1.2 | Supply & fixing of 65 mm dia.'B' class GI pole 4.5 mtr. Long for post top lantern i/c bas plate 300 x 300 x 3mm GI reducer & nipple for mounting the fitting win cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 40 mm nominal size) foundation including excavation and refilling etc. as required accolade the looping) complete as reqd. | item no.20 | 6 | Nos | 7449 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 44694 | 44694 | INR Forty Four Thousand Six Hundred & Ninety Four Only | 1.2 | Supply & fixing of 65 mm dia.'B' class GI pole 4.5 mtr. Long for post top lantern i/c bas plate 300 x 300 x 3mm GI reducer & nipple for mounting the fitting win cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 40 mm nominal size) foundation including excavation and refilling etc. as required accolade the looping) complete as reqd. | item no.20 | 6 | Nos
1.21 | S&F, connecting and commissioning looping type cable end control box with 200 mm x 250 mm x 100 mm deep SMC Junction box ( water proof,Rotproof and termite resistant Cable entry from bottom and/or sides 100% weatherproof with Pole mounting arrangement) having 1 no. 6amp to 32 amp SPMCB 250 volt and 2 nos. brass neutral link square rod 6 way and fixed on 5 mm thick Bakelite sheet. Box shall have admiral type hing and panel key type lock front door duly painted with earthing strud etc. complete as required. | item no.21 | 6 | Nos | 1405.52 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8433 | 8433 | INR Eight Thousand Four Hundred & Thirty Three Only | 1.21 | S&F, connecting and commissioning looping type cable end control box with 200 mm x 250 mm x 100 mm deep SMC Junction box ( water proof,Rotproof and termite resistant Cable entry from bottom and/or sides 100% weatherproof with Pole mounting arrangement) having 1 no. 6amp to 32 amp SPMCB 250 volt and 2 nos. brass neutral link square rod 6 way and fixed on 5 mm thick Bakelite sheet. Box shall have admiral type hing and panel key type lock front door duly painted with earthing strud etc. complete as required. | item no.21 | 6 | Nos
1.22 | Locating fault in the cable lines with meggar etc and rectifying removing & restoring the same and making good the damages etc as required. | item no.22 | [52 empty] | 1.22 | Locating fault in the cable lines with meggar etc and rectifying removing & restoring the same and making good the damages etc as required. | item no.22
1.23 | upto 35 sqmm | item no.23 | 6 | Nos | 310 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1860 | 1860 | INR One Thousand Eight Hundred & Sixty Only | 1.23 | upto 35 sqmm | item no.23 | 6 | Nos
1.24 | Dismantling cross arm / street light bracket/street light fitting from pole complete as required. | item no.24 | 6 | Nos | 259 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1554 | 1554 | INR One Thousand Five Hundred & Fifty Four Only | 1.24 | Dismantling cross arm / street light bracket/street light fitting from pole complete as required. | item no.24 | 6 | Nos
1.25 | Dismantling of pole/ street light standard/ strut embedded in cement concrete foundation etc. alongwith accessories i.e. control box, light, bracket etc. complete as required. | item no.25 | 1 | Nos | 1947.39 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1947 | 1947 | INR One Thousand Nine Hundred & Forty Seven Only | 1.25 | Dismantling of pole/ street light standard/ strut embedded in cement concrete foundation etc. alongwith accessories i.e. control box, light, bracket etc. complete as required. | item no.25 | 1 | Nos
1.26 | Erection of metallic pole with all accessories i.e.. Control box light, cable termination etc. with following length in cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 40 mm nominal size) foundation including excavation and refilling etc. as required | item no.26 | [52 empty] | 1.26 | Erection of metallic pole with all accessories i.e.. Control box light, cable termination etc. with following length in cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 40 mm nominal size) foundation including excavation and refilling etc. as required | item no.26
1.27 | Above 4.5 meter and up to 6.5 meter | item no.27 | 1 | Nos | 3938.62 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3939 | 3939 | INR Three Thousand Nine Hundred & Thirty Nine Only | 1.27 | Above 4.5 meter and up to 6.5 meter | item no.27 | 1 | Nos
1.28 | Supply,Installation,Testing and commissioning LED Street and flood light fitting of following rating make up of pressure die aluminium housing with PC cover of following protection complete with all accessories including rag bolts with washer etc as reqd. | item no.28 | [52 empty] | 1.28 | Supply,Installation,Testing and commissioning LED Street and flood light fitting of following rating make up of pressure die aluminium housing with PC cover of following protection complete with all accessories including rag bolts with washer etc as reqd. | item no.28
1.29 | LED Flood light fitting 150 watt, =>100lm/w,IP65, | item no.29 | 4 | Nos. | 11512 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 46048 | 46048 | INR Forty Six Thousand &Forty Eight Only | 1.29 | LED Flood light fitting 150 watt, =>100lm/w,IP65, | item no.29 | 4 | Nos.
1.3 | Providing & fixing of 105 mm x 50 mm size of DLP trunking on surface with suitable plug & screws as reqd. | item no.30 | 45 | Mtrs. | 735 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 33075 | 33075 | INR Thirty Three Thousand &Seventy Five Only | 1.3 | Providing & fixing of 105 mm x 50 mm size of DLP trunking on surface with suitable plug & screws as reqd. | item no.30 | 45 | Mtrs.
1.31 | Providing & fixing of accessories for 105 mm x 50 mm size of DLP trunking system as reqd. | item no.31 | [52 empty] | 1.31 | Providing & fixing of accessories for 105 mm x 50 mm size of DLP trunking system as reqd. | item no.31
1.32 | Flexible cover for 85 mm width | item no.32 | 45 | Mtr | 334 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15030 | 15030 | INR Fifteen Thousand &Thirty Only | 1.32 | Flexible cover for 85 mm width | item no.32 | 45 | Mtr
1.33 | Partition | item no.33 | 15 | Mtr | 213 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3195 | 3195 | INR Three Thousand One Hundred & Ninety Five Only | 1.33 | Partition | item no.33 | 15 | Mtr
1.34 | Flat junction | item no.34 | 2 | Nos. | 397 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 794 | 794 | INR Seven Hundred & Ninety Four Only | 1.34 | Flat junction | item no.34 | 2 | Nos.
1.35 | Flat angle | item no.35 | 6 | Nos. | 524 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3144 | 3144 | INR Three Thousand One Hundred & Forty Four Only | 1.35 | Flat angle | item no.35 | 6 | Nos.
1.36 | Internal angle adjustable from 80 - 100 | item no.36 | 5 | Nos. | 383 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1915 | 1915 | INR One Thousand Nine Hundred & Fifteen Only | 1.36 | Internal angle adjustable from 80 - 100 | item no.36 | 5 | Nos.
1.37 | External angle adjustable from 60 - 120 | item no.37 | 5 | Nos. | 374 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1870 | 1870 | INR One Thousand Eight Hundred & Seventy Only | 1.37 | External angle adjustable from 60 - 120 | item no.37 | 5 | Nos.
1.38 | Base Joint | item no.38 | 50 | Nos. | 78 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3900 | 3900 | INR Three Thousand Nine Hundred Only | 1.38 | Base Joint | item no.38 | 50 | Nos.
1.39 | cover Joint for 85 mm width | item no.39 | 25 | Nos. | 173 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4325 | 4325 | INR Four Thousand Three Hundred & Twenty Five Only | 1.39 | cover Joint for 85 mm width | item no.39 | 25 | Nos.
1.4 | End Caps | item no.40 | 5 | Nos. | 151 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 755 | 755 | INR Seven Hundred & Fifty Five Only | 1.4 | End Caps | item no.40 | 5 | Nos.
Total in Figures | [51 empty] | 480674 | 480674 | Four Lakh Eighty Thousand Six Hundred & Seventy Four Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K38: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K46: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K48: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K53: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information