## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: DOIP, IIT Kanpur
Name of Work: Miscellaneous civil renovation works in Lab-19, BSBE Building and waterproofing works with associated minor repairing works in Rajeev Motwani Building, IIT Kanpur
NIT No: Civil/07/03/2024-1
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | CEMENT CONCRETE (CAST IN SITU) | item no.1 | [52 empty] | 1 | CEMENT CONCRETE (CAST IN SITU) | item no.1
2 | Extra for providing and mixing water proofing material in cement concrete work in doses by weight of cement as per manufacturer's specification. | item no.2 | 309 | per 50kg cement | 50.11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15484 | 15484 | INR Fifteen Thousand Four Hundred & Eighty Four Only | 2 | Extra for providing and mixing water proofing material in cement concrete work in doses by weight of cement as per manufacturer's specification. | item no.2 | 309 | per 50kg cement
3 | REINFORCED CEMENT CONCRETE | item no.3 | [52 empty] | 3 | REINFORCED CEMENT CONCRETE | item no.3
4 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.4 | 0.25 | cum | 9398.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2350 | 2350 | INR Two Thousand Three Hundred & Fifty Only | 4 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.4 | 0.25 | cum
5 | Centering and shuttering including strutting, propping etc. and removal of form for | item no.5 | [52 empty] | 5 | Centering and shuttering including strutting, propping etc. and removal of form for | item no.5
6 | Shelves (Cast in situ) | item no.6 | 3.88 | sqm | 672.12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2608 | 2608 | INR Two Thousand Six Hundred & Eight Only | 6 | Shelves (Cast in situ) | item no.6 | 3.88 | sqm
7 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. | item no.7 | [52 empty] | 7 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. | item no.7
8 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | item no.8 | 30 | kg | 78.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2358 | 2358 | INR Two Thousand Three Hundred & Fifty Eight Only | 8 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | item no.8 | 30 | kg
9 | MASONRY WORK | item no.9 | [52 empty] | 9 | MASONRY WORK | item no.9
10 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. | item no.10 | [52 empty] | 10 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. | item no.10
11 | Cement mortar 1:4 (1 cement :4 coarse sand) | item no.11 | 1.92 | sqm | 892.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1714 | 1714 | INR One Thousand Seven Hundred & Fourteen Only | 11 | Cement mortar 1:4 (1 cement :4 coarse sand) | item no.11 | 1.92 | sqm
12 | CLADDING WORK | item no.12 | [52 empty] | 12 | CLADDING WORK | item no.12
13 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. | item no.13 | [52 empty] | 13 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. | item no.13
14 | Granite stone slab colour black, Cherry/Ruby red | item no.14 | [52 empty] | 14 | Granite stone slab colour black, Cherry/Ruby red | item no.14
15 | Area of slab over 0.50 sqm | item no.15 | 3.36 | sqm | 3880.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13037 | 13037 | INR Thirteen Thousand &Thirty Seven Only | 15 | Area of slab over 0.50 sqm | item no.15 | 3.36 | sqm
16 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | item no.16 | 2.5 | sqm | 932.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2331 | 2331 | INR Two Thousand Three Hundred & Thirty One Only | 16 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | item no.16 | 2.5 | sqm
17 | WOOD AND P. V. C. WORK | item no.17 | [52 empty] | 17 | WOOD AND P. V. C. WORK | item no.17
18 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: | item no.18 | [52 empty] | 18 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: | item no.18
19 | 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | item no.19 | 3.15 | sqm | 1767.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5567 | 5567 | INR Five Thousand Five Hundred & Sixty Seven Only | 19 | 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | item no.19 | 3.15 | sqm
20 | Extra for providing lipping with 2nd class teak wood battens 25 mm minimum depth on all edges of flush door shutters (over all area of door shutter to be measured). | item no.20 | 3.15 | sqm | 351.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1109 | 1109 | INR One Thousand One Hundred & Nine Only | 20 | Extra for providing lipping with 2nd class teak wood battens 25 mm minimum depth on all edges of flush door shutters (over all area of door shutter to be measured). | item no.20 | 3.15 | sqm
21 | Extra for providing vision panel not exceeding 0.1 sqm in all type of flush doors (cost of glass excluded) (overall area of door shutter to be measured): | item no.21 | [52 empty] | 21 | Extra for providing vision panel not exceeding 0.1 sqm in all type of flush doors (cost of glass excluded) (overall area of door shutter to be measured): | item no.21
22 | Rectangular or square | item no.22 | 3.15 | sqm | 152.52 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 480 | 480 | INR Four Hundred & Eighty Only | 22 | Rectangular or square | item no.22 | 3.15 | sqm
23 | Extra for cutting rebate in flush door shutters (Total area of the shutter to be measured). | item no.23 | 3.15 | sqm | 82.11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 259 | 259 | INR Two Hundred & Fifty Nine Only | 23 | Extra for cutting rebate in flush door shutters (Total area of the shutter to be measured). | item no.23 | 3.15 | sqm
24 | Providing and fixing bright finished brass tower bolts (barrel type) with necessary screws etc. complete : | item no.24 | [52 empty] | 24 | Providing and fixing bright finished brass tower bolts (barrel type) with necessary screws etc. complete : | item no.24
25 | 250x10 mm | item no.25 | 2 | each | 328.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 656 | 656 | INR Six Hundred & Fifty Six Only | 25 | 250x10 mm | item no.25 | 2 | each
26 | Providing and fixing bright finished brass 100 mm mortice latch and lock with 6 levers and a pair of lever handles of approved quality with necessary screws etc. complete. | item no.26 | 1 | each | 634.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 635 | 635 | INR Six Hundred & Thirty Five Only | 26 | Providing and fixing bright finished brass 100 mm mortice latch and lock with 6 levers and a pair of lever handles of approved quality with necessary screws etc. complete. | item no.26 | 1 | each
27 | Providing and fixing bright finished brass handles with screws etc. complete: | item no.27 | [52 empty] | 27 | Providing and fixing bright finished brass handles with screws etc. complete: | item no.27
28 | 125 mm | item no.28 | 4 | each | 179.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 719 | 719 | INR Seven Hundred & Nineteen Only | 28 | 125 mm | item no.28 | 4 | each
29 | Providing and fixing bright finished brass hanging type floor door stopper with necessary screws, etc. complete. | item no.29 | 1 | each | 96.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 96 | 96 | INR Ninety Six Only | 29 | Providing and fixing bright finished brass hanging type floor door stopper with necessary screws, etc. complete. | item no.29 | 1 | each
30 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | item no.30 | 1 | each | 899.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 899 | 899 | INR Eight Hundred & Ninety Nine Only | 30 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | item no.30 | 1 | each
31 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : | item no.31 | [52 empty] | 31 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : | item no.31
32 | 300x16 mm | item no.32 | 1 | each | 228.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 228 | 228 | INR Two Hundred & Twenty Eight Only | 32 | 300x16 mm | item no.32 | 1 | each
33 | Providing and fixing partition upto ceiling height consisting of G.I. frame and required board, including providing and fixing of frame work made of special section power pressed/ roll form G.I. sheet with zinc coating of 120 gms/sqm(both side inclusive), consisting of floor and ceiling channel 50mm wide having equal flanges of 32 mm and 0.50 mm thick, fixed to the floor and ceiling at the spacing of 610 mm centre to centre with dash fastener of 12.5 mm dia meter 50 mm length or suitable anchor fastener or metal screws with nylon plugs and the studs 48 mm wide having one flange of 34 mm and other flange 36 mm and 0.50 mm thick fixed vertically within flanges of floor and ceiling channel and placed at a spacing of 610 mm centre to centre by 6 mm dia bolts and nuts, including fixing of studs along both ends of partition fixed flush to wall with suitable anchor fastener or metal screws with nylon plugs at spacing of 450 mm centre to centre, and fixing of boards to both side of frame work by 25 mm long dry wall screws on studs, floor and ceiling channels at the spacing of 300 mm centre to centre. The boards are to be fixed to the frame work with joints staggered to avoid through cracks, M.S. fixing channel of 99 mm width (0.9 mm thick having two flanges of 9.5 mm each) to be provided at the horizontal joints of two boards, fixed to the studs using metal to metal flat head screws, including jointing and finishing to a flush finish with recommended jointing compound, jointing tape, angle beads at corners (25 mm x 25 mm x 0.5 mm), joint finisher and two coats of primer suitable for board as per manufacture's specification and direction of engineer in charge all complete. | item no.33 | [52 empty] | 33 | Providing and fixing partition upto ceiling height consisting of G.I. frame and required board, including providing and fixing of frame work made of special section power pressed/ roll form G.I. sheet with zinc coating of 120 gms/sqm(both side inclusive), consisting of floor and ceiling channel 50mm wide having equal flanges of 32 mm and 0.50 mm thick, fixed to the floor and ceiling at the spacing of 610 mm centre to centre with dash fastener of 12.5 mm dia meter 50 mm length or suitable anchor fastener or metal screws with nylon plugs and the studs 48 mm wide having one flange of 34 mm and other flange 36 mm and 0.50 mm thick fixed vertically within flanges of floor and ceiling channel and placed at a spacing of 610 mm centre to centre by 6 mm dia bolts and nuts, including fixing of studs along both ends of partition fixed flush to wall with suitable anchor fastener or metal screws with nylon plugs at spacing of 450 mm centre to centre, and fixing of boards to both side of frame work by 25 mm long dry wall screws on studs, floor and ceiling channels at the spacing of 300 mm centre to centre. The boards are to be fixed to the frame work with joints staggered to avoid through cracks, M.S. fixing channel of 99 mm width (0.9 mm thick having two flanges of 9.5 mm each) to be provided at the horizontal joints of two boards, fixed to the studs using metal to metal flat head screws, including jointing and finishing to a flush finish with recommended jointing compound, jointing tape, angle beads at corners (25 mm x 25 mm x 0.5 mm), joint finisher and two coats of primer suitable for board as per manufacture's specification and direction of engineer in charge all complete. | item no.33
34 | 75 mm overall thickness partition with 12.5 mm thick double skin fire rated Glass Reinforced Gypsum (GRG) plaster board conforming to IS: 2095: part 3 (Board with BIS certification marks) | item no.34 | 18.72 | sqm | 1576.19 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 29506 | 29506 | INR Twenty Nine Thousand Five Hundred & Six Only | 34 | 75 mm overall thickness partition with 12.5 mm thick double skin fire rated Glass Reinforced Gypsum (GRG) plaster board conforming to IS: 2095: part 3 (Board with BIS certification marks) | item no.34 | 18.72 | sqm
35 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality. | item no.35 | [52 empty] | 35 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality. | item no.35
36 | 1.5 mm thick | item no.36 | 6.3 | sqm | 780.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4919 | 4919 | INR Four Thousand Nine Hundred & Nineteen Only | 36 | 1.5 mm thick | item no.36 | 6.3 | sqm
37 | Providing and fixing frame work for partitions/ wall lining etc. made of 50x50x1.6 mm hollow MS tube, placed along the walls, ceiling and floor in a grid pattern with spacing @ 60 cm centre to centre both ways (vertically & horizontally) or at required spacing near opening, with necessary welding at junctions and fixing the frame to wall/ ceiling/ floors with steel dash fasteners of 8 mm dia, 75 mm long bolt, including making provision for opening for doors, windows, electrical conduits, switch boards etc., including providing with two coats of approved steel primer etc. complete, all as per direction of Engineer-in-charge. | item no.37 | 85 | kg | 116.92 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9938 | 9938 | INR Nine Thousand Nine Hundred & Thirty Eight Only | 37 | Providing and fixing frame work for partitions/ wall lining etc. made of 50x50x1.6 mm hollow MS tube, placed along the walls, ceiling and floor in a grid pattern with spacing @ 60 cm centre to centre both ways (vertically & horizontally) or at required spacing near opening, with necessary welding at junctions and fixing the frame to wall/ ceiling/ floors with steel dash fasteners of 8 mm dia, 75 mm long bolt, including making provision for opening for doors, windows, electrical conduits, switch boards etc., including providing with two coats of approved steel primer etc. complete, all as per direction of Engineer-in-charge. | item no.37 | 85 | kg
38 | STEEL WORK | item no.38 | [52 empty] | 38 | STEEL WORK | item no.38
39 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. | item no.39 | [52 empty] | 39 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. | item no.39
40 | In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | item no.40 | 3.6 | kg | 124.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 449 | 449 | INR Four Hundred & Forty Nine Only | 40 | In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | item no.40 | 3.6 | kg
41 | Providing and fixing carbon steel galvanised ( minimum coating 5 micron) dash fastener of 10 mm dia double threaded 6.8 grade (yield strength 480 N/mm2), counter sunk head, comprising of 10 mm dia polyamide PA 6 grade sleeve, including drilling of hole in frame , concrete/ masonry, etc. as per direction of Engineer-in-charge. | item no.41 | [52 empty] | 41 | Providing and fixing carbon steel galvanised ( minimum coating 5 micron) dash fastener of 10 mm dia double threaded 6.8 grade (yield strength 480 N/mm2), counter sunk head, comprising of 10 mm dia polyamide PA 6 grade sleeve, including drilling of hole in frame , concrete/ masonry, etc. as per direction of Engineer-in-charge. | item no.41
42 | 10 x 60 mm | item no.42 | 16 | each | 97.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1567 | 1567 | INR One Thousand Five Hundred & Sixty Seven Only | 42 | 10 x 60 mm | item no.42 | 16 | each
43 | Providing & fixing glass panes with putty and glazing clips in steel doors, windows, clerestory windows, all complete with : | item no.43 | [52 empty] | 43 | Providing & fixing glass panes with putty and glazing clips in steel doors, windows, clerestory windows, all complete with : | item no.43
44 | 5.5 mm thick glass panes | item no.44 | 0.15 | sqm | 1090.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 164 | 164 | INR One Hundred & Sixty Four Only | 44 | 5.5 mm thick glass panes | item no.44 | 0.15 | sqm
45 | FLOORING | item no.45 | [52 empty] | 45 | FLOORING | item no.45
46 | Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab, including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand) : | item no.46 | [52 empty] | 46 | Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab, including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand) : | item no.46
47 | 25 mm thick | item no.47 | 0.5 | sqm | 1496.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 748 | 748 | INR Seven Hundred & Forty Eight Only | 47 | 25 mm thick | item no.47 | 0.5 | sqm
48 | Grouting the joints of flooring tiles having joints of 3 mm width, using epoxy grout mix of 0.70 kg of organic coated filler of desired shade (0.10 kg of hardener and 0.20 kg of resin per kg), including filling / grouting and finishing complete as per direction of Engineer-in-charge. | item no.48 | [52 empty] | 48 | Grouting the joints of flooring tiles having joints of 3 mm width, using epoxy grout mix of 0.70 kg of organic coated filler of desired shade (0.10 kg of hardener and 0.20 kg of resin per kg), including filling / grouting and finishing complete as per direction of Engineer-in-charge. | item no.48
49 | Size of Tile 600x600 mm | item no.49 | 120 | sqm | 226.79 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 27215 | 27215 | INR Twenty Seven Thousand Two Hundred & Fifteen Only | 49 | Size of Tile 600x600 mm | item no.49 | 120 | sqm
50 | ROOFING | item no.50 | [52 empty] | 50 | ROOFING | item no.50
51 | Providing and fixing thermal insulation with Resin Bonded Fibre glass wool conforming to IS: 8183 having density 24 kg/m3, 50 mm thick, wrapped in 200G Virgin Polythene Bags fixed to wall with screw, rawel plug & washers and held in position by criss crossing GI wire etc. complete as per directions of Engineer-in-Charge. | item no.51 | 18.72 | sqm | 269.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5045 | 5045 | INR Five Thousand &Forty Five Only | 51 | Providing and fixing thermal insulation with Resin Bonded Fibre glass wool conforming to IS: 8183 having density 24 kg/m3, 50 mm thick, wrapped in 200G Virgin Polythene Bags fixed to wall with screw, rawel plug & washers and held in position by criss crossing GI wire etc. complete as per directions of Engineer-in-Charge. | item no.51 | 18.72 | sqm
52 | FINISHING | item no.52 | [52 empty] | 52 | FINISHING | item no.52
53 | 12 mm cement plaster of mix : | item no.53 | [52 empty] | 53 | 12 mm cement plaster of mix : | item no.53
54 | 1:6 (1 cement: 6 coarse sand) | item no.54 | 3.36 | sqm | 258.09 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 867 | 867 | INR Eight Hundred & Sixty Seven Only | 54 | 1:6 (1 cement: 6 coarse sand) | item no.54 | 3.36 | sqm
55 | 6 mm cement plaster of mix : | item no.55 | [52 empty] | 55 | 6 mm cement plaster of mix : | item no.55
56 | 1:3 (1 cement : 3 fine sand) | item no.56 | 3.37 | sqm | 221.88 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 748 | 748 | INR Seven Hundred & Forty Eight Only | 56 | 1:3 (1 cement : 3 fine sand) | item no.56 | 3.37 | sqm
57 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | item no.57 | [52 empty] | 57 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | item no.57
58 | Two or more coats on new work | item no.58 | 107 | sqm | 81.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8701 | 8701 | INR Eight Thousand Seven Hundred & One Only | 58 | Two or more coats on new work | item no.58 | 107 | sqm
59 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.59 | 107 | sqm | 108.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11619 | 11619 | INR Eleven Thousand Six Hundred & Nineteen Only | 59 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.59 | 107 | sqm
60 | 15 mm cement plaster on rough side of single or half brick wall of mix: | item no.60 | [52 empty] | 60 | 15 mm cement plaster on rough side of single or half brick wall of mix: | item no.60
61 | 1:6 (1 cement: 6 coarse sand) | item no.61 | 92 | sqm | 297.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 27354 | 27354 | INR Twenty Seven Thousand Three Hundred & Fifty Four Only | 61 | 1:6 (1 cement: 6 coarse sand) | item no.61 | 92 | sqm
62 | 15 mm cement plaster 1:3 (1 cement: 3 coarse sand) finished with a floating coat of neat cement on the rough side of single or half brick wall. | item no.62 | 60 | sqm | 382.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 22953 | 22953 | INR Twenty Two Thousand Nine Hundred & Fifty Three Only | 62 | 15 mm cement plaster 1:3 (1 cement: 3 coarse sand) finished with a floating coat of neat cement on the rough side of single or half brick wall. | item no.62 | 60 | sqm
63 | Pointing on stone work with cement mortar 1:3 (1 cement : 3 fine sand) : | item no.63 | [52 empty] | 63 | Pointing on stone work with cement mortar 1:3 (1 cement : 3 fine sand) : | item no.63
64 | Flush/ Ruled pointing | item no.64 | 22 | sqm | 280.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6160 | 6160 | INR Six Thousand One Hundred & Sixty Only | 64 | Flush/ Ruled pointing | item no.64 | 22 | sqm
65 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade: | item no.65 | [52 empty] | 65 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade: | item no.65
66 | New work (Two or more coats applied @ 1.43 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | item no.66 | 100 | sqm | 142.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14235 | 14235 | INR Fourteen Thousand Two Hundred & Thirty Five Only | 66 | New work (Two or more coats applied @ 1.43 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | item no.66 | 100 | sqm
67 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade | item no.67 | [52 empty] | 67 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade | item no.67
68 | Old work (Two or more coats applied @ 1.43 ltr/ 10 sqm) over existing cement paint surface | item no.68 | 30 | sqm | 95.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2857 | 2857 | INR Two Thousand Eight Hundred & Fifty Seven Only | 68 | Old work (Two or more coats applied @ 1.43 ltr/ 10 sqm) over existing cement paint surface | item no.68 | 30 | sqm
69 | REPAIRS TO BUILDING | item no.69 | [52 empty] | 69 | REPAIRS TO BUILDING | item no.69
70 | Making the opening in brick masonry including dismantling in floor or walls by cutting masonry and making good the damages to walls, flooring and jambs complete, to match existing surface i/c disposal of mulba/ rubbish to the nearest municipal dumping ground, all complete as per direction of Engineer-in-Charge. | item no.70 | [52 empty] | 70 | Making the opening in brick masonry including dismantling in floor or walls by cutting masonry and making good the damages to walls, flooring and jambs complete, to match existing surface i/c disposal of mulba/ rubbish to the nearest municipal dumping ground, all complete as per direction of Engineer-in-Charge. | item no.70
71 | For door/ window/ clerestory window | item no.71 | 6.62 | sqm | 917.97 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6077 | 6077 | INR Six Thousand &Seventy Seven Only | 71 | For door/ window/ clerestory window | item no.71 | 6.62 | sqm
72 | Dismantling and Demolishing | item no.72 | [52 empty] | 72 | Dismantling and Demolishing | item no.72
73 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | item no.73 | 0.01 | cum | 2567.38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 26 | 26 | INR Twenty Six Only | 73 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | item no.73 | 0.01 | cum
74 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | item no.74 | 15.03 | sqm | 40.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 613 | 613 | INR Six Hundred & Thirteen Only | 74 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | item no.74 | 15.03 | sqm
75 | Demolishing brick tile covering in terracing including stacking of serviceable material and disposal of unserviceable material within 50 metres lead. | item no.75 | 690 | sqm | 76.11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 52516 | 52516 | INR Fifty Two Thousand Five Hundred & Sixteen Only | 75 | Demolishing brick tile covering in terracing including stacking of serviceable material and disposal of unserviceable material within 50 metres lead. | item no.75 | 690 | sqm
76 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | item no.76 | 110 | sqm | 39.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4345 | 4345 | INR Four Thousand Three Hundred & Forty Five Only | 76 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | item no.76 | 110 | sqm
77 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | item no.77 | 51 | cum | 192.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9809 | 9809 | INR Nine Thousand Eight Hundred & Nine Only | 77 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | item no.77 | 51 | cum
78 | ALUMINIUM WORK | item no.78 | [52 empty] | 78 | ALUMINIUM WORK | item no.78
79 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : | item no.79 | [52 empty] | 79 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : | item no.79
80 | For fixed portion | item no.80 | [52 empty] | 80 | For fixed portion | item no.80
81 | Polyester powder coated aluminium (minimum thickness of polyester powder coating 50 micron) | item no.81 | 52.41 | kg | 416.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 21814 | 21814 | INR Twenty One Thousand Eight Hundred & Fourteen Only | 81 | Polyester powder coated aluminium (minimum thickness of polyester powder coating 50 micron) | item no.81 | 52.41 | kg
82 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): | item no.82 | [52 empty] | 82 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): | item no.82
83 | With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | item no.83 | 0.44 | sqm | 1162.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 511 | 511 | INR Five Hundred & Eleven Only | 83 | With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | item no.83 | 0.44 | sqm
84 | Providing and fixing double glazed hermetically sealed glazing in aluminium windows, ventilators and partition etc. with 6 mm thick clear float glass both side, having 12 mm air gap, including providing EPDM gasket, perforated aluminium spacers, desiccants, sealant (Both primary and secondary sealant) etc. as per specifications, drawings and direction of Engineer-in-charge complete. | item no.84 | 2.44 | sqm | 3518.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8586 | 8586 | INR Eight Thousand Five Hundred & Eighty Six Only | 84 | Providing and fixing double glazed hermetically sealed glazing in aluminium windows, ventilators and partition etc. with 6 mm thick clear float glass both side, having 12 mm air gap, including providing EPDM gasket, perforated aluminium spacers, desiccants, sealant (Both primary and secondary sealant) etc. as per specifications, drawings and direction of Engineer-in-charge complete. | item no.84 | 2.44 | sqm
85 | WATER PROOFING | item no.85 | [52 empty] | 85 | WATER PROOFING | item no.85
86 | Grading roof for water proofing treatment with | item no.86 | [52 empty] | 86 | Grading roof for water proofing treatment with | item no.86
87 | Cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size) | item no.87 | 48.2 | cum | 6585.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 317421 | 317421 | INR Three Lakh Seventeen Thousand Four Hundred & Twenty One Only | 87 | Cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size) | item no.87 | 48.2 | cum
88 | Providing and applying fibre reinforced elastomeric liquid water proofing membrane with resilient acrylic polymers having Sun Reflectivity Index (SRI) of 105 on top of concrete roof in three coats @10.76 litre/ 10 sqm. One coat of self-priming of elastomeric waterproofing liquid (dilution with water in the ratio of 3:1) and two coats of undiluted elastomeric waterproofing liquid (dry film thickness of complete application/system not less than 500 microns). The operation shall be carried out after scrapping and properly cleaning the surface to remove loose particles with wire brushes, complete in all respect as per the direction of Engineer-in-Charge. | item no.88 | 747 | sqm | 415.74 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 310558 | 310558 | INR Three Lakh Ten Thousand Five Hundred & Fifty Eight Only | 88 | Providing and applying fibre reinforced elastomeric liquid water proofing membrane with resilient acrylic polymers having Sun Reflectivity Index (SRI) of 105 on top of concrete roof in three coats @10.76 litre/ 10 sqm. One coat of self-priming of elastomeric waterproofing liquid (dilution with water in the ratio of 3:1) and two coats of undiluted elastomeric waterproofing liquid (dry film thickness of complete application/system not less than 500 microns). The operation shall be carried out after scrapping and properly cleaning the surface to remove loose particles with wire brushes, complete in all respect as per the direction of Engineer-in-Charge. | item no.88 | 747 | sqm
89 | NEW TECHNOLOGIES AND MATERIALS | item no.89 | [52 empty] | 89 | NEW TECHNOLOGIES AND MATERIALS | item no.89
90 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and direction of Engineer-In-charge complete in all respect. | item no.90 | [52 empty] | 90 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and direction of Engineer-In-charge complete in all respect. | item no.90
91 | SBR Polymer (@10% of cement weight) modified cementitious bond coat @ 2.2 kg cement per sqm of surface area mixed with specified proportion of approved polymer | item no.91 | 716 | sqm | 103.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 73920 | 73920 | INR Seventy Three Thousand Nine Hundred & Twenty Only | 91 | SBR Polymer (@10% of cement weight) modified cementitious bond coat @ 2.2 kg cement per sqm of surface area mixed with specified proportion of approved polymer | item no.91 | 716 | sqm
Total in Figures | [51 empty] | 1031771 | #REF! | Ten Lakh Thirty One Thousand Seven Hundred & Seventy One Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only

## Macros
Please Enable Macros to View BoQ information