## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: DOIP, IIT Kanpur
Name of Work: SITC of Air Conditioners and Water Heaters for GSMST Studio Apartment, IIT Kanpur
NIT No: HVAC/23/04/2024-1
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | MINOR CIVIL MAINTENANCE WORK: | item no.1 | [52 empty] | 1 | MINOR CIVIL MAINTENANCE WORK: | item no.1
2 | Providing and fixing of suitable size and type iron Stand made of 32x5 mm MS angle base for ODU mounting i/c 25x3 mm angle frme with fibre/ Aluminimum sheet canopy duly painted with VI Pad, Nut-bolt, washers etc for outdoor unit complete as required. | item no.2 | 88 | Each | 2217.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 195136 | 195136 | INR One Lakh Ninety Five Thousand One Hundred & Thirty Six Only | 2 | Providing and fixing of suitable size and type iron Stand made of 32x5 mm MS angle base for ODU mounting i/c 25x3 mm angle frme with fibre/ Aluminimum sheet canopy duly painted with VI Pad, Nut-bolt, washers etc for outdoor unit complete as required. | item no.2 | 88 | Each
3 | Providing and fixing SITC of copper cable | item no.3 | 160 | Each | 174.48 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 27917 | 27917 | INR Twenty Seven Thousand Nine Hundred & Seventeen Only | 3 | Providing and fixing SITC of copper cable | item no.3 | 160 | Each
4 | Supply Installation testing and commissioning of High wall split type air conditioner 2Tr 3Star Hot and Cold units of following capcity of approved inverter (Cooling only) model, with digtal display in IDU with cord less remote and other accessories complete with IDU and ODU with copper evap./cond. unit, R-32/ R410a refrigerant, vaccuming along with 3.0 meter copper pipe with insulation, PVC tape, electrical cabling, flexible conduit, flexible drain pipee i/c metalic/ PVC plutop etc. complete as required. | item no.4 | 88 | Each | 47932.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4218059 | 4218059 | INR Forty Two Lakh Eighteen Thousand &Fifty Nine Only | 4 | Supply Installation testing and commissioning of High wall split type air conditioner 2Tr 3Star Hot and Cold units of following capcity of approved inverter (Cooling only) model, with digtal display in IDU with cord less remote and other accessories complete with IDU and ODU with copper evap./cond. unit, R-32/ R410a refrigerant, vaccuming along with 3.0 meter copper pipe with insulation, PVC tape, electrical cabling, flexible conduit, flexible drain pipee i/c metalic/ PVC plutop etc. complete as required. | item no.4 | 88 | Each
5 | Supply Installation testing and commissioning of Storage Water Heater with all accessories such as flexible pipe, PVC plutop etc. complete as required. Capacity 10 L | item no.5 | 88 | Each | 10453.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 919891 | 919891 | INR Nine Lakh Nineteen Thousand Eight Hundred & Ninety One Only | 5 | Supply Installation testing and commissioning of Storage Water Heater with all accessories such as flexible pipe, PVC plutop etc. complete as required. Capacity 10 L | item no.5 | 88 | Each
Total in Figures | [51 empty] | 5361003 | #REF! | Fifty Three Lakh Sixty One Thousand &Three Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only

## Macros
Please Enable Macros to View BoQ information