## Sheet1 (hidden)
ESTIMATE
Name of Work: Replacement of damaged DG power cable going from DG House No. 4 to Science Block -216. | [6 empty] | 19.03.2020
S.No. | Description | Quantity | Unit | Rate | Amount | Base
1 | Supplying and making indoor end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed, XLPE aluminium conductor cable of 1.1kV grade as reqd. |  |  |  |  | DSR 9.1
a | 3½ X 95 sq. mm (45mm) | 2 | Set | 473 | 946 | DSR 9.1.24
2 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed , XLPE aluminium conductor cable of 1.1 kV grade as required.
a | 3½ X 95 sq. mm | 1 | Nos | 2478 | 2478 | DSR 9.4.21
3 | Providing, laying and fixing following dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep) and re-filling etc. as required
a | 80 mm dia | 40 | Mtr. | 803 | 32120 | DSR 14.13.2
4 | Supplying and laying of one No. PVC insulated & PVC sheathed , XLPE power cables (heavy duty) aluminium conductor, steel armoured cable of size 3.5 x 95sqmm, 1.1kV grade as per IS:7098 (Part-1) as reqd complete in following manners.
a | Laying direct in ground | 450 | Mtr. | 751 | 337950 | MR
b | Laying direct in pipe | 40 | Mtr. | 448 | 17920 | MR
c | Laying direct in open duct | 50 | Mtr. | 437 | 21850 | MR
d | in surface | 70 | Mtr. | 505 | 35350 | MR
5 | Lifting removing cable exceeding 35sq.mm. but not exceeding 95sq.mm. size from trench/clamps, making roll & depositing the same in store I/c cartage. | 100 | Mtr. | 152 | 15200 | MR
6 | Locating fault in the cable lines with fault locator and meggaring etc and rectifying removing & restoring the same and making good the damages etc as required. | 1 | Nos | 1727 | 1727 | MR
| Total |  |  |  | 465541
| Add contingency @5% |  |  |  | 23277.05
| Total Rs |  |  |  | 488818.05
| Say Rs |  |  |  | 488818

## boq
INDIAN INSTITUTE OF TECHNOLOGY KANPUR
Tender Notice No. 64 /IWD/ED/242
SCHEDULE OF QUANTITY
Name of Work:Electrical repairing of street light in Type-II,III, Airstrip area as per enclosed day to day complaints.
Name of the Contractor
S. No | Description of Items | Qty | Unit | Rate in Figures in Rupees | Amount
1 | Supplying and fixing 5 amps to 32 amps rating, 240 volts, 'C' series, MCB suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as reqd.
a | Single pole | 10 | Nos. |  | 0
2 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable/ HDPE pipe of 1.1 KV grade of following size Upto 35 sq. mm including excavation, sand cushioning, protective covering and refilling the trench etc as required.
a | direct in ground | 270 | Mtr |  | 0
b | In pipe | 42 | Mtr |  | 0
c | In Open duct | 4 | Mtr |  | 0
d | In surface | 40 | Mtr |  | 0
3 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
a | 2 X 25 sq. mm (22mm) | 4 | Each |  | 0
4 | Supplying & drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface / recessed steel / PVC conduit as reqd.
a) | 2 x 16 Sq.mm.. | 2 | Mtr. |  | 0
5 | Dismantling repairing cleaning and testing of all type of Tube Fitting /street light at abnormal hight on pole/ walls etc. as reqd. | 19 | Nos. |  | 0
6 | S&F, connecting and commissioning looping type cable end control box with MS sheet of 16 SWG of size 200 mm x 200 mm x 125 mm having 1 no. 6amp to 32 amp SPMCB 250 volt and 2 nos. brass neutral link 12.5 mm square rod 6 way approx. 60 mm long and fixed on 5 mm thick bakelite sheet. Box shall have almirah type hing and panel key type lock front door duly painted with earthing strud etc. complete as required. | 12 | Nos. |  | 0
7 | Supplying and fixing 40 A to 63 A rating, 240/415 V, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.
a | DP MCB | 1 | Nos. |  | 0
8 | Dismentling damaged switch/DB/KWH meter/ all type fitting / ceiling fan / Exhaust fan/ Wall Fan / pole fuse box/TPN switches metal helide box with MCB/Pole fuse box and depositing in the section store. | 41 | Nos. |  | 0
9 | Supply, installation, testing and commissioning of power contactor 3 pole, 32 Amp to 40 Amp CAT NO: SS90701, MAKE: L & T or equvalent with coil voltage 440 volts AC as reqd. | 3 | Nos. |  | 0
10 | Supplying and drawing of following sizes of FRLS PVC insulated copper conductor, 3 core round cable of following size in the existing surface/ recessed steel/ PVC conduit as required.
a | 1.5 Sq.mm | 40 | Mtrs. |  | 0
11 | Supplying of one no. XLPE cable aluminium conductor steel armoured cable of size 2x25sqmm, grade 1.1kV in following manners. | 40 | Mtr. |  | 0
12 | Fixing cross arm / street light brakcet/street light fitting with MS clamps GI bolts with washer as required. | 19 | Nos. |  | 0
13 | Dismentling of cross arm / street light brakcet/street light fitting from street light pole complete and depositing in the department store as required. | 1 | Nos. |  | 0
14 | Supply of HDPE pipe ISI mark of 32 mm (6Kg / cm²) size inner dia, 2mm thick I/c cartage loading & unloading etc. as reqd. | 316 | Mtr. |  | 0
15 | Locating fault in the cable lines with meggar etc and rectifying removing & restoring the same and making good the damages etc as required. | 48 | Nos. |  | 0
16 | Dismentling and refixing brass compression type gland up to 35 sq. mm. cable | 44 | Nos. |  | 0
17 | Digging trench for taking out cable and refilling , watering ,ramming the sameafter taking out cable as reqd complete. | 60 | Nos. |  | 0
18 | Drawing of optical cable enhanced cat5/ cat6/ telephone/ networking/ power cable in existing steel conduit pipe/GI/HDPE pipe including numbering of networking wire from room to rack as reqd. | 700 | Mtr. |  | 0
| Total Rs. |  |  |  | 0