## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Executive Engineer, IIT Kanpur
Name of Work: SITC of modular type Fan Coil Unit (floor/wall-mounted)FCU) with associated works at III, IV & Vth floor of North West Block Faculty Building.
Contract No: 12/AC/2021/89 dated 12.07.2021
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder in Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | SITC of floor cum ceiling suspended type fan coil units (Decorative type)The unit shall be complete with insulated drain tray , comprising of blower,2/3 speed fan motor , 2/3 row coil section, washable filter section, 2 way motorised valve with actuator, brass flair fittings complete for copper and MS pipe connection, i/c all necessary support /hangers, vibration isolators etc. complete as reqd. | Item1 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | 2.25 TR | Item2 | 4 | No. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | 2.0 TR | Item3 | 10 | No. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.03 | 1.5 TR | Item4 | 8 | No. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2 | Providing and fixing Digital controler (Thermostate) in fan coil units of up to 3.5 TR Capacity re-commissioning i/c dismantling old if any etc. complete as reqd. | Item5 | 22 | No. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
3 | upplying and fixing of PN-16 butterfly valves cast iron body and SS disc of size 200 mm to 400 mm gear type with removable hand lever and below 200 mm with hand lever operated including nut, bolt, flanges, gasket and insulation with thermocole/PUF/ Nitrile rubber as kind of existing pipe, painting with enamel / weather paint single / double coat asper standard specification as complete as reqd.make Advance or its equivalent. | Item6 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.01 | 150 mm | Item7 | 2 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.02 | 100 mm | Item8 | 2 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3.03 | 65 mm | Item9 | 12 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
4 | Providing and fixing in position the following size Pre-Insulated MS heavy class pipes cut to required lengths and installed with all welded joints, support and PUF blocks. Providing & fixing in position the necessary fittings like elbows, tees, reducers, hanging arrangement, supporting arrangement including vibration isolation arrangements with anti-seismic feature etc. as required. insulation shall be of PUF and of relative Thkness & with density 48+/-2 kg/cum, min. compressive stength 40 PSI and HDPE cladded with minimum Thkness of 3 mm. | Item10 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4.01 | MS Pipe dia. Min. Puf Thk. Min. Thk of HDPE Cladding | Item11 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4.02 | 150 mm 53 mm 4.4 mm | Item12 | 85 | Mtrs | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4.03 | 125mm 43 mm 3.5 mm | Item13 | 20 | Mtrs | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4.04 | 100 mm 43 mm 3.2 mm | Item14 | 40 | Mtrs | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
4.05 | 80 mm 43 mm 3.0 mm | Item15 | 40 | Mtrs | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4.06 | 65 mm 39 mm 3.0 mm | Item16 | 220 | Mtrs | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4.07 | 50 mm 37 mm 3.0 mm | Item17 | 80 | Mtrs | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
5 | Supply & laying, testing & commissioning mild steel "C" class pipe of size as mentioned below on exposed surface/underground with fabrication of bends,k tee, reducers, (brick masonry block & wooden support for underground/MS C channel/angle-clamp & wooden support for exposed sufrace) alongwith priming coat of steel primer as per standard specification. | Item18 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
5.01 | 40 mm | Item19 | 60 | Mtrs | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
5.02 | 32 mm | Item20 | 40 | Mtrs | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5.03 | 25 mm | Item21 | 240 | Mtrs | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6 | Supplying & fixing, insulation on existing pipe on exposed surface / underground of following sizes with 50 mm thick thermocole ( polystrene) pipe section alongwith hessian cloth, wiremesh, bitumen, & cement - sand plaster, painting two or more coat to give even shade after applying one coat of ordinary paint etc complete as required. | Item22 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
6.01 | 40 mm | Item23 | 60 | Mtrs | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6.02 | 32 mm | Item24 | 40 | Mtrs | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6.03 | 25 mm | Item25 | 240 | Mtrs | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7 | Providing and fixing Aluminium cladding made of 26 swg thick aluminium sheet i/c bend, reducer, tee, cap end etc complete as required. | Item26 | 12 | Sqm | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8 | Supply & fixing of copper piping 5/8" or 1/4" with 19 mm thick nitral insulation on surface / recessed with flair nut, clamps etc. complete as reqd. | Item27 | 30 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
9 | Making a brick masonary chambers 1.50 x1.00 x1.20 mtrs deep in side with first class designation brick work in cement mortar 1:6 coarse sand with frame of angle iron 35mmx35mm x6mm with top cover 2mm thick ms sheet fixed with top of the slab with handle and locking arrangement as per standard specifications. | Item28 | 1 | No | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10 | Supply & fixing connecting and commissioning 20 mm dia auto air purging value Model No-AAV 20/25, Anergy make or equavelant complete as required. | Item29 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
10.01 | 20 mm | Item30 | 2 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
10.02 | 25 mm | Item31 | 2 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
11 | Supplying, fixing, testing and commissioning of Stainless Steel ball valve of following size with compatible to proportioning Copper/MS pipe i/c all necessary accessories, socket ,nipple, port /hangers, including old dismantling if any complete as reqd. Make Sant or equivelant. | Item32 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
11.01 | 20 mm | Item33 | 2 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
11.02 | 25 mm | Item34 | 25 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
12 | Providing & fixing o brass ball valve with Y-strainer of following size with compatible to proportioning Copper/MS pipe i/c all necessary support/hangers & dismantling old if any complete as reqd. Make Sant model no FBV - 4 or equivelant. | Item35 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
12.01 | 20 mm | Item36 | 8 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
12.02 | 25 mm | Item37 | 14 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
13 | Wiring for circuit/Submain wiring alongwith earth wire with the following size of FRLS PVC insulated dopper conductor, single core cable in sorface/recessed medium class PVC conduit as required. | Item38 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
13.01 | 2 x 1.5 sq.mm + 1 x 1.5 sq.mm earth wire | Item39 | 80 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
13.02 | 2 x 2.5 sq.mm + 1 x 2.5 sq.mm earth wire | Item40 | 40 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
14 | Supply & installation of DLP trunking 105 x 50 mm and accessories plastic trunking without cover and partitions etc as reqd. | Item41 | 40 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
15 | Supplying & installation of flexible cover 85 mm for DLP trunking size 105 mm x 50 mm etc as reqd. | Item42 | 40 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
16 | Cutting, dismantling and removing old damaged/defective insulation and making the same of thermocole insulation (i.e.- hessian cloth, wire mesh, send, cement, plaster) from chilled water pipe line of following size, cleaning of pipe and shifting the waste material up to desired location as reqd. | Item43 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
16.01 | 250 mm to 400 mm dia | Item44 | 2 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
17 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. | Item45 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
17.01 | 20 mm nominal outer dia Pipes | Item46 | 10 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
17.02 | 25 mm nominal outer dia Pipes | Item47 | 50 | Mtr | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
17.03 | 32 mm nominal outer dia Pipes | Item48 | 10 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
17.04 | 40 mm nominal outer dia Pipes | Item49 | 35 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
18 | Cutting & dismantling of condenser / chilled water pipe line for drain out the water from supply and return pipe line and making good i/c back filling of water in pipe line size from 20 mm to 400 mm dia including testing & commissioning etc as required. | Item50 | 1 | Job | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
19 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m : All kinds of soil: | Item51 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
19.01 | Pipes exceeding 80 mm dia but not exceeding 350 mm dia. | Item52 | 60 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
20 | Supply fixing connecting & commissioning of 5 Amp. 3 pin Plug top as reqd. make Anchor or its Equivalent. | Item53 | 22 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
21 | Supply and fixing industrial type thermometer of proportioning length with adjustable angle, direct reading including thermowell socket. Thermometer shall be suitable to read water temperature of range 0°C to 50°C completed as required. | Item54 | 2 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
22 | Providing and fixing 0-150 PSIG industrial type pressure gauge in position of 65/100 mm dia with petcock valves (gun metal / brass) complete with pressure snobber, nipple etc complete as required. | Item55 | 2 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
23 | Providing and fixing double scaffolding system (cup lock type) on the exterior side, up to seven story height made with 40 mm dia M.S. tube 1.5 m centre to centre, horizontal & vertical tubes joining with cup & lock system with M.S. tubes, M.S. tube challies, M.S. clamps and M.S. staircase system in the scaffolding for working platform etc. and maintaining it in a serviceable condition for the required duration as approved and removing it there after .The scaffolding system shall be stiffened with bracings, runners, connection with the building etc wherever required for inspection of work at required locations with essential safety features for the workmen etc. complete as per directions and approval of Engineer-in-charge .The elevational area of the scaffolding shall be measured for payment purpose .The payment will be made once irrespective of duration of scaffolding. Note: - This item to be used for maintenance work judicially, necessary deduction for scaffolding in the existing item to be done. | Item56 | 60 | SqM | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
Total in Figures | [51 empty] | 0 | 0 | INR Zero Only | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | Zero Only
Quoted Rate in Words |  | INR Zero Only

## Macros
Please Enable Macros to View BoQ information