## Sheet1
Original Estimate
N/W | Repairing work in window of house no. P-3 SBRA including internal white washing & painting of house no. P-3, Z-20, Z-21 SBRA, A-204 & A-402 F/A
SLNo | Description | Qty | Unit | Rate | Amount | DSR No.
1 | STEEL WORK |  |  |  |  | 10
1.1 | Providing and fixing factory made ISI marked steel glazed doors, windows and ventilators, side /top /centre hung, with beading and all members such as F7D,F4B, K11 B and K12 B etc. complete of standard rolled steel sections, joints mitred and flash butt welded and sash bars tenoned and riveted, including providing and fixing of hinges, pivots, including priming coat of approved steel primer, but excluding the cost of other fittings, complete all as per approved design, (sectional weight of only steel members shall be measured for payment). |  |  |  |  | 10.11
1.1.1 | Fixing with 15x3 mm lugs 10 cm long embedded in cement concrete block 15x10x10 cm of C.C. 1:3:6 (1 Cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size) | 3 | kg | 166.5 | 500 | 10.11.1 | SR
| Sub-Total |  |  |  | 500
2 | FINISHING |  |  |  |  | 13
2.1 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. |  |  |  |  | 13.42
2.1.1 | Two or more coats on new work | 1475 | sqm | 87.15 | 128546 | 13.42.1 | SR
2.2 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 215 | sqm | 115.15 | 24757 | 13.8 | SR
2.3 | White washing with lime to give an even shade : |  |  |  |  | 13.87
2.3.1 | Old work (two or more coats) | 150 | sqm | 16.75 | 2513 | 13.87.1 | SR
2.4 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | 215 | sqm | 18.25 | 3924 | 13.91 | SR
2.5 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : |  |  |  |  | 13.99
2.5.1 | One or more coats on old work | 270 | sqm | 79.95 | 21587 | 13.99.1 | SR
2.6 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade |  |  |  |  | 13.112
2.6.1 | Old work (Two or more coats applied @ 1.43 ltr/ 10 sqm) over existing cement paint surface | 180 | sqm | 97.75 | 17595 | 13.112.1 | SR
| Sub-Total |  |  |  | 198922
3 | REPAIRS TO BUILDING |  |  |  |  | 14
3.1 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. |  |  |  |  | 14.1
3.1.1 | With cement mortar 1:4 (1cement: 4 coarse sand) | 13 | sqm | 429.6 | 5585 | 14.1.2 | SR
| Sub-Total |  |  |  | 5585
4 | NEW TECHNOLOGIES AND MATERIALS |  |  |  |  | 26
4.1 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and direction of Engineer-In-charge complete in all respect. |  |  |  |  | 26.31
4.1.1 | SBR Polymer (@10% of cement weight) modified cementitious bond coat @ 2.2 kg cement per sqm of surface area mixed with specified proportion of approved polymer | 1 | sqm | 117.3 | 117 | 26.31.1 | SR
4.2 | Providing, mixing and applying SBR polymer (of approved make) modified Cement mortar in proportion of 1:4 (1 cement: 4 graded coarse sand with polymer minimum 2% by wt. of cement used) as per specifications and directions of Engineer-in-charge. |  |  |  |  | 26.32
4.2.1 | 25 mm average thickness in 2 layers. | 1 | sqm | 471 | 471 | 26.32.2 | SR
| Sub-Total |  |  |  | 588
| Total |  |  |  | 205595
| Add Contingencies @3% on 205,595.00 |  |  |  | 6167.85
| Grand Total |  |  |  | 211762.85
| Say |  |  |  | 211763

## BOQ
Original Estimate
N/W | Repairing work in window of house no. P-3 SBRA including internal white washing & painting of house no. P-3, Z-20, Z-21 SBRA, A-204 & A-402 F/A
SLNo | Description | Qty | Unit | Rate without GST | Amount
1 | STEEL WORK
1.1 | Providing and fixing factory made ISI marked steel glazed doors, windows and ventilators, side /top /centre hung, with beading and all members such as F7D,F4B, K11 B and K12 B etc. complete of standard rolled steel sections, joints mitred and flash butt welded and sash bars tenoned and riveted, including providing and fixing of hinges, pivots, including priming coat of approved steel primer, but excluding the cost of other fittings, complete all as per approved design, (sectional weight of only steel members shall be measured for payment).
1.1.1 | Fixing with 15x3 mm lugs 10 cm long embedded in cement concrete block 15x10x10 cm of C.C. 1:3:6 (1 Cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size) | 3 | kg | 145.99 | 437.97
2 | FINISHING
2.1 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification.
2.1.1 | Two or more coats on new work | 1475 | sqm | 76.41 | 112704.75
2.2 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 215 | sqm | 100.96 | 21706.4
2.3 | White washing with lime to give an even shade :
2.3.1 | Old work (two or more coats) | 150 | sqm | 14.69 | 2203.5
2.4 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | 215 | sqm | 16 | 3440
2.5 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade :
2.5.1 | One or more coats on old work | 270 | sqm | 70.1 | 18927
2.6 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade
2.6.1 | Old work (Two or more coats applied @ 1.43 ltr/ 10 sqm) over existing cement paint surface | 180 | sqm | 85.71 | 15427.8
3 | REPAIRS TO BUILDING
3.1 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge.
3.1.1 | With cement mortar 1:4 (1cement: 4 coarse sand) | 13 | sqm | 376.68 | 4896.84
4 | NEW TECHNOLOGIES AND MATERIALS
4.1 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and direction of Engineer-In-charge complete in all respect.
4.1.1 | SBR Polymer (@10% of cement weight) modified cementitious bond coat @ 2.2 kg cement per sqm of surface area mixed with specified proportion of approved polymer | 1 | sqm | 102.85 | 102.85
4.2 | Providing, mixing and applying SBR polymer (of approved make) modified Cement mortar in proportion of 1:4 (1 cement: 4 graded coarse sand with polymer minimum 2% by wt. of cement used) as per specifications and directions of Engineer-in-charge.
4.2.1 | 25 mm average thickness in 2 layers. | 1 | sqm | 412.98 | 412.98
| Total |  |  |  | 180260.09