## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Superintending Engineer, IWD, IIT, Kanpur
Name of Work: Laying of vitrified tiles floor over mosaic floor in house no 467,Renovation of entrance toilet with tiles and Provision of Stair case for approachable roof in house no 467.
Contract No: 36/C/D2/2021-22/02
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | EARTH WORK | item no.1 | [52 empty] | 1 | REINFORCED CEMENT CONCRETE | item no.1 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in-charge. | item no.2 | [52 empty] | 1.01 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement, with 1:1.5:3 (1 cement: 1.5 coarse sand (zone-III)derived from natural sources: 3 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.2 | 0.22 | cum | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | All kinds of soil | item no.3 | 1.92 | cum | 159.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 306 | 306 | INR Three Hundred & Six Only | 1.02 | Centering and shuttering including strutting, propping etc. and removal of form for | item no.3 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2 | CONCRETE WORK | item no.4 | [52 empty] | 1.03 | Shelves (Cast in situ) | item no.4 | 3.5 | sqm
2.01 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | item no.5 | [52 empty] | 1.04 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. | item no.5
2.02 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources: 4 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.6 | 1.35 | cum | 5952.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8036 | 8036 | INR Eight Thousand &Thirty Six Only | 1.05 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | item no.6 | 26 | kg
2.03 | Centering and shuttering including strutting, propping etc. and removal of form work for : | item no.7 | [52 empty] | 2.01 | MASONRY WORK | item no.7
2.04 | Foundations, footings, bases for columns | item no.8 | 14 | sqm | 249.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3497 | 3497 | INR Three Thousand Four Hundred & Ninety Seven Only | 2.02 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. | item no.8 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.05 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | item no.9 | 0.54 | sqm | 538.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 291 | 291 | INR Two Hundred & Ninety One Only | 2.03 | Cement mortar 1:4 (1 cement :4 coarse sand) | item no.9 | 1.6 | sqm
3 | REINFORCED CEMENT CONCRETE | item no.10 | [52 empty] | 3 | CLADDING WORK | item no.10 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.01 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement | item no.11 | [52 empty] | 3.01 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. | item no.11 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
3.02 | 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.12 | 0.11 | cum | 8159.57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 898 | 898 | INR Eight Hundred & Ninety Eight Only | 3.02 | Granite of any colour and shade | item no.12
3.03 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement, with 1:1.5:3 (1 cement: 1.5 coarse sand (zone-III)derived from natural sources: 3 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.13 | 2.56 | cum | 8560.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 21916 | 21916 | INR Twenty One Thousand Nine Hundred & Sixteen Only | 3.03 | Area of slab over 0.50 sqm | item no.13 | 3.2 | sqm | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.04 | Centering and shuttering including strutting, propping etc. and removal of form for | item no.14 | [52 empty] | 3.04 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | item no.14 | 3 | each
3.05 | Foundations, footings, bases of columns, etc. for mass concrete | item no.15 | 0.52 | sqm | 249.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 130 | 130 | INR One Hundred & Thirty Only | 3.05 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | item no.15 | 9 | sqm
3.06 | Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. | item no.16 | 1.01 | sqm | 534.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 540 | 540 | INR Five Hundred & Forty Only | 4 | WOOD AND PVC WORK | item no.16
3.07 | Suspended floors, roofs, landings, balconies and access platform | item no.17 | 2.9 | sqm | 607.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1762 | 1762 | INR One Thousand Seven Hundred & Sixty Two Only | 4.01 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately). | item no.17
3.08 | Stairs, (excluding landings) except spiral-staircases | item no.18 | 12.86 | sqm | 545.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7017 | 7017 | INR Seven Thousand &Seventeen Only | 4.02 | Sal wood | item no.18 | 0.012 | cum
3.09 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. | item no.19 | [52 empty] | 4.03 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: | item no.19
3.1 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | item no.20 | 403 | kg | 73.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 29504 | 29504 | INR Twenty Nine Thousand Five Hundred & Four Only | 4.04 | 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | item no.20 | 4.4 | sqm
4 | MASONRY WORK | item no.21 | [52 empty] | 4.05 | Extra for cutting rebate in flush door shutters (Total area of the shutter to be measured). | item no.21 | 4.4 | sqm
4.01 | Brick work with common burnt clay modular bricks of class designation 7.5 in foundation and plinth in: | item no.22 | [52 empty] | 4.06 | Providing and fixing oxidised M.S. casement stays (straight peg type) with necessary screws etc. complete. | item no.22
4.02 | Cement Mortar 1:6 (1 cement : 6 coarse sand). | item no.23 | 0.13 | cum | 4649.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 604 | 604 | INR Six Hundred & Four Only | 4.07 | 250 mm weighing not less than 150 gms | item no.23 | 12 | each
4.03 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : | item no.24 | [52 empty] | 4.08 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | item no.24 | 3 | each
4.04 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.25 | 4 | cum | 6655.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 26621 | 26621 | INR Twenty Six Thousand Six Hundred & Twenty One Only | 4.09 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : | item no.25
5 | CLADDING WORK | item no.26 | [52 empty] | 4.1 | 300x16 mm | item no.26 | 3 | each
5.01 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | item no.27 | 18.3 | sqm | 903.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 16532 | 16532 | INR Sixteen Thousand Five Hundred & Thirty Two Only | 4.11 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.27
6 | WOOD AND PVC WORK | item no.28 | [52 empty] | 4.12 | 250x10 mm | item no.28 | 4 | each
6.01 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately). | item no.29 | [52 empty] | 4.13 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.29
6.02 | Second class teak wood | item no.30 | 0.033 | cum | 114145.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3767 | 3767 | INR Three Thousand Seven Hundred & Sixty Seven Only | 4.14 | 125 mm | item no.30 | 8 | each
6.03 | Providing and fixing glazed shutters for doors, windows and clerestory windows using 4 mm thick float glass panes, including ISI marked M.S. pressed butt hinges bright finished of required size with necessary screws. | item no.31 | [52 empty] | 4.15 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. | item no.31
6.04 | Second class teak wood | item no.32 | [52 empty] | 4.16 | Twin rubber stopper | item no.32 | 3 | each
6.05 | 35 mm thick | item no.33 | 0.61 | sqm | 3817.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2329 | 2329 | INR Two Thousand Three Hundred & Twenty Nine Only | 4.17 | Providing and fixing bright finished brass 100 mm mortice latch and lock, ISI marked, with six levers and a pair of anodised (anodic coating not less than grade AC 10 as per IS : 1868) aluminium lever handles of approved quality with necessary screws etc. complete. | item no.33 | 3 | each
6.06 | Providing and fixing ISI marked oxidised M.S. tower bolt black finish, (Barrel type) with necessary screws etc. complete : | item no.34 | [52 empty] | 5 | ROOFING | item no.34
6.07 | 100x10 mm | item no.35 | 1 | each | 33.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 34 | 34 | INR Thirty Four Only | 5.01 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main "T" runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross "T" of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main "T" at 600 mm center to center to form a grid of 1200x600 mm and secondary cross "T" of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main "T" runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge. | item no.35
6.08 | Providing and fixing ISI marked oxidised M.S. handles conforming to IS:4992 with necessary screws etc. complete : | item no.36 | [52 empty] | 5.02 | 12.5 mm thick square edge PVC Laminated Gypsum Tile of size 595x595 mm, made of Gypsum plasterboard, manufactured from natural gypsum as per IS 2095 part I and laminated with white 0.16mm thick fire retardant PVC film on the face side and 12micron metalized polyester on the back side with all edges sealed with the face side PVC film which goes around and wraps the edges and is bonded to the edges and the back side metalized polyester film so as to make the tile a completely sealed unit. | item no.36 | 84 | sqm
6.09 | 100 mm | item no.37 | 1 | each | 24.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 25 | 25 | INR Twenty Five Only | 6 | FINISHING | item no.37
6.1 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.38 | [52 empty] | 6.01 | 6 mm cement plaster of mix : | item no.38
6.11 | 100x10 mm | item no.39 | 1 | each | 50.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 51 | 51 | INR Fifty One Only | 6.02 | 1:3 (1 cement : 3 fine sand) | item no.39 | 3.15 | sqm
6.12 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.40 | [52 empty] | 6.03 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | item no.40
6.13 | 100 mm | item no.41 | 1 | each | 46.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 46 | 46 | INR Forty Six Only | 6.04 | Two or more coats on new work | item no.41 | 210 | sqm
6.14 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. | item no.42 | [52 empty] | 6.05 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : | item no.42
6.15 | Twin rubber stopper | item no.43 | 4 | each | 54.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 218 | 218 | INR Two Hundred & Eighteen Only | 6.06 | Two or more coats on new work | item no.43 | 35 | sqm
6.16 | Providing and fixing wire gauge shutters using stainless steel grade 304 wire gauge with wire of dia 0.5 mm and average width of aperture 1.4 mm in both directions for doors, windows and clerestory windows with necessary screws : | item no.44 | [52 empty] | 6.07 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.44
6.17 | 35 mm thick shutters | item no.45 | [52 empty] | 6.08 | Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | item no.45 | 11 | sqm
6.18 | with ISI marked M.S. pressed butt hinges bright finished of required size | item no.46 | [52 empty] | 6.09 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.46 | 210 | sqm
6.19 | Second class teak wood | item no.47 | 0.3 | sqm | 3816.04 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1145 | 1145 | INR One Thousand One Hundred & Forty Five Only | 6.1 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | item no.47 | 210 | sqm
7 | STEEL WORK | item no.48 | [52 empty] | 6.11 | Distempering with 1st quality acrylic distemper (ready made) having VOC content less than 50 gm per ltr. of approved manufacturer and of required shade and colour complete. as per manufacturer's specification. | item no.48
7.01 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. | item no.49 | [52 empty] | 6.12 | One or more coats on old work | item no.49 | 84 | sqm
7.02 | In gratings, frames,base plate with or without hole with appropiate size, guard bar, ladder, railings, brackets, gates and similar works | item no.50 | 824 | kg | 114.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 94645 | 94645 | INR Ninety Four Thousand Six Hundred & Forty Five Only | 7 | REPAIRS TO BUILDING | item no.50
7.03 | Providing and fixing hand rail of approved size by welding etc. to steel ladder railing, balcony railing, staircase railing and similar works, including applying priming coat of approved steel primer. | item no.51 | [52 empty] | 7.01 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | item no.51
7.04 | M.S. tube | item no.52 | 290 | kg | 127.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 37033 | 37033 | INR Thirty Seven Thousand &Thirty Three Only | 7.02 | With cement mortar 1:4 (1cement: 4 coarse sand) | item no.52 | 5 | sqm
7.05 | Providing and fixing carbon steel galvanised ( minimum coating 5 micron) dash fastener of 10 mm dia double threaded 6.8 grade (yield strength 480 N/mm2), counter sunk head, comprising of 10 mm dia polyamide PA 6 grade sleeve, including drilling of hole in frame , concrete/ masonry, etc. as per direction of Engineer-in-charge. | item no.53 | [52 empty] | 7.03 | Renewing glass panes, with putty and nails wherever necessary including racking out the old putty: | item no.53
7.06 | 10 x 140 mm | item no.54 | 280 | each | 127.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 35756 | 35756 | INR Thirty Five Thousand Seven Hundred & Fifty Six Only | 7.04 | Float glass panes of nominal thickness 4 mm (weight not less than 10kg/sqm) | item no.54 | 6 | sqm
8 | FLOORING | item no.55 | [52 empty] | 8 | DISMANTLING AND DEMOLISHING | item no.55
8.01 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete. | item no.56 | [52 empty] | 8.01 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : | item no.56
8.02 | 40 mm thick with 20 mm nominal size stone aggregate | item no.57 | 5.4 | sqm | 436.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2360 | 2360 | INR Two Thousand Three Hundred & Sixty Only | 8.02 | Of area beyond 3 sq. metres | item no.57 | 1 | each
8.03 | Providing and fixing 1st quality ceramic glazed floor tiles conforming to IS : 15622 (thickness to be specified by the manufacturer ) of approved make in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge in skirting, risers of steps and dados over 12 mm thick bed of cement Mortar 1:3 (1 cement: 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm including pointing in white cement mixed with pigment of matching shade complete. | item no.58 | 5 | sqm | 813.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4068 | 4068 | INR Four Thousand &Sixty Eight Only | 9 | SANITARY INSTALLATIONS | item no.58
8.04 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. | item no.59 | [52 empty] | 9.01 | Providing and fixing white vitreous china laboratory sink including making all connections excluding cost of fittings : | item no.59
8.05 | Size of Tile 600x600 mm | item no.60 | 131 | sqm | 1315.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 172355 | 172355 | INR One Lakh Seventy Two Thousand Three Hundred & Fifty Five Only | 9.02 | Size 600x450x200 mm | item no.60 | 3 | each
8.06 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete. | item no.61 | [52 empty] | 9.03 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. | item no.61
8.07 | Size of Tile 600x600 mm | item no.62 | 12.5 | sqm | 1355.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 16943 | 16943 | INR Sixteen Thousand Nine Hundred & Forty Three Only | 9.04 | Flexible pipe | item no.62
9 | ROOFING | item no.63 | [52 empty] | 9.05 | 32 mm dia | item no.63 | 3 | each
9.01 | Making khurras 45x45 cm with average minimum thickness of 5 cm cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate of 20 mm nominal size) over P.V.C. sheet 1 m x1 m x 400 micron, finished with 12 mm cement plaster 1:3 (1 cement : 3 coarse sand) and a coat of neat cement, rounding the edges and making and finishing the outlet complete. | item no.64 | 1 | each | 213.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 214 | 214 | INR Two Hundred & Fourteen Only | 9.06 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | item no.64 | 2 | each
9.02 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. | item no.65 | [52 empty] | 10 | WATER SUPPLY | item no.65
9.03 | 110 mm diameter | item no.66 | 0.8 | metre | 267.47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 214 | 214 | INR Two Hundred & Fourteen Only | 10.01 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall | item no.66
10 | FINISHING | item no.67 | [52 empty] | 10.02 | 15 mm dia nominal bore | item no.67 | 8 | metre
10.01 | 12 mm cement plaster of mix : | item no.68 | [52 empty] | 10.03 | 20 mm dia nominal bore | item no.68 | 4 | metre
10.02 | 1:6 (1 cement: 6 coarse sand) | item no.69 | 19.47 | sqm | 231.08 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4499 | 4499 | INR Four Thousand Four Hundred & Ninety Nine Only | 10.04 | 40 mm dia nominal bore | item no.69 | 25 | metre
10.03 | 15 mm cement plaster on rough side of single or half brick wall of mix: | item no.70 | [52 empty] | 10.05 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete : | item no.70
10.04 | 1:6 (1 cement: 6 coarse sand) | item no.71 | 43.76 | sqm | 266.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11660 | 11660 | INR Eleven Thousand Six Hundred & Sixty Only | 10.06 | 25 to 40 mm nominal bore | item no.71 | 1 | each
10.05 | 15 mm cement plaster on rough side of single or half brick wall finished with a floating coat of neat cement of mix : | item no.72 | [52 empty] | 10.07 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : | item no.72
10.06 | 1:4 (1 cement: 4 fine sand) | item no.73 | 15.74 | sqm | 323.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5097 | 5097 | INR Five Thousand &Ninety Seven Only | 10.08 | 20 mm nominal bore | item no.73 | 2 | each
10.07 | 6 mm cement plaster of mix : | item no.74 | [52 empty] | 10.09 | Providing and fixing G.I. Union in existing G.I. pipe line, cutting and threading the pipe and making long screws, including excavation, refilling the earth or cutting of wall and making good the same complete wherever required : | item no.74
10.08 | 1:3 (1 cement : 3 fine sand) | item no.75 | 9.73 | sqm | 199.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1940 | 1940 | INR One Thousand Nine Hundred & Forty Only | 10.1 | 15 mm nominal bore | item no.75 | 3 | each
10.09 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | item no.76 | [52 empty] | 10.11 | 20 mm nominal bore | item no.76 | 3 | each
10.1 | Two or more coats on new work | item no.77 | 76 | sqm | 76.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5807 | 5807 | INR Five Thousand Eight Hundred & Seven Only | 10.12 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. | item no.77
10.11 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade: | item no.78 | [52 empty] | 10.13 | 15 mm nominal bore | item no.78 | 3 | each
10.12 | New work (Two or more coats applied @ 1.43 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | item no.79 | 72.96 | sqm | 141.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10309 | 10309 | INR Ten Thousand Three Hundred & Nine Only | 10.14 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. | item no.79
10.13 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : | item no.80 | [52 empty] | 10.15 | 15 mm nominal bore | item no.80 | 3 | each
10.14 | Two or more coats on new work | item no.81 | 66 | sqm | 106.57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7034 | 7034 | INR Seven Thousand &Thirty Four Only | 11 | MINOR CIVIL MAINTENANCE WORK: | item no.81
10.15 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.82 | [52 empty] | 11.01 | "P/F 1.50mm thick homogeneous polyvinyl chloride sheet/tile in flooring and skirting in approved pattern on a smooth and damp proof base using rubber base adhesive of approved quality and manufacturer like Dualpo S-758 , Fevicol SR 998 or equivalent including rolling with light wooden roller weight about 5 kg. All complete as directed by Engineer -in -charge in approved colour and shade. | item no.82 | 41 | Sqm
10.16 | Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | item no.83 | 5 | sqm | 155.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 777 | 777 | INR Seven Hundred & Seventy Seven Only | 11.02 | Removal of old PVC floor and proper scrapping, cleaning etc to prepare surface for reflooring as per direction incharge. | item no.83 | 41 | Sqm
10.17 | White washing with lime to give an even shade : | item no.84
10.18 | Old work (two or more coats) | item no.85 | 245 | sqm | 14.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3597 | 3597 | INR Three Thousand Five Hundred & Ninety Seven Only
10.19 | Removing white or colour wash by scrapping and sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete | item no.86 | 245 | sqm | 12.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3050 | 3050 | INR Three Thousand &Fifty Only
10.2 | Distempering with 1st quality acrylic distember (Ready mix) having VOC content less than 50 grams/ litre of approved brand and manufacture to give an even shade : | item no.87
10.21 | Old work (one or more coats) | item no.88 | 267 | sqm | 47.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12712 | 12712 | INR Twelve Thousand Seven Hundred & Twelve Only
10.22 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | item no.89 | 76 | sqm | 16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1216 | 1216 | INR One Thousand Two Hundred & Sixteen Only
10.23 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.90
10.24 | One or more coats on old work | item no.91 | 200 | sqm | 70.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14020 | 14020 | INR Fourteen Thousand &Twenty Only
10.25 | Finishing walls with Acrylic Smooth exterior paint of required shade : | item no.92
10.26 | Old work (One or more coat applied @ 0.90 ltr/10 sqm). | item no.93 | 20 | sqm | 59.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1181 | 1181 | INR One Thousand One Hundred & Eighty One Only
11 | REPAIRS TO BUILDING | item no.94
11.01 | Fixing chowkhats in existing opening including embedding chowkhats in floors or walls cutting masonry for holdfasts, embedding hold fasts in cement concrete blocks of size 15 x 10 x 10 cm with cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size), painting two coats of approved wood preservative to sides of chowkhats and making good the damages to walls and floors as required complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | item no.95
11.02 | Window chowkhats | item no.96 | 1 | each | 753.09 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 753 | 753 | INR Seven Hundred & Fifty Three Only
11.03 | Dismantling 15 to 40 mm dia G.I. pipe including stacking of dismantled pipes (within 50 metres lead) as per direction of Engineer-in-Charge. | item no.97 | 25 | metre | 2.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 59 | 59 | INR Fifty Nine Only
11.04 | Taking out existing wooden door shutter, repair by cutting, painting etc. and refixing of repaired door shutters to existing door frames, including replacement of hinges with screws, etc. as required, all complete as per the direction of the Engineer-in-charge. | item no.98 | 10 | each | 261.15 | 20610 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2612 | 2612 | INR Two Thousand Six Hundred & Twelve Only
12 | DISMANTLING AND DEMOLISHING | item no.99
12.01 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | item no.100
12.02 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | item no.101 | 0.19 | cum | 1523.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 289 | 289 | INR Two Hundred & Eighty Nine Only
12.03 | Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | item no.102 | 0.39 | cum | 940.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 367 | 367 | INR Three Hundred & Sixty Seven Only
12.04 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | item no.103 | 0.18 | cum | 2222.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 400 | 400 | INR Four Hundred Only
12.05 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | item no.104
12.06 | In cement mortar | item no.105 | 0.3 | cum | 1288.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 387 | 387 | INR Three Hundred & Eighty Seven Only
12.07 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. | item no.106
12.08 | For thickness of tiles 10 mm to 25 mm | item no.107 | 1.84 | sqm | 48.09 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 88 | 88 | INR Eighty Eight Only
12.09 | Demolishing mud phaska in terracing and disposal of material within 50 metres lead. | item no.108 | 0.08 | cum | 571.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 46 | 46 | INR Forty Six Only
12.1 | Dismantling G.I. pipes (external work) including excavation and refilling trenches after taking out the pipes, manually/ by mechanical means including stacking of pipes within 50 metres lead as per direction of Engineer-in-charge : | item no.109
12.11 | 15 mm to 40 mm nominal bore | item no.110 | 45 | metre | 94.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4267 | 4267 | INR Four Thousand Two Hundred & Sixty Seven Only
12.12 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | item no.111 | 60 | sqm | 34.19 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2051 | 2051 | INR Two Thousand &Fifty One Only
12.13 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | item no.112 | 2.34 | cum | 121.74 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 285 | 285 | INR Two Hundred & Eighty Five Only
13 | SANITARY INSTALLATIONS | item no.113
13.01 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : | item no.114
13.02 | W.C. pan with ISI marked white solid plastic seat and lid | item no.115 | 1 | each | 4612.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4613 | 4613 | INR Four Thousand Six Hundred & Thirteen Only
13.03 | Providing and fixing CP Brass 32mm size Bottle Trap of approved quality & make and as per the direction of Engineer-in-charge. | item no.116 | 1 | each | 774.26 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 774 | 774 | INR Seven Hundred & Seventy Four Only
13.04 | Providing and fixing CP Brass Single lever telephonic wall mixer of quality & make as approved by Engineer in charge. (a) 15 mm nominal dia | item no.117 | 1 | each | 5360.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5360 | 5360 | INR Five Thousand Three Hundred & Sixty Only
13.05 | Providing and fixing white vitreous china wash basin including making all connections but excluding the cost of fittings : | item no.118
13.06 | Flat back wash basin of size 550x400 mm | item no.119 | 1 | each | 787.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 788 | 788 | INR Seven Hundred & Eighty Eight Only
13.07 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | item no.120 | 1 | each | 1124.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1125 | 1125 | INR One Thousand One Hundred & Twenty Five Only
13.08 | Providing and fixing soil, waste and vent pipes : | item no.121
13.09 | 100 mm dia | item no.122
13.1 | Sand cast iron S&S pipe as per IS: 1729 | item no.123 | 0.2 | metre | 883.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 177 | 177 | INR One Hundred & Seventy Seven Only
13.11 | 75 mm diameter : | item no.124
13.12 | Sand cast iron S&S pipe as per IS: 1729 | item no.125 | 0.1 | metre | 809.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 81 | 81 | INR Eighty One Only
13.13 | Providing and fixing plain bend of required degree. | item no.126
13.14 | 100 mm dia | item no.127
13.15 | Sand cast iron S&S as per IS - 1729 | item no.128 | 1 | each | 334.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 334 | 334 | INR Three Hundred & Thirty Four Only
13.16 | Providing and fixing collar : | item no.129
13.17 | 100 mm | item no.130
13.18 | Sand cast iron S&S as per IS - 1729 | item no.131 | 1 | each | 320.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 320 | 320 | INR Three Hundred & Twenty Only
13.19 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter : | item no.132
13.2 | 100 mm | item no.133 | 1 | each | 422.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 422 | 422 | INR Four Hundred & Twenty Two Only
13.21 | 75 mm | item no.134 | 1 | each | 357.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 358 | 358 | INR Three Hundred & Fifty Eight Only
13.22 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : | item no.135
13.23 | 100 mm inlet and 100 mm outlet | item no.136
13.24 | Sand Cast Iron S&S as per IS: 1729 | item no.137 | 1 | each | 1116.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1116 | 1116 | INR One Thousand One Hundred & Sixteen Only
13.25 | 100 mm inlet and 75 mm outlet | item no.138
13.26 | Sand Cast Iron S&S as per IS- 1729 | item no.139 | 1 | each | 1054.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1054 | 1054 | INR One Thousand &Fifty Four Only
14 | WATER SUPPLY | item no.140
14.01 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall | item no.141
14.02 | 20 mm dia nominal bore | item no.142 | 20 | metre | 301.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6034 | 6034 | INR Six Thousand &Thirty Four Only
14.03 | Providing and fixing G.I. Pipes complete with G.I. fittings and clamps, i/c making good the walls etc. concealed pipe, including painting with anti corrosive bitumastic paint, cutting chases and making good the wall : | item no.143
14.04 | 15 mm dia nominal bore | item no.144 | 18 | metre | 392.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7064 | 7064 | INR Seven Thousand &Sixty Four Only
14.05 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. External work | item no.145
14.06 | 32 mm dia nominal bore | item no.146 | 1.5 | metre | 372.38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 559 | 559 | INR Five Hundred & Fifty Nine Only
14.07 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : | item no.147
14.08 | 20 mm nominal bore | item no.148 | 1 | each | 403.5 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 404 | 404 | INR Four Hundred & Four Only
14.09 | Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete : | item no.149
14.1 | 20 mm nominal bore | item no.150 | 1 | each | 338.79 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 339 | 339 | INR Three Hundred & Thirty Nine Only
14.11 | Providing and fixing uplasticised PVC connection pipe with brass unions : | item no.151
14.12 | 45 cm length | item no.152
14.13 | 15 mm nominal bore | item no.153 | 4 | each | 72.77 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 291 | 291 | INR Two Hundred & Ninety One Only
14.14 | Constructing masonry Chamber 30x30x50 cm inside, in brick work in cement mortar 1:4 (1 cement :4 coarse sand) for stop cock, with C. I. surface box 100x100 x75 mm (inside) with hinged cover fixed in cement concrete slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), i/c necessary excavation, foundation concrete 1:5:10 ( 1 cement : 5 fine sand : 10 graded stone aggregate 40mm nominal size ) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12mm thick, finished with a floating coat of neat cement complete as per standard design : | item no.154
14.15 | With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 | item no.155 | 1 | each | 1387.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1388 | 1388 | INR One Thousand Three Hundred & Eighty Eight Only
14.16 | Painting G.I. pipes and fittings with two coats of anti-corrosive bitumastic paint of approved quality : | item no.156
14.17 | 20 mm diameter pipe | item no.157 | 18 | metre | 9.73 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 175 | 175 | INR One Hundred & Seventy Five Only
14.18 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : | item no.158
14.19 | 15 mm nominal bore | item no.159 | 1 | each | 206.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 207 | 207 | INR Two Hundred & Seven Only
14.2 | 20 mm nominal bore | item no.160 | 1 | each | 228.97 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 229 | 229 | INR Two Hundred & Twenty Nine Only
14.21 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : | item no.161
14.22 | 15 mm nominal bore | item no.162 | 1 | each | 367.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 367 | 367 | INR Three Hundred & Sixty Seven Only
14.23 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. | item no.163
14.24 | 15 mm nominal bore | item no.164 | 1 | each | 484.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 484 | 484 | INR Four Hundred & Eighty Four Only
14.25 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. | item no.165
14.26 | 15 mm nominal bore | item no.166 | 2 | each | 531.56 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1063 | 1063 | INR One Thousand &Sixty Three Only
14.27 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 | item no.167
14.28 | 15mm nominal bore | item no.168 | 6 | each | 466.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2799 | 2799 | INR Two Thousand Seven Hundred & Ninety Nine Only
14.29 | Cutting holes up to 30x30 cm in walls including making good the same: | item no.169
14.3 | With common burnt clay F.P.S. (non modular) bricks | item no.170 | 1 | each | 286.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 287 | 287 | INR Two Hundred & Eighty Seven Only
15 | WATER PROOFING | item no.171
15.01 | R.C.C surface cleaning with wire brush and water | item no.172 | 24 | Sqm | 12.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 304 | 304 | INR Three Hundred & Four Only
16 | MINOR CIVIL MAINTENANCE WORK: | item no.173
16.01 | "Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources: 10 graded brick aggregate 40 mm nominal size derived from natural sources) | item no.174 | 0.71 | Cum | 4942.04 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3509 | 3509 | INR Three Thousand Five Hundred & Nine Only
16.02 | "P/F C.P brass towel rod complete with two C.P.brass brackets fixed to wooden cleats with C.P. brass screws of approved quality size of 600 x 20 mm. | item no.175 | 1 | Each | 422.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 422 | 422 | INR Four Hundred & Twenty Two Only
16.03 | "Providing and fixing C.P. grating with or without hole for waste pipe for floor/ nahani trap 100 mm dia. weight not less than 100 grams. | item no.176 | 3 | Each | 58.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 176 | 176 | INR One Hundred & Seventy Six Only
16.04 | "Providing and fixing C.P flange for C.P bib cock/C.P angle stop cock. | item no.177 | 8 | Each | 29.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 235 | 235 | INR Two Hundred & Thirty Five Only
16.05 | "Providing and fixing C.P Brass shower rose 15 mm or 20 mm inlet with shower arm (a) 75 mm dia fancy type. | item no.178 | 1 | Each | 504.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 504 | 504 | INR Five Hundred & Four Only
16.06 | "Providing and fixing C.P. waste 32 mm dia of make L&K for wash basin / sink. | item no.179 | 1 | Each | 281.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 281 | 281 | INR Two Hundred & Eighty One Only
16.07 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.180 | 76 | Sqm | 100.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7673 | 7673 | INR Seven Thousand Six Hundred & Seventy Three Only
16.08 | Extra for providing and fixing of 8mm to 9mm thick ceramic glazed wall tiles instead of 5mm thick ceramic glazed wall tiles. | item no.181 | 18.5 | sqm | 155.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2882 | 2882 | INR Two Thousand Eight Hundred & Eighty Two Only
16.09 | "Providing and fixing C.P waste 40 mm nominal bore for china sink or wash basin (L&K) make. | item no.182 | 1 | Each | 293.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 293 | 293 | INR Two Hundred & Ninety Three Only
16.1 | Providing and fixing C.P basin mixer of 15 mm nominal bore (L&K) make for one piece only | item no.183 | 1 | Each | 2053.04 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2053 | 2053 | INR Two Thousand &Fifty Three Only
16.11 | Providind and fixing C.P. hand spray (heath faucet) with push button control and flexible hose connection with C.P hook of L&K make or approved equivalent complete in all respects. | item no.184 | 1 | Each | 815.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 816 | 816 | INR Eight Hundred & Sixteen Only
16.12 | Providing and fixing aluminum door seal in door i/c necessary screw etc complete. | item no.185 | 4 | metre | 181.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 727 | 727 | INR Seven Hundred & Twenty Seven Only
16.13 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes or pipe sleeve conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes 50mm dia. | item no.186 | 13 | Metre | 209.42 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2722 | 2722 | INR Two Thousand Seven Hundred & Twenty Two Only
16.14 | Ffixing available G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall 20 mm dia nominal bore | item no.187 | 24.88 | Metre | 149.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3725 | 3725 | INR Three Thousand Seven Hundred & Twenty Five Only
Total in Figures | [51 empty] | 647894 | 647894 | Six Lakh Forty Seven Thousand Eight Hundred & Ninety Four Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K178: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K194: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K196: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K197: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K192: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K187: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K188: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K190: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K184: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K182: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K167: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K169: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K171: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K172: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K174: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K176: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K180: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K186: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K189: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K191: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K193: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K195: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K198: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K199: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K53: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K55: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K59: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K62: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K64: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K66: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K69: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K70: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K72: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K74: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K76: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K78: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K81: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K83: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K85: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K87: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K89: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K91: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K93: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K95: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K97: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K98: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K100: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K101: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K103: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K105: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K108: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K109: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K110: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K113: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K114: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K115: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K117: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K119: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K120: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K122: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K123: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K124: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K127: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K128: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K129: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K131: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K132: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K135: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K137: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K140: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K143: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K145: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K146: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K149: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K151: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K154: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K156: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K158: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K160: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K162: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K165: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information