## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.0 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Executive Engineer IWD IIT Kanpur
Name of Work: Repairing & replacement of defective switch /socket, LED fitting, bulkhead, ceiling fans, exhaust fan etc. in Lift machine room and shaft at carous places in the campus IIT Kanpur.
Contract No: 12/Elect/2022/198 dated: 04.08.2022
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 5 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1 | Supplying & drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface / recessed steel / PVC conduit as reqd. | item1 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.1 | 3 x 1.5 Sq.mm.. | item2 | 40 | Mtr. | 47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1880 | 1880 | INR One Thousand Eight Hundred & Eighty Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.2 | 3 x 2.5 Sq.mm.. | item3 | 40 | Mtr. | 66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2640 | 2640 | INR Two Thousand Six Hundred & Forty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2 | Supplying and fixing following piano type switch /socket on existing switch box/cover I/c connection etc as reqd. | item4 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.1 | 5/6 Amp switch | item5 | 20 | Nos. | 39 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 780 | 780 | INR Seven Hundred & Eighty Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
2.2 | 15/16 Amp. switch | item6 | 15 | Nos. | 96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1440 | 1440 | INR One Thousand Four Hundred & Forty Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.3 | 3 Pin 5/6 Amp. socket outlet | item7 | 20 | Nos. | 51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1020 | 1020 | INR One Thousand &Twenty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.4 | 6 Pin 15/16 Amp. socket outlet. | item8 | 15 | Nos. | 112 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1680 | 1680 | INR One Thousand Six Hundred & Eighty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.5 | Fan regulator socket type | item9 | 10 | Nos. | 317 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3170 | 3170 | INR Three Thousand One Hundred & Seventy Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
3 | Supply, fixing, following modular type switch / socket on existing modular plate & switch box including connectins but excluding modular plate etc. as reqd. | item10 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.1 | 5/6 Amp switch | item11 | 60 | Nos. | 75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4500 | 4500 | INR Four Thousand Five Hundred Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.2 | 15/16 Amp. switch | item12 | 15 | Nos. | 116 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1740 | 1740 | INR One Thousand Seven Hundred & Forty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3.3 | 3 Pin 5/6 Amp. socket outlet | item13 | 60 | Nos. | 97 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5820 | 5820 | INR Five Thousand Eight Hundred & Twenty Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.4 | 6 Pin 15/16 Amp. socket outlet. | item14 | 15 | Nos. | 153 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2295 | 2295 | INR Two Thousand Two Hundred & Ninety Five Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.5 | Fan regulator socket type rotary step | item15 | 20 | Nos. | 300 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6000 | 6000 | INR Six Thousand Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
3.6 | Blanking plate | item16 | 2 | Nos. | 28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 56 | 56 | INR Fifty Six Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4 | Supplying and fixing following modular base & cover plate on existing modular metal boxes etc. as reqd. | item17 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4.1 | 3 module | item18 | 15 | Nos. | 112 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1680 | 1680 | INR One Thousand Six Hundred & Eighty Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
4.2 | 6 module | item19 | 15 | Nos. | 146 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2190 | 2190 | INR Two Thousand One Hundred & Ninety Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
5 | Providing and fixing following sizes of PVC casing and capping on surface as reqd. | item20 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5.1 | 20 x 12 mm | item21 | 20 | Mtr. | 68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1360 | 1360 | INR One Thousand Three Hundred & Sixty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6 | Supply and fixing of following LED light fixture with Electronic driver, LED lamp, reflector, diffusser, MS body/housing holder etc. complete with all fixing accessories and lamp as required complete. | item22 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
6.1 | 1 X 20W LED tube with fitting | item23 | 100 | Nos. | 791 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 79100 | 79100 | INR Seventy Nine Thousand One Hundred Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6.2 | 12 watt surface mounting LED light fixture | item24 | 10 | Nos. | 1269 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12690 | 12690 | INR Twelve Thousand Six Hundred & Ninety Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7 | Supply fixing erection of wall bracket /ceiling fittings of all sizes and shapes containing upto two GLS lamps per fitting, complete with all accessories including connection etc. as required. (Without Lamp) | item25 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
7.1 | Bulkhead for GLS lamp | item26 | 150 | Nos. | 519 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 77850 | 77850 | INR Seventy Seven Thousand Eight Hundred & Fifty Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
8 | Supply and fixing and connecting & commissioning following CFL /LED lamps in existing fitting as reqd.(Make- Phillips) | item27 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
8.1 | LED bulb 9/10 W | item28 | 150 | Nos. | 123 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 18450 | 18450 | INR Eighteen Thousand Four Hundred & Fifty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8.2 | LED tube light 18 / 20 Watt. | item29 | 50 | Nos. | 308 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15400 | 15400 | INR Fifteen Thousand Four Hundred Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
9 | Supply, Installation, testing & commissioning of AC ceiling fan of following sweep 220 volts without regulator I/c wiring the down rods of standard length up to 30 cm with 1.5 sq.mm. PVC insulated copper conductor single core cable etc as reqd. | item30 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
9.1 | 1200 mm | item31 | 10 | Nos | 2798 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 27980 | 27980 | INR Twenty Seven Thousand Nine Hundred & Eighty Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10 | Supply installation testing and commissioning of following size sweep metal body heavy duty, 900 RPM Exhaust fan with guard/ shutter and mounting arrangement etc as reqd. | item32 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
10.1 | 300 mm / 12" sweep | item33 | 10 | Nos. | 3565 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 35650 | 35650 | INR Thirty Five Thousand Six Hundred & Fifty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
11 | Overhauling of ceiling fan of any size including dismantling and refixing of fan, bearings, checking, cleaning the all parts and supplying & replacement of rubber real, rubber rings, nut bolts, hanger clamps, bearing plates, cotter/ split pin, varnishing if reqd etc, reassembling testing and commissioning of fan as reqdired complete. | item34 | 45 | Nos. | 353 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15885 | 15885 | INR Fifteen Thousand Eight Hundred & Eighty Five Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
12 | Overhauling of exhaust fan of any size including dismantling of all parts and cleaning the fan with kerosene oil / petrol removing ball bearing/ bush and refixing after greasing/ oiling including testing and commissioning as required complete. (spares will be supplied by the Dept.) | item35 | 45 | Nos. | 521 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 23445 | 23445 | INR Twenty Three Thousand Four Hundred & Forty Five Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
13 | Supplying and fixing 2.5 mfd capacitor suitable for ceiling fan. | item36 | 45 | Nos. | 93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4185 | 4185 | INR Four Thousand One Hundred & Eighty Five Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
14 | Supplying & fixing 3mm (1/8") thick phenolic laminated sheet on existing board with screw & washer etc. as required. | item37 | 500 | Sq.cm | 0.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 275 | 275 | INR Two Hundred & Seventy Five Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
15 | Locating fault in wiring rectifying removing & restoring supply the same & making good the damages etc as reqd. | item38 | 2 | Nos. | 167 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 334 | 334 | INR Three Hundred & Thirty Four Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
Total in Figures | [51 empty] | 349495 | 349495 | INR Three Lakh Forty Nine Thousand Four Hundred & Ninety Five Only | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K38: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K46: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K48: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information